## Sheet1
SERVM ID | Generator Name | Dataset | Physical BAA | Primary Load BAA | BAA Name | SERVM Zone | RESOLVE Zone | Online Date | Planned Retirement Date | Capacity Weighted | NQC/MaxGen | CPUC NQC of Thermal, Biomass and Geothermal Units (MW) | MaxGen (MW) | StorageDuration (hr) | StorageEnergy (MWh) | Resource Type | Master Resource Type | SERVM Type | RESOLVE Type | REC contract (if different from RESOLVE Zone) | Contract Capacity (MW, if different from RESOLVE zone) | Electrical Zone (Post-2018 COD Renewables) | Hybrid Resource? | First Year to Count | Last Year to Count | Remaining capacity contracted to Resolve Zone | Contracting LSE | Contract Capacity (MW) | Risk Adjustment | Include in RESOLVE? | Include in Class Characteristics | Assumed Retirement Date | COUNT
ALMEGT_1_UNIT_1 | ALAMEDA GT UNIT 1 | caiso | PGE_Bay | PGE_Bay | Pacific Gas and Electric Bay | PGE_Bay | CAISO | 1986-01-01 | 2050-12-31 | 23.4 | 93.6% | 23.4 | 25 |  |  | CT-NatGas-Aero | CT_NG | CT | CAISO_Peaker2 |  |  |  |  | 1986 | 2050 | 0 | CAISO | 25 | 1 | 1 | 1 | 2026-01-01 | 1
ALMEGT_1_UNIT_2 | ALAMEDA GT UNIT 2 | caiso | PGE_Bay | PGE_Bay | Pacific Gas and Electric Bay | PGE_Bay | CAISO | 1986-01-01 | 2050-12-31 | 23.5 | 94% | 23.5 | 25 |  |  | CT-NatGas-Aero | CT_NG | CT | CAISO_Peaker2 |  |  |  |  | 1986 | 2050 | 0 | CAISO | 25 | 1 | 1 | 1 | 2026-01-01 | 1
CHEVCD_6_UNIT | CHEVRON USA (TAFT/CADET) | caiso | PGE_Valley | PGE_Valley | Pacific Gas and Electric Valley | PGE_Valley | CAISO | 1982-07-26 | 2050-12-31 | 1.12 | 9.739% | 1.12 | 11.5 |  |  | n/a | Cogen_NG | Cogen | CAISO_CHP |  |  |  |  | 1983 | 2050 | 0 | CAISO | 11.5 | 1 | 1 | 1 | 2022-07-26 | 1
CHEVCO_6_UNIT_1 | CHEVRON USA (COALINGA) | caiso | PGE_Valley | PGE_Valley | Pacific Gas and Electric Valley | PGE_Valley | CAISO | 1986-01-17 | 2050-12-31 | 1.55 | 9.394% | 1.55 | 16.5 |  |  | CT-NatGas-Aero | Cogen_NG | Cogen | CAISO_CHP |  |  |  |  | 1986 | 2050 | 0 | CAISO | 16.5 | 1 | 1 | 1 | 2026-01-17 | 1
CHEVCY_1_UNIT | CHEVRON USA (CYMRIC) | caiso | PGE_Valley | PGE_Valley | Pacific Gas and Electric Valley | PGE_Valley | CAISO | 1982-10-15 | 2050-12-31 | 4.19 | 17.24% | 4.19 | 24.3 |  |  | CT-NatGas-Aero | Cogen_NG | Cogen | CAISO_CHP |  |  |  |  | 1983 | 2050 | 0 | CAISO | 24.3 | 1 | 1 | 1 | 2022-10-15 | 1
CLRMTK_1_QF | SMALL QF AGGREGATION - OAKLAND | caiso | PGE_Bay | PGE_Bay | Pacific Gas and Electric Bay | PGE_Bay | CAISO | 1983-12-05 | 2050-12-31 | 0 | 0% |  | 1.25 |  |  | n/a | Cogen_NG | Cogen | CAISO_CHP |  |  |  |  | 1984 | 2050 | 0 | CAISO | 1.25 | 1 | 1 | 1 | 2023-12-05 | 1
CONTRL_1_QF | CONTROL QFS | caiso | SCE | SCE | Southern California Edison | SCE | CAISO | 1982-01-01 | 2050-12-31 | 5.57 | 41.57% | 5.57 | 13.4 |  |  | n/a | Cogen_NG | Cogen | CAISO_CHP |  |  |  |  | 1982 | 2050 | 0 | CAISO | 13.4 | 1 | 1 | 1 | 2022-01-01 | 1
CSCCOG_1_UNIT_1 | SANTA CLARA CO-GEN | caiso | PGE_Bay | PGE_Bay | Pacific Gas and Electric Bay | PGE_Bay | CAISO | 1981-01-01 | 2050-12-31 | 6 | 85.71% | 6 | 7 |  |  | CT-NatGas-Aero | Cogen_NG | Cogen | CAISO_CHP |  |  |  |  | 1981 | 2050 | 0 | CAISO | 7 | 1 | 1 | 1 | 2021-01-01 | 1
CSCGNR_1_UNIT_2 |  | caiso | PGE_Bay | PGE_Bay | Pacific Gas and Electric Bay | PGE_Bay | CAISO | 1986-01-01 | 2050-12-31 | 24 | 96.97% | 24 | 24.75 |  |  | CT-NatGas-Aero | CT_NG | CT | CAISO_Peaker2 |  |  |  |  | 1986 | 2050 | 0 | CAISO | 24.75 | 1 | 1 | 1 | 2026-01-01 | 1
CUMMNG_6_SUNCT1 | SunSelect 1 | caiso | SCE | SCE | Southern California Edison | SCE | CAISO | 1899-12-31 | 2050-12-31 | 3.4 | 85% | 3.4 | 4 |  |  | RECIPROCATING ENGINE_NATURAL GAS | Cogen_NG | Cogen | CAISO_CHP |  |  |  |  | 1900 | 2050 | 0 | CAISO | 4 | 1 | 1 | 1 | 1940-01-01 | 1
FRITO_1_LAY |  | caiso | PGE_Valley | PGE_Valley | Pacific Gas and Electric Valley | PGE_Valley | CAISO | 1986-01-01 | 2050-12-31 | 0.08 | 1.333% | 0.08 | 6 |  |  | CT-NatGas-Aero | Cogen_NG | Cogen | CAISO_CHP |  |  |  |  | 1986 | 2050 | 0 | CAISO | 6 | 1 | 1 | 1 | 2026-01-01 | 1
GLNARM_7_UNIT_1 | GLEN ARM UNIT 1 | caiso | SCE | SCE | Southern California Edison | SCE | CAISO | 1976-01-01 | 2050-12-31 | 22.07 | 100% | 22.07 | 22.07 |  |  | CT-NatGas-Aero | CT_NG | CT | CAISO_Peaker2 |  |  |  |  | 1976 | 2050 | 0 | CAISO | 22.07 | 1 | 1 | 1 | 2016-01-01 | 1
GLNARM_7_UNIT_2 | GLEN ARM UNIT 2 | caiso | SCE | SCE | Southern California Edison | SCE | CAISO | 1976-01-01 | 2050-12-31 | 22.3 | 100% | 22.3 | 22.3 |  |  | CT-NatGas-Aero | CT_NG | CT | CAISO_Peaker2 |  |  |  |  | 1976 | 2050 | 0 | CAISO | 22.3 | 1 | 1 | 1 | 2016-01-01 | 1
GOLETA_6_ELLWOD | ELLWOOD ENERGY SUPPORT FACILITY | caiso | SCE | SCE | Southern California Edison | SCE | CAISO | 1974-08-01 | 2050-12-31 | 0 | 0% |  | 54 |  |  | CT-NatGas-Industrial | CT_NG | CT | CAISO_Peaker2 |  |  |  |  | 1975 | 2050 | 0 | CAISO | 54 | 1 | 1 | 1 | 2014-08-01 | 1
HINSON_6_CARBGN |  | caiso | SCE | SCE | Southern California Edison | SCE | CAISO | 1982-01-01 | 2050-12-31 | 29.88 | 99.6% | 29.88 | 30 |  |  | ST-WasteHeat | Cogen_NG | Cogen | CAISO_CHP |  |  |  |  | 1982 | 2050 | 0 | CAISO | 30 | 1 | 1 | 1 | 2022-01-01 | 1
HOLGAT_1_BORAX |  | caiso | PGE_Valley | PGE_Valley | Pacific Gas and Electric Valley | PGE_Valley | CAISO | 1984-06-01 | 2050-12-31 | 14.72 | 30.54% | 14.72 | 48.2 |  |  | CT-NatGas-Aero | Cogen_NG | Cogen | CAISO_CHP |  |  |  |  | 1984 | 2050 | 0 | CAISO | 48.2 | 1 | 1 | 1 | 2024-06-01 | 1
KERNRG_1_UNITS |  | caiso | PGE_Valley | PGE_Valley | Pacific Gas and Electric Valley | PGE_Valley | CAISO | 1985-01-01 | 2050-12-31 | 0.29 | 0.5254% | 0.29 | 55.2 |  |  | CT-NatGas-Aero | CT_NG | CT | CAISO_Peaker1 |  |  |  |  | 1985 | 2050 | 0 | CAISO | 55.2 | 1 | 1 | 1 | 2025-01-01 | 1
LODI25_2_UNIT_1 | LODI GAS TURBINE | caiso | PGE_Valley | PGE_Valley | Pacific Gas and Electric Valley | PGE_Valley | CAISO | 1986-01-01 | 2050-12-31 | 23.8 | 95.2% | 23.8 | 25 |  |  | CT-NatGas-Aero | CT_NG | CT | CAISO_Peaker2 |  |  |  |  | 1986 | 2050 | 0 | CAISO | 25 | 1 | 1 | 1 | 2026-01-01 | 1
MESAP_1_QF | SMALL QF AGGREGATION - SAN LUIS OBISPO | caiso | PGE_Valley | PGE_Valley | Pacific Gas and Electric Valley | PGE_Valley | CAISO | 1899-12-31 | 2050-12-31 | 0 | 0% |  | 1 |  |  | n/a | Cogen_NG | Cogen | CAISO_CHP |  |  |  |  | 1900 | 2050 | 0 | CAISO | 1 | 1 | 1 | 1 | 1940-01-01 | 1
MOSSLD_1_QF | SMALL QF AGGREGATION - SANTA CRUZ | caiso | PGE_Bay | PGE_Bay | Pacific Gas and Electric Bay | PGE_Bay | CAISO | 1985-01-01 | 2050-12-31 | 0 | 0% |  | 1 |  |  | n/a | Cogen_NG | Cogen | CAISO_CHP |  |  |  |  | 1985 | 2050 | 0 | CAISO | 1 | 1 | 1 | 1 | 2025-01-01 | 1
NEWARK_1_QF | NEWARK 1 QF | caiso | PGE_Bay | PGE_Bay | Pacific Gas and Electric Bay | PGE_Bay | CAISO | 1899-12-31 | 2050-12-31 | 0.29 | 26.36% | 0.29 | 1.1 |  |  | n/a | Cogen_NG | Cogen | CAISO_CHP |  |  |  |  | 1900 | 2050 | 0 | CAISO | 1.1 | 1 | 1 | 1 | 1940-01-01 | 1
OAK_C_7_UNIT_1 | OAKLAND STATION C GT UNIT 1 | caiso | PGE_Bay | PGE_Bay | Pacific Gas and Electric Bay | PGE_Bay | CAISO | 1978-01-01 | 2050-12-31 | 55 | 100% | 55 | 55 |  |  | CT-OilDistillate | CT_Oil | CT | CAISO_Peaker2 |  |  |  |  | 1978 | 2050 | 0 | CAISO | 55 | 1 | 1 | 1 | 2018-01-01 | 1
OAK_C_7_UNIT_2 | OAKLAND STATION C GT UNIT 2 | caiso | PGE_Bay | PGE_Bay | Pacific Gas and Electric Bay | PGE_Bay | CAISO | 1978-01-01 | 2050-12-31 | 55 | 100% | 55 | 55 |  |  | CT-OilDistillate | CT_Oil | CT | CAISO_Peaker2 |  |  |  |  | 1978 | 2050 | 0 | CAISO | 55 | 1 | 1 | 1 | 2018-01-01 | 1
OAK_C_7_UNIT_3 | OAKLAND STATION C GT UNIT 3 | caiso | PGE_Bay | PGE_Bay | Pacific Gas and Electric Bay | PGE_Bay | CAISO | 1978-01-01 | 2050-12-31 | 55 | 100% | 55 | 55 |  |  | CT-OilDistillate | CT_Oil | CT | CAISO_Peaker2 |  |  |  |  | 1978 | 2050 | 0 | CAISO | 55 | 1 | 1 | 1 | 2018-01-01 | 1
OMAR_2_UNIT_1 | KERN RIVER COGENERATION CO. UNIT 1 | caiso | SCE | PGE_Valley | Pacific Gas and Electric Valley | PGE_Valley | CAISO | 1985-05-01 | 2050-12-31 | 75.9 | 97.31% | 75.9 | 78 |  |  |  | CT_NG | CT | CAISO_Peaker2 |  |  |  |  | 1985 | 2050 | 0 | CAISO | 78 | 1 | 1 | 1 | 2025-05-01 | 1
OMAR_2_UNIT_2 | KERN RIVER COGENERATION CO. UNIT 2 | caiso | SCE | PGE_Valley | Pacific Gas and Electric Valley | PGE_Valley | CAISO | 1985-05-01 | 2050-12-31 | 77.1 | 98.71% | 77.1 | 78.11 |  |  |  | CT_NG | CT | CAISO_Peaker2 |  |  |  |  | 1985 | 2050 | 0 | CAISO | 78.11 | 1 | 1 | 1 | 2025-05-01 | 1
OMAR_2_UNIT_3 | KERN RIVER COGENERATION CO. UNIT 3 | caiso | SCE | PGE_Valley | Pacific Gas and Electric Valley | PGE_Valley | CAISO | 1985-05-01 | 2050-12-31 | 79.1 | 97.16% | 79.1 | 81.41 |  |  |  | CT_NG | CT | CAISO_Peaker2 |  |  |  |  | 1985 | 2050 | 0 | CAISO | 81.41 | 1 | 1 | 1 | 2025-05-01 | 1
OMAR_2_UNIT_4 |  | caiso | SCE | PGE_Valley | Pacific Gas and Electric Valley | PGE_Valley | CAISO | 1985-05-01 | 2050-12-31 | 81.44 | 100% | 81.44 | 81.44 |  |  |  | Cogen_NG | Cogen | CAISO_CHP |  |  |  |  | 1985 | 2050 | 0 | CAISO | 81.44 | 1 | 1 | 1 | 2025-05-01 | 1
SEARLS_7_ARGUS | Argus Cogeneration | caiso | SCE | SCE | Southern California Edison | SCE | CAISO | 1983-04-01 | 2050-12-31 | 4.09 | 21.53% | 4.09 | 19 |  |  | ST-Coal | Cogen_NG | Cogen | CAISO_CHP |  |  |  |  | 1983 | 2050 | 0 | CAISO | 19 | 1 | 1 | 1 | 2023-04-01 | 1
SNCLRA_2_UNIT | Channel Islands Power | caiso | SCE | SCE | Southern California Edison | SCE | CAISO | 1985-01-01 | 2050-12-31 | 27.5 | 100% | 27.5 | 27.5 |  |  | COMBINED CYCLE_NATURAL GAS | Cogen_NG | Cogen | CAISO_CHP |  |  |  |  | 1985 | 2050 | 0 | CAISO | 27.5 | 1 | 1 | 1 | 2025-01-01 | 1
SNCLRA_2_UNIT1 | New Indy Oxnard | caiso | SCE | SCE | Southern California Edison | SCE | CAISO | 1986-03-14 | 2050-12-31 | 17.57 | 63.2% | 17.57 | 27.8 |  |  | CT-NatGas-Aero | Cogen_NG | Cogen | CAISO_CHP |  |  |  |  | 1986 | 2050 | 0 | CAISO | 27.8 | 1 | 1 | 1 | 2026-03-14 | 1
STAUFF_1_UNIT | RHODIA INC. (RHONE-POULENC) | caiso | PGE_Bay | PGE_Bay | Pacific Gas and Electric Bay | PGE_Bay | CAISO | 1977-06-01 | 2050-12-31 | 0.01 | 0.2174% | 0.01 | 4.6 |  |  | ST-Other | Cogen_NG | Cogen | CAISO_CHP |  |  |  |  | 1977 | 2050 | 0 | CAISO | 4.6 | 1 | 1 | 1 | 2017-06-01 | 1
TANHIL_6_SOLART | Berry Cogen 18 | caiso | PGE_Valley | PGE_Valley | Pacific Gas and Electric Valley | PGE_Valley | CAISO | 1986-01-01 | 2050-12-31 | 17 | 100% | 17 | 17 |  |  | CT-NatGas-Aero | PVgeneric_sun | Solar_Fixed | CAISO_CHP |  |  |  |  | 1986 | 2050 | 0 | CAISO | 17 | 1 | 1 | 1 | 2026-01-01 | 1
UNCHEM_1_UNIT | CONTRA COSTA CARBON PLANT | caiso | PGE_Bay | PGE_Bay | Pacific Gas and Electric Bay | PGE_Bay | CAISO | 1983-01-01 | 2050-12-31 | 9.14 | 48.11% | 9.14 | 19 |  |  | ST-Coal | Cogen_NG | Cogen | CAISO_CHP |  |  |  |  | 1983 | 2050 | 0 | CAISO | 19 | 1 | 1 | 1 | 2023-01-01 | 1
UNVRSY_1_UNIT_1 |  | caiso | PGE_Valley | PGE_Valley | Pacific Gas and Electric Valley | PGE_Valley | CAISO | 1986-01-01 | 2050-12-31 | 35.65 | 93.82% | 35.65 | 38 |  |  | n/a | Cogen_NG | Cogen | CAISO_CHP |  |  |  |  | 1986 | 2050 | 0 | CAISO | 38 | 1 | 1 | 1 | 2026-01-01 | 1