## Cost Benefit Portfolio Template
Portfolio 1a |  |  | <-- Select Portfolio
| 2027 | 2035
Total Annual Cost | 100421000 | 66783000
Total Investment Cost | 100421000 | 66783000
Electricity Cost Increase | 0 | 0
CA CO2 Emissions Increase - Electricity | 0 | 0
Gas Cost Increase | 0 | 0
CA CO2 Emissions Increase - Gas | 0 | 0
Total Annual Benefits | 0 | 0
Electricity Cost Reduction | 0 | 0
CA CO2 Emissions Reduction - Electricity | 0 | 0
Gas Cost Reduction | 0 | 0
CA CO2 Emissions Reduction - Gas | 0 | 0
Resource Adequacy Increase | 0 | 0
Total Net Benefit | -100421000 | -66783000
Benefit-Cost Ratio | N/A | N/A
Check C/B Ratio Against Summary Tables | N/A | N/A
| TRUE | TRUE

## Cost Benefit Summary Tables
2027, Millions of 2019$
Portfolio | Costs | Benefits | Benefit-Cost Ratio | Net Benefits | Reduction in CO2 Emissions (million metric tons)
Portfolio 1a | 100.421 | 0 | N/A | -100.421 | 0
Portfolio 1b | 147.282 | 0 | N/A | -147.282 | 0
Portfolio 2 | 197.912 | 247.31 | 1.2496 | 49.398 | 1.8567
Portfolio 3 | 652.956 | 712.63 | 1.0914 | 59.674 | 1.2429
Portfolio 5a | 196.312 | 283.077 | 1.442 | 86.765 | 2.0975
Portfolio 5b | 375.499 | 435.845 | 1.1607 | 60.346 | 1.6726
Portfolio 5c | 513.901 | 548.324 | 1.067 | 34.423 | 1.4811
2035, Millions of 2019$
Portfolio | Costs | Benefits | Benefit-Cost Ratio | Net Benefits | Change in CO2 Emissions (million metric tons)
Portfolio 1a | 66.783 | 0 | N/A | -66.783 | 0
Portfolio 1b | 118.255 | 0 | N/A | -118.255 | 0
Portfolio 2 | 644.293 | 193.562 | 0.30043 | -450.731 | 0.98558
Portfolio 3 | 596.74 | 895.149 | 1.5001 | 298.409 | 1.072
Portfolio 4a | 125.483 | 195.303 | 1.5564 | 69.82 | 0.061493
Portfolio 4b | 89.588 | 176.295 | 1.9678 | 86.707 | -0.034661
Portfolio 5d | 239.145 | 65.337 | 0.27321 | -173.808 | 0.4267
Portfolio 5e | 122.017 | 83.524 | 0.68453 | -38.493 | 0.26836
Portfolio 5f | 99.548 | 126.332 | 1.2691 | 26.784 | 0.17044

## 2027 Cost_Benefit Summary
| Portfolio 1a | Portfolio 1b | Portfolio 2 | Portfolio 3 | Portfolio 5a | Portfolio 5b | Portfolio 5c
Electricity Cost Delta | 0 | 0 | 182084000 | -385577000 | 98268000 | -141728000 | -248636000
Electricity Emissions Cost Delta | 0 | 0 | 11690000 | -71715000 | -2205000 | -37099000 | -55752000
Gas Cost Delta | 0 | 0 | -128491000 | -75390000 | -131462000 | -92339000 | -71712000
Gas Emissions Cost Delta | 0 | 0 | -118819000 | 0 | -118819000 | -59410000 | -29705000
Electricity Cost Increase | 0 | 0 | 182084000 | 0 | 98268000 | 0 | 0
Electricity Emissions Cost Increase | 0 | 0 | 11690000 | 0 | 0 | 0 | 0
Gas Cost Increase | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gas Emissions Cost Increase | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity Cost Decrease | 0 | 0 | 0 | 385577000 | 0 | 141728000 | 248636000
Electricity Emissions Cost Decrease | 0 | 0 | 0 | 71715000 | 2205000 | 37099000 | 55752000
Gas Cost Decrease | 0 | 0 | 128491000 | 75390000 | 131462000 | 92339000 | 71712000
Gas Emissions Cost Decrease | 0 | 0 | 118819000 | 0 | 118819000 | 59410000 | 29705000
Total Market Impact Costs | 0 | 0 | 193774000 | 0 | 98268000 | 0 | 0
Investment/Capital Costs | 100421000 | 147282000 | 4138000 | 652956000 | 98044000 | 375499000 | 513901000
Total Costs (All) | 100421000 | 147282000 | 197912000 | 652956000 | 196312000 | 375499000 | 513901000
Total Market Benefits | 0 | 0 | 247310000 | 532682000 | 252486000 | 330576000 | 405805000
Total RA Benefits | 0 | 0 | 0 | 179948000 | 30591000 | 105269000 | 142519000
Total Benefits (All) | 0 | 0 | 247310000 | 712630000 | 283077000 | 435845000 | 548324000
Net Benefit | -100421000 | -147282000 | 49398000 | 59674000 | 86765000 | 60346000 | 34423000
Benefit-Cost Ratio | N/A | N/A | 1.2496 | 1.0914 | 1.442 | 1.1607 | 1.067
| Portfolio 1a | Portfolio 1b | Portfolio 2 | Portfolio 3 | Portfolio 5a | Portfolio 5b | Portfolio 5c
Electric Cost Impact | 0 | 0 | 182084000 | -385577000 | 98268000 | -141728000 | -248636000
Electric Investment Costs | 0 | 0 | -12959000 | 652956000 | 196312000 | 375499000 | 513901000
Net Impact to Electric Customers | 0 | 0 | 169125000 | 267379000 | 294580000 | 233771000 | 265265000
Gas Cost Impact | 0 | 0 | -128491000 | -75390000 | -131462000 | -92339000 | -71712000
Gas Investment Cost | 100421000 | 147282000 | 17097000 | 0 | 0 | 0 | 0
Net Impact to Gas Customers | 100421000 | 147282000 | -111394000 | -75390000 | -131462000 | -92339000 | -71712000

## 2035 Cost_Benefit Summary
| Portfolio 1a | Portfolio 1b | Portfolio 2 | Portfolio 3 | Portfolio 4a | Portfolio 4b | Portfolio 5d | Portfolio 5e | Portfolio 5f
Electricity Cost Delta | 0 | 0 | 629313000 | -579110000 | -120633000 | -119390000 | 204308000 | 45436000 | -48524000
Electricity Emissions Cost Delta | 0 | 0 | 38422000 | -70968000 | -4071000 | 2295000 | 13220000 | 2968000 | -917000
Gas Cost Delta | 0 | 0 | -89894000 | -82230000 | -7464000 | -12985000 | -8276000 | -23394000 | -15258000
Gas Emissions Cost Delta | 0 | 0 | -103668000 | 0 | 0 | 0 | -41467000 | -20734000 | -10367000
Electricity Cost Increase | 0 | 0 | 629313000 | 0 | 0 | 0 | 204308000 | 45436000 | 0
Electricity Emissions Cost Increase | 0 | 0 | 38422000 | 0 | 0 | 2295000 | 13220000 | 2968000 | 0
Gas Cost Increase | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gas Emissions Cost Increase | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity Cost Decrease | 0 | 0 | 0 | 579110000 | 120633000 | 119390000 | 0 | 0 | 48524000
Electricity Emissions Cost Decrease | 0 | 0 | 0 | 70968000 | 4071000 | 0 | 0 | 0 | 917000
Gas Cost Decrease | 0 | 0 | 89894000 | 82230000 | 7464000 | 12985000 | 8276000 | 23394000 | 15258000
Gas Emissions Cost Decrease | 0 | 0 | 103668000 | 0 | 0 | 0 | 41467000 | 20734000 | 10367000
Total Market Impact Costs | 0 | 0 | 667735000 | 0 | 0 | 2295000 | 217528000 | 48404000 | 0
Investment/Capital Costs | 66783000 | 118255000 | -23442000 | 596740000 | 125483000 | 87293000 | 21617000 | 73613000 | 99548000
Total Costs (All) | 66783000 | 118255000 | 644293000 | 596740000 | 125483000 | 89588000 | 239145000 | 122017000 | 99548000
Total Market Benefits | 0 | 0 | 193562000 | 732308000 | 132168000 | 132375000 | 49743000 | 44128000 | 75066000
Total RA Benefits | 0 | 0 | 0 | 162841000 | 63135000 | 43920000 | 15594000 | 39396000 | 51266000
Total Benefits (All) | 0 | 0 | 193562000 | 895149000 | 195303000 | 176295000 | 65337000 | 83524000 | 126332000
Net Benefit | -66783000 | -118255000 | -450731000 | 298409000 | 69820000 | 86707000 | -173808000 | -38493000 | 26784000
Benefit-Cost Ratio | 0 | 0 | 0.30043 | 1.5001 | 1.5564 | 1.9678 | 0.27321 | 0.68453 | 1.2691
| Portfolio 1a | Portfolio 1b | Portfolio 2 | Portfolio 3 | Portfolio 4a | Portfolio 4b | Portfolio 5d | Portfolio 5e | Portfolio 5f
Electric Cost Impact | 0 | 0 | 629313000 | -579110000 | -120633000 | -119390000 | 204308000 | 45436000 | -48524000
Electric Investment Costs | 0 | 0 | -23442000 | 596740000 | 125483000 | 87293000 | 21617000 | 73613000 | 99548000
Net Impact to Electric Customers | 0 | 0 | 605871000 | 17630000 | 4850000 | -32097000 | 225925000 | 119049000 | 51024000
Gas Cost Impact | 0 | 0 | -89894000 | -82230000 | -7464000 | -12985000 | -8276000 | -23394000 | -15258000
Gas Investment Cost | 66783000 | 118255000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Impact to Gas Customers | 66783000 | 118255000 | -89894000 | -82230000 | -7464000 | -12985000 | -8276000 | -23394000 | -15258000

## 2027 Summary Market Results
2027 Modeling Results
Portfolio | Annual Electric Demand (GWh) | Average Electricity Price (2019$/MWh) | Annual Electricity Cost (2019$) | Annual CO2 Emissions, Electricity (metric tons) | Annual CO2 Emissions Cost, Electricity (2019$) | Annual Gas Demand, EG (MMCF) | Annual Gas Demand - Non-EG (MMCF) | Average Gas Price (2019$/MCF) | Annual Gas Cost (2019$) | Annual CO2 Emissions, Non-EG Gas (metric tons) | Annual CO2 Emissions Cost, Non-EG Gas (2019$) | Total Gas and Electric Emissions (metric tons)
Base Case | 317608.36 | 44.1087 | 14009281957.6 | 37270267.5668 | 2150494438.6037 | 560468.4307 | 486180 | 3.477 | 3639229790.3687 | 24888320.3877 | 1436056086.3718 | 62158587.9545
Portfolio 1a
Portfolio 1b
Portfolio 2 | 319246.93 | 44.4526 | 14191366178 | 37472872.5146 | 2162184744.0895 | 563124.4002 | 445953.4753 | 3.4792 | 3510738424.7457 | 22829061.1947 | 1317236830.9355 | 60301933.7093
Portfolio 3 | 319387.37 | 42.6557 | 13623705367.2 | 36027373.4599 | 2078779448.6338 | 543393.6533 | 486180 | 3.4615 | 3563840186.1407 | 24888320.3877 | 1436056086.3718 | 60915693.8476
Portfolio 4a
Portfolio 4b
Portfolio 5a | 319565.8 | 44.146 | 14107550104 | 37232058.0802 | 2148289751.2299 | 560244.5337 | 445953.4753 | 3.4862 | 3507768116.2618 | 22829061.1947 | 1317236830.9355 | 60061119.275
Portfolio 5b | 319470.58 | 43.4079 | 13867553782 | 36627310.7857 | 2113395832.3364 | 551353.4152 | 466066.7377 | 3.4862 | 3546890315.1659 | 23858690.7912 | 1376646458.6536 | 60486001.5769
Portfolio 5c | 319411.75 | 43.0812 | 13760646196.9 | 36304024.4753 | 2094742212.2226 | 547213.7674 | 476123.3688 | 3.4862 | 3567517870.8896 | 24373505.5895 | 1406351272.5127 | 60677530.0647
Portfolio 5d
Portfolio 5e
Portfolio 5f
2027 Delta to Base Case
Portfolio 1a
Portfolio 1b
Portfolio 2 | 1638.57 | 0.34396 | 182084220.4 | 202604.9478 | 11690305.4859 | 2655.9694 | -40226.5247 | 0.0021234 | -128491365.6229 | -2059259.193 | -118819255.4363 | -1856654.2452
Portfolio 3 | 1779.01 | -1.4529 | -385576590.4 | -1242894.1069 | -71714989.9699 | -17074.7775 | 0 | -0.01556 | -75389604.228 | 0 | 0 | -1242894.1069
Portfolio 4a
Portfolio 4b
Portfolio 5a | 1957.44 | 0.037326 | 98268146.4 | -38209.4865 | -2204687.3738 | -223.8971 | -40226.5247 | 0.0091291 | -131461674.1069 | -2059259.193 | -118819255.4363 | -2097468.6796
Portfolio 5b | 1862.22 | -0.70075 | -141728175.6 | -642956.7811 | -37098606.2673 | -9115.0155 | -20113.2623 | 0.0091291 | -92339475.2027 | -1029629.5965 | -59409627.7182 | -1672586.3776
Portfolio 5c | 1803.39 | -1.0275 | -248635760.7 | -966243.0915 | -55752226.381 | -13254.6633 | -10056.6312 | 0.0091291 | -71711919.4791 | -514814.7983 | -29704813.8591 | -1481057.8898
Portfolio 5d
Portfolio 5e
Portfolio 5f

## 2035 Summary Market Results
2035 Modeling Results
Portfolio | Annual Electric Demand (GWh) | Average Electricity Price (2019$/MWh) | Annual Electricity Cost (2019$) | Annual CO2 Emissions, Electricity (metric tons) | Annual CO2 Emissions Cost, Electricity (2019$) | Annual Gas Demand, EG (MMCF) | Annual Gas Demand - Non-EG (MMCF) | Average Gas Price (2019$/MCF) | Annual Gas Cost (2019$) | Annual CO2 Emissions, Non-EG Gas (metric tons) | Annual CO2 Emissions Cost, Non-EG Gas (2019$) | Total Gas and Electric Emissions (metric tons)
Base Case | 317248.25 | 47.022 | 14917655323.7 | 34655206.3508 | 2294174660.4251 | 511101.6447 | 459170 | 4.0776 | 3956340751.7877 | 23505635.9217 | 1556073098.0193 | 58160842.2726
Portfolio 1a
Portfolio 1b
Portfolio 2 | 320474.41 | 48.5124 | 15546968560.4 | 35235605.2661 | 2332597068.6183 | 519739.6672 | 428579.4869 | 4.0772 | 3866446389.4319 | 21939659.3491 | 1452405448.9114 | 57175264.6153
Portfolio 3 | 319933.75 | 44.8172 | 14338545570.1 | 33583179.677 | 2223206494.62 | 495571.4106 | 459170 | 4.0578 | 3874111157.7083 | 23505635.9217 | 1556073098.0193 | 57088815.5988
Portfolio 4a | 317351.09 | 46.6267 | 14797022774.7 | 34593713.0616 | 2290103804.676 | 509784.7233 | 459170 | 4.0754 | 3948876689.6706 | 23505635.9217 | 1556073098.0193 | 58099348.9833
Portfolio 4b | 317302.9 | 46.6377 | 14798264933.1 | 34689867.7593 | 2296469245.6631 | 508920.9849 | 459170 | 4.0733 | 3943355404.7404 | 23505635.9217 | 1556073098.0193 | 58195503.681
Portfolio 5a
Portfolio 5b
Portfolio 5c
Portfolio 5d | 318577.76 | 47.4671 | 15121963812 | 34854899.7738 | 2307394365.0226 | 519247.9199 | 446933.7948 | 4.0863 | 3948064383.8426 | 22879245.2927 | 1514606038.3761 | 57734145.0664
Portfolio 5e | 317971.7 | 47.0579 | 14963091400.7 | 34700044.385 | 2297142938.2861 | 511468.692 | 453051.8974 | 4.0776 | 3932947140.8949 | 23192440.6072 | 1535339568.1977 | 57892484.9922
Portfolio 5f | 317654.48 | 46.8091 | 14869130958.7 | 34641361.3881 | 2293258123.8935 | 510551.3835 | 456110.9487 | 4.077 | 3941082641.8356 | 23349038.2645 | 1545706333.1085 | 57990399.6526
2035 Delta to Base Case
Portfolio 1a
Portfolio 1b
Portfolio 2 | 3226.16 | 1.4903 | 629313236.7 | 580398.9153 | 38422408.1932 | 8638.0224 | -30590.5131 | -0.00040257 | -89894362.3558 | -1565976.5726 | -103667649.1079 | -985577.6573
Portfolio 3 | 2685.5 | -2.2048 | -579109753.6 | -1072026.6738 | -70968165.8051 | -15530.2341 | 0 | -0.0198 | -82229594.0794 | 0 | 0 | -1072026.6738
Portfolio 4a | 102.84 | -0.39536 | -120632549 | -61493.2893 | -4070855.7491 | -1316.9214 | 0 | -0.0021613 | -7464062.1171 | 0 | 0 | -61493.2893
Portfolio 4b | 54.65 | -0.38437 | -119390390.6 | 34661.4084 | 2294585.238 | -2180.6598 | 0 | -0.0042285 | -12985347.0473 | 0 | 0 | 34661.4084
Portfolio 5a
Portfolio 5b
Portfolio 5c
Portfolio 5d | 1329.51 | 0.44508 | 204308488.3 | 199693.4229 | 13219704.5975 | 8146.2752 | -12236.2052 | 0.0086946 | -8276367.945 | -626390.6291 | -41467059.6431 | -426697.2061
Portfolio 5e | 723.45 | 0.035909 | 45436077 | 44838.0342 | 2968277.8609 | 367.0472 | -6118.1026 | 5.8746e-05 | -23393610.8928 | -313195.3145 | -20733529.8216 | -268357.2804
Portfolio 5f | 406.23 | -0.21289 | -48524365 | -13844.9627 | -916536.5316 | -550.2612 | -3059.0513 | -0.00055958 | -15258109.9521 | -156597.6573 | -10366764.9108 | -170442.62

## Resource Adequacy Benefits
Weighted Average Price of System Resource Adequacy Capacity (2019$/kW/month) |  |  |  | 3.46 | Table 7. 'Aggregated RA Contract Prices, 2019', 2019 Resource Adequacy Report, March 2021
Weighted Average Price of System Resource Adequacy Capacity (2019$/kW/year) |  |  |  | 41.52
Weighted Average Price of System Resource Adequacy Capacity (2019$/MW/year) |  |  |  | 41520
Weighted Average Price of Import Resource Adequacy Capacity (2019$/kW/month) |  |  |  | 1.83 | Table 6. '2019 Capacity Prices', 2019 Resource Adequacy Report, March 2021
Weighted Average Price of Import Resource Adequacy Capacity (2019$/kW/year) |  |  |  | 21.96
Weighted Average Price of Import Resource Adequacy Capacity (2019$/MW/year) |  |  |  | 21960
2027 Resource Adequacy Benefits
| Total Generation Capacity (kW) | Total Transmission Capacity (kW) | Total RA Benefit - Generation (2019$) | Total RA Benefit - Transmission (2019$) | Total Resource Adequacy Benefit (2019$)
Portfolio 3 | 4334 | 0 | 179947680 | 0 | 179948000
Portfolio 5a | 736.78 | 0 | 30591105.6 | 0 | 30591000
Portfolio 5b | 2535.39 | 0 | 105269392.8 | 0 | 105269000
Portfolio 5c | 3432.528 | 0 | 142518562.56 | 0 | 142519000
2035 Resource Adequacy Benefits
| Total Generation Capacity (kW) | Total Transmission Capacity (kW) | Total RA Benefit - Generation (2019$) | Total RA Benefit - Transmission (2019$) | Total Resource Adequacy Benefit (2019$)
Portfolio 3 | 3922 | 0 | 162841440 | 0 | 162841000
Portfolio 4a | 0 | 2875 | 0 | 63135000 | 63135000
Portfolio 4b | 0 | 2000 | 0 | 43920000 | 43920000
Portfolio 5d | 0 | 710.125 | 0 | 15594345 | 15594000
Portfolio 5e | 0 | 1794 | 0 | 39396240 | 39396000
Portfolio 5f | 0 | 2334.5 | 0 | 51265620 | 51266000

## Common Input Assumptions
| Value | Source
Capital Recovery Factor (Real) | 6.35% | NREL 2021 ATB
BTU Factor (Therms per CCF) | 1.0336 | SoCalGas Assumption, 2020 California Gas Report
2027 Shortfall (MMCFD) | 395 | Modeling Output
2035 Shortfall (MMCFD) | 323 | Modeling Output

## CPI-U Matrix
Year | CPI-U
1999 | 166.6 |  | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
2000 | 172.2 | 1999 | 1 | 0.96748 | 0.94071 | 0.92607 | 0.90543 | 0.88195 | 0.85305 | 0.82639 | 0.8035 | 0.77379 | 0.77656 | 0.76402 | 0.74065 | 0.72563 | 0.71515 | 0.70374 | 0.7029 | 0.69415 | 0.67967 | 0.66346 | 0.65165 | 0.64371 | 0.63136 | 0.62081 | 0.61314 | 0.60294 | 0.5905 | 0.57652 | 0.56226 | 0.5482 | 0.53497 | 0.52221 | 0.51046
2001 | 177.1 | 2000 | 1.0336 | 1 | 0.97233 | 0.9572 | 0.93587 | 0.91159 | 0.88172 | 0.85417 | 0.83051 | 0.7998 | 0.80266 | 0.78971 | 0.76554 | 0.75002 | 0.73919 | 0.72739 | 0.72653 | 0.71748 | 0.70251 | 0.68576 | 0.67356 | 0.66535 | 0.65258 | 0.64168 | 0.63375 | 0.62321 | 0.61035 | 0.5959 | 0.58116 | 0.56662 | 0.55295 | 0.53976 | 0.52762
2002 | 179.9 | 2001 | 1.063 | 1.0285 | 1 | 0.98444 | 0.9625 | 0.93753 | 0.90681 | 0.87847 | 0.85414 | 0.82256 | 0.8255 | 0.81218 | 0.78732 | 0.77136 | 0.76023 | 0.74809 | 0.7472 | 0.7379 | 0.7225 | 0.70528 | 0.69273 | 0.68428 | 0.67115 | 0.65994 | 0.65178 | 0.64095 | 0.62771 | 0.61286 | 0.5977 | 0.58275 | 0.56868 | 0.55512 | 0.54263
2003 | 184 | 2002 | 1.0798 | 1.0447 | 1.0158 | 1 | 0.97772 | 0.95236 | 0.92115 | 0.89236 | 0.86765 | 0.83557 | 0.83855 | 0.82502 | 0.79977 | 0.78356 | 0.77225 | 0.75992 | 0.75902 | 0.74956 | 0.73393 | 0.71643 | 0.70368 | 0.6951 | 0.68176 | 0.67037 | 0.66208 | 0.65108 | 0.63764 | 0.62255 | 0.60715 | 0.59196 | 0.57767 | 0.5639 | 0.55121
2004 | 188.9 | 2003 | 1.1044 | 1.0685 | 1.039 | 1.0228 | 1 | 0.97406 | 0.94214 | 0.9127 | 0.88742 | 0.85461 | 0.85766 | 0.84382 | 0.818 | 0.80141 | 0.78985 | 0.77724 | 0.77632 | 0.76664 | 0.75065 | 0.73276 | 0.71971 | 0.71094 | 0.6973 | 0.68565 | 0.67717 | 0.66592 | 0.65217 | 0.63673 | 0.62099 | 0.60545 | 0.59084 | 0.57675 | 0.56377
2005 | 195.3 | 2004 | 1.1339 | 1.097 | 1.0666 | 1.05 | 1.0266 | 1 | 0.96723 | 0.937 | 0.91106 | 0.87737 | 0.8805 | 0.86629 | 0.83978 | 0.82276 | 0.81088 | 0.79794 | 0.79699 | 0.78706 | 0.77064 | 0.75227 | 0.73888 | 0.72988 | 0.71586 | 0.70391 | 0.69521 | 0.68365 | 0.66954 | 0.65369 | 0.63752 | 0.62158 | 0.60657 | 0.59211 | 0.57878
2006 | 201.6 | 2005 | 1.1723 | 1.1341 | 1.1028 | 1.0856 | 1.0614 | 1.0339 | 1 | 0.96875 | 0.94192 | 0.90709 | 0.91033 | 0.89564 | 0.86824 | 0.85063 | 0.83835 | 0.82497 | 0.82399 | 0.81373 | 0.79675 | 0.77776 | 0.76391 | 0.7546 | 0.74012 | 0.72776 | 0.71876 | 0.70681 | 0.69222 | 0.67584 | 0.65912 | 0.64263 | 0.62712 | 0.61217 | 0.59839
2007 | 207.342 | 2006 | 1.2101 | 1.1707 | 1.1383 | 1.1206 | 1.0957 | 1.0672 | 1.0323 | 1 | 0.97231 | 0.93635 | 0.9397 | 0.92453 | 0.89624 | 0.87807 | 0.8654 | 0.85158 | 0.85057 | 0.83998 | 0.82245 | 0.80285 | 0.78856 | 0.77895 | 0.76399 | 0.75123 | 0.74195 | 0.72961 | 0.71455 | 0.69764 | 0.68038 | 0.66336 | 0.64735 | 0.63192 | 0.6177
2008 | 215.303 | 2007 | 1.2445 | 1.2041 | 1.1708 | 1.1525 | 1.1269 | 1.0976 | 1.0617 | 1.0285 | 1 | 0.96302 | 0.96646 | 0.95087 | 0.92177 | 0.90308 | 0.89004 | 0.87584 | 0.8748 | 0.8639 | 0.84588 | 0.82571 | 0.81102 | 0.80113 | 0.78575 | 0.77263 | 0.76308 | 0.75039 | 0.7349 | 0.71751 | 0.69976 | 0.68226 | 0.66579 | 0.64992 | 0.63529
2009 | 214.537 | 2008 | 1.2923 | 1.2503 | 1.2157 | 1.1968 | 1.1701 | 1.1398 | 1.1024 | 1.068 | 1.0384 | 1 | 1.0036 | 0.98737 | 0.95716 | 0.93776 | 0.92422 | 0.90946 | 0.90839 | 0.89707 | 0.87836 | 0.85742 | 0.84216 | 0.83189 | 0.81592 | 0.8023 | 0.79238 | 0.77921 | 0.76312 | 0.74506 | 0.72663 | 0.70845 | 0.69136 | 0.67487 | 0.65968
2010 | 218.056 | 2009 | 1.2877 | 1.2459 | 1.2114 | 1.1925 | 1.166 | 1.1357 | 1.0985 | 1.0642 | 1.0347 | 0.99644 | 1 | 0.98386 | 0.95376 | 0.93442 | 0.92093 | 0.90623 | 0.90515 | 0.89388 | 0.87523 | 0.85436 | 0.83916 | 0.82893 | 0.81302 | 0.79944 | 0.78956 | 0.77643 | 0.7604 | 0.74241 | 0.72405 | 0.70593 | 0.6889 | 0.67247 | 0.65734
2011 | 224.939 | 2010 | 1.3089 | 1.2663 | 1.2313 | 1.2121 | 1.1851 | 1.1543 | 1.1165 | 1.0816 | 1.0517 | 1.0128 | 1.0164 | 1 | 0.9694 | 0.94975 | 0.93604 | 0.92109 | 0.92 | 0.90854 | 0.88959 | 0.86838 | 0.85292 | 0.84253 | 0.82636 | 0.81255 | 0.80251 | 0.78917 | 0.77288 | 0.75458 | 0.73592 | 0.71751 | 0.7002 | 0.6835 | 0.66812
2012 | 229.594 | 2011 | 1.3502 | 1.3063 | 1.2701 | 1.2504 | 1.2225 | 1.1908 | 1.1518 | 1.1158 | 1.0849 | 1.0448 | 1.0485 | 1.0316 | 1 | 0.97973 | 0.96558 | 0.95017 | 0.94904 | 0.93722 | 0.91767 | 0.89579 | 0.87985 | 0.86912 | 0.85244 | 0.8382 | 0.82784 | 0.81408 | 0.79727 | 0.7784 | 0.75915 | 0.74016 | 0.7223 | 0.70507 | 0.68921
2013 | 232.957 | 2012 | 1.3781 | 1.3333 | 1.2964 | 1.2762 | 1.2478 | 1.2154 | 1.1756 | 1.1389 | 1.1073 | 1.0664 | 1.0702 | 1.0529 | 1.0207 | 1 | 0.98556 | 0.96983 | 0.96868 | 0.95661 | 0.93666 | 0.91433 | 0.89805 | 0.88711 | 0.87008 | 0.85555 | 0.84497 | 0.83093 | 0.81377 | 0.79451 | 0.77486 | 0.75548 | 0.73725 | 0.71966 | 0.70347
2014 | 236.736 | 2013 | 1.3983 | 1.3528 | 1.3154 | 1.2949 | 1.2661 | 1.2332 | 1.1928 | 1.1555 | 1.1235 | 1.082 | 1.0859 | 1.0683 | 1.0356 | 1.0146 | 1 | 0.98404 | 0.98287 | 0.97063 | 0.95038 | 0.92772 | 0.91121 | 0.9001 | 0.88283 | 0.86808 | 0.85735 | 0.8431 | 0.82569 | 0.80615 | 0.78621 | 0.76654 | 0.74804 | 0.73021 | 0.71377
2015 | 237.017 | 2014 | 1.421 | 1.3748 | 1.3367 | 1.3159 | 1.2866 | 1.2532 | 1.2122 | 1.1743 | 1.1418 | 1.0995 | 1.1035 | 1.0857 | 1.0524 | 1.0311 | 1.0162 | 1 | 0.99881 | 0.98637 | 0.9658 | 0.94277 | 0.92599 | 0.91471 | 0.89715 | 0.88216 | 0.87126 | 0.85678 | 0.83909 | 0.81923 | 0.79897 | 0.77898 | 0.76018 | 0.74205 | 0.72535
2016 | 240.007 | 2015 | 1.4227 | 1.3764 | 1.3383 | 1.3175 | 1.2881 | 1.2547 | 1.2136 | 1.1757 | 1.1431 | 1.1009 | 1.1048 | 1.087 | 1.0537 | 1.0323 | 1.0174 | 1.0012 | 1 | 0.98754 | 0.96694 | 0.94389 | 0.92709 | 0.91579 | 0.89821 | 0.88321 | 0.87229 | 0.85779 | 0.84008 | 0.8202 | 0.79991 | 0.7799 | 0.76108 | 0.74293 | 0.72621
2017 | 245.12 | 2016 | 1.4406 | 1.3938 | 1.3552 | 1.3341 | 1.3044 | 1.2706 | 1.2289 | 1.1905 | 1.1575 | 1.1147 | 1.1187 | 1.1007 | 1.067 | 1.0454 | 1.0303 | 1.0138 | 1.0126 | 1 | 0.97914 | 0.9558 | 0.93879 | 0.92734 | 0.90954 | 0.89435 | 0.88329 | 0.86861 | 0.85068 | 0.83055 | 0.81 | 0.78974 | 0.77068 | 0.7523 | 0.73537
2018 | 251.107 | 2017 | 1.4713 | 1.4235 | 1.3841 | 1.3625 | 1.3322 | 1.2976 | 1.2551 | 1.2159 | 1.1822 | 1.1385 | 1.1426 | 1.1241 | 1.0897 | 1.0676 | 1.0522 | 1.0354 | 1.0342 | 1.0213 | 1 | 0.97616 | 0.95878 | 0.9471 | 0.92892 | 0.91341 | 0.90211 | 0.88712 | 0.8688 | 0.84824 | 0.82726 | 0.80657 | 0.7871 | 0.76833 | 0.75104
2019 | 255.657 | 2018 | 1.5072 | 1.4582 | 1.4179 | 1.3958 | 1.3647 | 1.3293 | 1.2858 | 1.2456 | 1.2111 | 1.1663 | 1.1705 | 1.1516 | 1.1163 | 1.0937 | 1.0779 | 1.0607 | 1.0594 | 1.0462 | 1.0244 | 1 | 0.9822 | 0.97023 | 0.95161 | 0.93571 | 0.92415 | 0.90879 | 0.89002 | 0.86896 | 0.84747 | 0.82627 | 0.80633 | 0.7871 | 0.76938
2020 | 258.811 | 2019 | 1.5346 | 1.4847 | 1.4436 | 1.4211 | 1.3894 | 1.3534 | 1.309 | 1.2681 | 1.233 | 1.1874 | 1.1917 | 1.1724 | 1.1366 | 1.1135 | 1.0974 | 1.0799 | 1.0786 | 1.0652 | 1.043 | 1.0181 | 1 | 0.98781 | 0.96885 | 0.95267 | 0.94089 | 0.92525 | 0.90615 | 0.8847 | 0.86282 | 0.84124 | 0.82094 | 0.80136 | 0.78333
2021 | 263.8766 | 2020 | 1.5535 | 1.503 | 1.4614 | 1.4386 | 1.4066 | 1.3701 | 1.3252 | 1.2838 | 1.2482 | 1.2021 | 1.2064 | 1.1869 | 1.1506 | 1.1273 | 1.111 | 1.0932 | 1.092 | 1.0783 | 1.0559 | 1.0307 | 1.0123 | 1 | 0.9808 | 0.96442 | 0.9525 | 0.93667 | 0.91733 | 0.89562 | 0.87347 | 0.85162 | 0.83106 | 0.81125 | 0.79299
2022 | 268.3585 | 2021 | 1.5839 | 1.5324 | 1.49 | 1.4668 | 1.4341 | 1.3969 | 1.3511 | 1.3089 | 1.2727 | 1.2256 | 1.23 | 1.2101 | 1.1731 | 1.1493 | 1.1327 | 1.1146 | 1.1133 | 1.0995 | 1.0765 | 1.0509 | 1.0322 | 1.0196 | 1 | 0.9833 | 0.97114 | 0.955 | 0.93528 | 0.91315 | 0.89056 | 0.86829 | 0.84733 | 0.82712 | 0.80851
2023 | 271.718 | 2022 | 1.6108 | 1.5584 | 1.5153 | 1.4917 | 1.4585 | 1.4206 | 1.3741 | 1.3311 | 1.2943 | 1.2464 | 1.2509 | 1.2307 | 1.193 | 1.1688 | 1.152 | 1.1336 | 1.1322 | 1.1181 | 1.0948 | 1.0687 | 1.0497 | 1.0369 | 1.017 | 1 | 0.98764 | 0.97122 | 0.95117 | 0.92866 | 0.90569 | 0.88303 | 0.86172 | 0.84117 | 0.82224
2024 | 276.3105 | 2023 | 1.631 | 1.5779 | 1.5343 | 1.5104 | 1.4767 | 1.4384 | 1.3913 | 1.3478 | 1.3105 | 1.262 | 1.2665 | 1.2461 | 1.208 | 1.1835 | 1.1664 | 1.1478 | 1.1464 | 1.1321 | 1.1085 | 1.0821 | 1.0628 | 1.0499 | 1.0297 | 1.0125 | 1 | 0.98338 | 0.96308 | 0.94028 | 0.91703 | 0.89409 | 0.87251 | 0.8517 | 0.83254
2025 | 282.1354 | 2024 | 1.6585 | 1.6046 | 1.5602 | 1.5359 | 1.5017 | 1.4627 | 1.4148 | 1.3706 | 1.3326 | 1.2834 | 1.2879 | 1.2672 | 1.2284 | 1.2035 | 1.1861 | 1.1672 | 1.1658 | 1.1513 | 1.1272 | 1.1004 | 1.0808 | 1.0676 | 1.0471 | 1.0296 | 1.0169 | 1 | 0.97935 | 0.95617 | 0.93253 | 0.9092 | 0.88726 | 0.8661 | 0.84661
2026 | 288.9749 | 2025 | 1.6935 | 1.6384 | 1.5931 | 1.5683 | 1.5333 | 1.4936 | 1.4446 | 1.3995 | 1.3607 | 1.3104 | 1.3151 | 1.2939 | 1.2543 | 1.2288 | 1.2111 | 1.1918 | 1.1904 | 1.1755 | 1.151 | 1.1236 | 1.1036 | 1.0901 | 1.0692 | 1.0513 | 1.0383 | 1.0211 | 1 | 0.97633 | 0.95218 | 0.92837 | 0.90596 | 0.88436 | 0.86445
2027 | 296.3033 | 2026 | 1.7345 | 1.6781 | 1.6317 | 1.6063 | 1.5705 | 1.5298 | 1.4796 | 1.4334 | 1.3937 | 1.3422 | 1.347 | 1.3252 | 1.2847 | 1.2586 | 1.2405 | 1.2207 | 1.2192 | 1.204 | 1.1789 | 1.1508 | 1.1303 | 1.1165 | 1.0951 | 1.0768 | 1.0635 | 1.0458 | 1.0242 | 1 | 0.97527 | 0.95087 | 0.92792 | 0.90579 | 0.88541
2028 | 303.9053 | 2027 | 1.7785 | 1.7207 | 1.6731 | 1.647 | 1.6103 | 1.5686 | 1.5172 | 1.4698 | 1.4291 | 1.3762 | 1.3811 | 1.3588 | 1.3173 | 1.2906 | 1.2719 | 1.2516 | 1.2501 | 1.2346 | 1.2088 | 1.18 | 1.159 | 1.1449 | 1.1229 | 1.1041 | 1.0905 | 1.0724 | 1.0502 | 1.0254 | 1 | 0.97499 | 0.95145 | 0.92877 | 0.90786
2029 | 311.4213 | 2028 | 1.8242 | 1.7648 | 1.716 | 1.6893 | 1.6517 | 1.6088 | 1.5561 | 1.5075 | 1.4657 | 1.4115 | 1.4166 | 1.3937 | 1.3511 | 1.3237 | 1.3046 | 1.2837 | 1.2822 | 1.2662 | 1.2398 | 1.2103 | 1.1887 | 1.1742 | 1.1517 | 1.1325 | 1.1185 | 1.0999 | 1.0772 | 1.0517 | 1.0257 | 1 | 0.97587 | 0.95259 | 0.93116
2030 | 319.0292 | 2029 | 1.8693 | 1.8085 | 1.7584 | 1.7311 | 1.6925 | 1.6486 | 1.5946 | 1.5447 | 1.502 | 1.4464 | 1.4516 | 1.4282 | 1.3845 | 1.3564 | 1.3368 | 1.3155 | 1.3139 | 1.2976 | 1.2705 | 1.2402 | 1.2181 | 1.2033 | 1.1802 | 1.1605 | 1.1461 | 1.1271 | 1.1038 | 1.0777 | 1.051 | 1.0247 | 1 | 0.97615 | 0.95419
2031 | 326.3738 | 2030 | 1.9149 | 1.8527 | 1.8014 | 1.7734 | 1.7339 | 1.6889 | 1.6335 | 1.5825 | 1.5387 | 1.4818 | 1.4871 | 1.4631 | 1.4183 | 1.3895 | 1.3695 | 1.3476 | 1.346 | 1.3292 | 1.3015 | 1.2705 | 1.2479 | 1.2327 | 1.209 | 1.1888 | 1.1741 | 1.1546 | 1.1308 | 1.104 | 1.0767 | 1.0498 | 1.0244 | 1 | 0.9775
|  | 2031 | 1.959 | 1.8953 | 1.8429 | 1.8142 | 1.7738 | 1.7278 | 1.6711 | 1.6189 | 1.5741 | 1.5159 | 1.5213 | 1.4967 | 1.4509 | 1.4215 | 1.401 | 1.3786 | 1.377 | 1.3599 | 1.3315 | 1.2997 | 1.2766 | 1.2611 | 1.2368 | 1.2162 | 1.2011 | 1.1812 | 1.1568 | 1.1294 | 1.1015 | 1.0739 | 1.048 | 1.023 | 1

## SCC
Year | $/metric ton | Year | SCC (2020$) | SCC (2019$) | Description | Value | Source
2027 | 57.7 | 2025 | 56 |  | US Gross Domestic Product 2020 | 113.648 | Table 1.1.9. Implicit Price Deflators for Gross Domestic Product, Bureau of Economic Analysis
2035 | 66.2 | 2026 | 57.2 |  | US Gross Domestic Product 2019 | 112.294 | Table 1.1.9. Implicit Price Deflators for Gross Domestic Product, Bureau of Economic Analysis
|  | 2027 | 58.4 | 57.7042 | Deflation Factor | 0.98809
|  | 2028 | 59.6
|  | 2029 | 60.8
|  | 2030 | 62
|  | 2031 | 63
|  | 2032 | 64
|  | 2033 | 65
|  | 2034 | 66
|  | 2035 | 67 | 66.2018

## Emissions Factor
| Value | Source
Pounds CO2/MMBtu | 116.65 | https://www.eia.gov/tools/faqs/faq.php?id=73&t=11
Pounds CO2/Mcf | 112.858
Pounds CO2/MMcf | 112857.9721
Metric Tons CO2/MMcf | 51.1916

## Portfolio 5 Levelized Costs
Year | Portfolio 5 Scenario | Percent of Basis Portfolio | Basis Portfolio | Basis Portfolio Capital Cost | Portfolio 5 Capital Costs
2027 | 5a | 17% | Portfolio 3 | 652956000 | 111003000
2027 | 5b | 58.5% | Portfolio 3 | 652956000 | 381979000
2027 | 5c | 79.2% | Portfolio 3 | 652956000 | 517141000
2027 | 5a | 100% | Portfolio 2 | -12959000 | -12959000
2027 | 5b | 50% | Portfolio 2 | -12959000 | -6480000
2027 | 5c | 25% | Portfolio 2 | -12959000 | -3240000
2035 | 5d | 24.7% | Portfolio 4a | 125483000 | 30994000
2035 | 5e | 62.4% | Portfolio 4a | 125483000 | 78301000
2035 | 5f | 81.2% | Portfolio 4a | 125483000 | 101892000
2035 | 5d | 40% | Portfolio 2 | -23442000 | -9377000
2035 | 5e | 20% | Portfolio 2 | -23442000 | -4688000
2035 | 5f | 10% | Portfolio 2 | -23442000 | -2344000
Year | Portfolio 5 Scenario | Total Capital Costs
2027 | 5a | 98044000
2027 | 5b | 375499000
2027 | 5c | 513901000
2035 | 5d | 21617000
2035 | 5e | 73613000
2035 | 5f | 99548000

## Portfolio 4B Levelized Cost
Portfolio 4b Costs (2019$) | 2035
Transmission Capacity | 87293000
Total Annual Cost | 87293000
Transmission Capacity Capital and O&M Costs
Incremental Transmission Capacity Added (MW) | 2000
Portfolio 4 Cost per MW of Transmission Capacity (2019$/MW) | 687000
Total Incremental Transmission Capacity Cost (2019$) | 1374000000
Capital Recovery Factor (Real) | 6.35%
Levelized Annual Incremental Transmission Capacity Cost (2019$) | 87249000
Total O&M Cost (% of Total Capital Costs) | 0.05%
Levelized Annual Total O&M Cost (2019$) | 43624.5
Levelized Total Annual Capital and O&M Cost (2019$) | 87293000

## Portfolio 4A Levelized Cost
Portfolio 4a Costs (2019$) | 2035
Transmission Capacity | 125483000
Total Annual Cost | 125483000
Transmission Capacity Capital and O&M Costs
Incremental Transmission Capacity Added (MW) | 2875
Portfolio 4 Cost per MW of Transmission Capacity (2019$/MW) | 687000
Total Incremental Transmission Capacity Cost (2019$) | 1975125000
Capital Recovery Factor (Real) | 6.35%
Levelized Annual Incremental Transmission Capacity Cost (2019$) | 125420437.5
Total O&M Cost (% of Total Capital Costs) | 0.05%
Levelized Annual Total O&M Cost (2019$) | 62710.2188
Levelized Total Annual Capital and O&M Cost (2019$) | 125483000

## Portfolio 3 Levelized Cost
Portfolio 3 Costs (2019$) | 2027 |  | Portfolio 3 Costs (2019$) | 2035
Wind | 104014000 |  | Wind | 128451000
Geothermal | 213330000 |  | Geothermal | 181757000
Energy Storage - 4 hr | 190245000 |  | Energy Storage - 4 hr | 154606000
Pumped Storage - 10 hr | 145367000 |  | Pumped Storage - 10 hr | 131926000
Total Annual Cost | 652956000 |  | Total Annual Cost | 596740000
2027 |  |  |  |  | 2035
| Wind | Geothermal | 4 Hour Energy Storage (Battery) | 10 Hour Energy Storage (Pumped Hydro) |  | Wind | Geothermal | 4 Hour Energy Storage (Battery) | 10 Hour Energy Storage (Pumped Hydro)
Capacity (MW) | 1497 | 460 | 1968 | 409 | Capacity (MW) | 1355 | 416 | 1781 | 370
Capital Cost (2019$/MW) | 1082545.4545 | 5832712.8057 | 1092309.24 | 4364211.4336 | Capital Cost (2019$/MW) | 902500 | 5412792.7096 | 980885.4 | 4364211.4336
Total Capital Cost (2019$) | 1620570545.4545 | 2683047890.6035 | 2149664584.32 | 1784962476.325 | Total Capital Cost (2019$) | 1222887500 | 2251721767.2094 | 1746956897.4 | 1614758230.4163
Capital Recovery Factor (Real) | 6.35% | 6.35% | 6.35% | 6.35% | Capital Recovery Factor (Real) | 6.35% | 6.35% | 6.35% | 6.35%
Levelized Annual Capital Cost (2019$) | 102906229.6364 | 170373541.0533 | 136503701.1043 | 113345117.2466 | Levelized Annual Capital Cost (2019$) | 77653356.25 | 142984332.2178 | 110931762.9849 | 102537147.6314
Fixed O&M Cost (2019$/MW-Year) | 40054.5455 | 130420.4816 | 27307.731 | 78293.9531 | Fixed O&M Cost (2019$/MW-Year) | 37489.375 | 127575.6677 | 24522.135 | 79428.6481
Annual Fixed O&M Cost (2019$) | 59961654.5455 | 59993421.5432 | 53741614.608 | 32022226.8253 | Annual Fixed O&M Cost (2019$) | 50798103.125 | 53071477.767 | 43673922.435 | 29388599.7936
Total Annual Capital and O&M Costs (2019$) - No Tax Credits | 162867884.1818 | 230366962.5965 | 190245315.7123 | 145367344.0719 | Total Annual Capital and O&M Costs (2019$) - No Tax Credits | 128451459.375 | 196055809.9848 | 154605685.4199 | 131925747.425
Land Based Wind Capacity Factor - 2027 | 35% |  |  |  | Land Based Wind Capacity Factor - 2035 | 35%
Total Energy per Year (MWh) | 4589802 |  |  |  | Total Energy per Year (MWh) | 4154430
Capital and O&M Cost per MWh | 35.4847 |  |  |  | Capital and O&M Cost per MWh | 30.9192
100% PTC Tax Credit ($/MWh) | 21.3711 |  |  |  | 100% PTC Tax Credit ($/MWh) | 21.3711
% PTC Tax Credit Assumed | 60% |  |  |  | % PTC Tax Credit Assumed | 0%
PTC Tax Credit Impact ($/MWh) | 12.8226 |  |  |  | PTC Tax Credit Impact ($/MWh) | 0
PTC Annual Cost Reduction | 58853416.7888 |  |  |  | PTC Annual Cost Reduction | 0
ITC Tax Credit (Geothermal Only) |  | 10% |  |  | ITC Tax Credit (Geothermal Only) |  | 10%
ITC Capital Cost Reduction |  | 17037354.1053 |  |  | ITC Capital Cost Reduction |  | 14298433.2218
Total Annual Capital and O&M Costs (2019$) - With Tax Credits | 104014000 | 213330000 | 190245000 | 145367000 | Total Annual Capital and O&M Costs (2019$) - With Tax Credits | 128451000 | 181757000 | 154606000 | 131926000

## Portfolio 2 Levelized Cost
Portfolio 2c Costs (2019$) | 2027 | Portfolio 2c Costs (2019$) | 2035
Electrification | -22113000 | Electrification | -42041000
Energy Efficiency | 9154000 | Energy Efficiency | 18599000
Noncore Demand Response Cost | 17097000 | Noncore Demand Response Cost | 0
Total Annual Cost | 4138000 | Total Annual Cost | -23442000
Electrification Cost |  | Electrification Cost
Levelized Annual Cost/GWh Added (All CA, 2019$/GWh) | -3272.6691 | Levelized Annual Cost/GWh Added (All CA, 2019$/GWh) | -3272.6691
2027 Incremental Electric Demand (SoCalGas & SDGE, GWh) | 6757 | 2035 Incremental Electric Demand (SoCalGas & SDGE, GWh) | 12846
Levelized Annual Cost (SoCalGas & SDGE, 2019$) | -22113000 | Levelized Annual Cost (SoCalGas & SDGE, 2019$) | -42041000
Noncore Demand Response |  | Noncore Demand Response
Value
Total DLC Demand Response Payment Rate (2019$/MMCFD) | 255172.4117 | Total DLC Demand Response Payment Rate (2019$/MMCFD) | 255172.4117
2027 Shortfall (MMCFD) | 395 | 2035 Shortfall (MMCFD) | 323
2027 Shortfall Reduction Related to Electrification and Electric Energy Efficiency (MMCFD) | 328 | 2035 Shortfall Reduction Related to Electrification and Electric Energy Efficiency (MMCFD) | 323
2027 Remaining Shortfall (MMFCD) | 67 | 2035 Remaining Shortfall (MMFCD) | 0
Total 2027 Demand Response Cost (2019$/GWh) | 17097000 | Total 2035 Demand Response Cost (2019$/GWh) | 0

## Portfolio 1A Levelized Costs
Portfolio 1a Costs (2019$) | 2027 | Portfolio 1a Costs (2019$) | 2035
Gas Infrastructure Cost | 48226000 | Gas Infrastructure Cost | 24078000
Pipelines | 48009000 | Pipelines | 23861000
Pressure Limiting Station | 217000 | Pressure Limiting Station | 217000
Firm Transportation Cost | 52195000 | Firm Transportation Cost | 42705000
Total Annual Cost | 100421000 | Total Annual Cost | 66783000
Pipelines |  | Pipelines
New Pipeline Lengths (Miles) |  | New Pipeline Lengths (Miles)
34.8 Miles 36” Loop - Wheeler Ridge South | 48.5 | 41.5 Miles 36” Loop - Newberry towards Cajon Junction | 41.5
20 Miles 36” Loop N Needles West | 20
15 Miles 36” Loop Kelso CS West | 15
Total New Pipeline Length (Miles) | 83.5 | Total New Pipeline Length (Miles) | 41.5
New Pipeline Total Capital Cost per Mile (2019$) | 9050000 | New Pipeline Total Capital Cost per Mile (2019$) | 9050000
New Pipeline Total O&M Cost (% of Total Capital Costs) | 0.05% | New Pipeline Total O&M Cost (% of Total Capital Costs) | 0.05%
New Pipeline Total Capital Cost (2019$) | 755675000 | New Pipeline Total Capital Cost (2019$) | 375575000
New Pipeline Total O&M Cost (% of Total Capital Costs) | 378000 | New Pipeline Total O&M Cost (% of Total Capital Costs) | 188000
Total New Pipeline Capital and O&M Cost (2019$) | 756053000 | Total New Pipeline Capital and O&M Cost (2019$) | 375763000
Capital Recovery Factor | 6.35% | Capital Recovery Factor | 6.35%
Levelized Capital and O&M Cost (2019$/year) | 48009000 | Levelized Capital and O&M Cost (2019$/year) | 23861000
Pressure Limiting Station |  | Pressure Limiting Station
Quigley Regulator Station Expansion Total Capital Costs (2019$) | 3410000 | Quigley Regulator Station Expansion Total Capital Costs (2019$) | 3410000
Total O&M Cost (% of Total Capital Costs) | 0.05% | Total O&M Cost (% of Total Capital Costs) | 0.05%
Total O&M Cost (2019$) | 1705 | Total O&M Cost (2019$) | 1705
Total Capital and O&M Cost (2019$) | 3411705 | Total Capital and O&M Cost (2019$) | 3411705
Capital Recovery Factor | 6.35% | Capital Recovery Factor | 6.35%
Levelized Capital and O&M Cost (2019$/year) | 216643.2675 | Levelized Capital and O&M Cost (2019$/year) | 216643.2675
Firm Transportation |  | Firm Transportation
2027 Shortfall (MMCFD) | 395 | 2035 Shortfall (MMCFD) | 323
Portfolio 1a Incremental Upstream Capacity Rate (2019$/MMCFD) | 362.4051 | Portfolio 1a Incremental Upstream Capacity Rate (2019$/MMCFD) | 362.4051
Daily Upstream Capacity Cost (2019$/day) | 143000 | Daily Upstream Capacity Cost (2019$/day) | 117000
Annual Upstream Capacity Cost (2019$/year) | 52195000 | Annual Upstream Capacity Cost (2019$/year) | 42705000

## Portfolio 1B Levelized Cost
Portfolio 1b Costs (2019$) | 2027 | Portfolio 1b Costs (2019$) | 2035
Gas Infrastructure Cost | 20226000 | Gas Infrastructure Cost | 14476000
Pipelines | 20009000 | Pipelines | 14259000
Pressure Limiting Station | 217000 | Pressure Limiting Station | 217000
Firm Transportation Cost | 105485000 | Firm Transportation Cost | 86140000
Storage Cost | 21571000 | Storage Cost | 17639000
Total Annual Cost | 147282000 | Total Annual Cost | 118255000
Pipelines |  | Pipelines
New Pipeline Lengths (Miles) |  | New Pipeline Lengths (Miles)
34.8 Miles 36” Loop - Wheeler Ridge South | 34.8 | 24.8 Miles 36” Loop - Wheeler Ridge South | 24.8
Total New Pipeline Length (Miles) | 34.8 | Total New Pipeline Length (Miles) | 24.8
New Pipeline Total Capital Cost per Mile (2019$) | 9050000 | New Pipeline Total Capital Cost per Mile (2019$) | 9050000
New Pipeline Total O&M Cost (% of Total Capital Costs) | 0.05% | New Pipeline Total O&M Cost (% of Total Capital Costs) | 0.05%
New Pipeline Total Capital Cost (2019$) | 314940000 | New Pipeline Total Capital Cost (2019$) | 224440000
New Pipeline Total O&M Cost (% of Total Capital Costs) | 157000 | New Pipeline Total O&M Cost (% of Total Capital Costs) | 112000
Total New Pipeline Capital and O&M Cost (2019$) | 315097000 | Total New Pipeline Capital and O&M Cost (2019$) | 224552000
Capital Recovery Factor | 6.35% | Capital Recovery Factor | 6.35%
Levelized Capital and O&M Cost (2019$/year) | 20009000 | Levelized Capital and O&M Cost (2019$/year) | 14259000
Pressure Limiting Station |  | Pressure Limiting Station
Quigley Regulator Station Expansion Total Capital Costs (2019$) | 216643.2675 | Quigley Regulator Station Expansion Total Capital Costs (2019$) | 216643.2675
Firm Transportation |  | Firm Transportation
2027 Shortfall (MMCFD) | 395 | 2035 Shortfall (MMCFD) | 323
Portfolio 1b Incremental Upstream Capacity Cost (2019$/MMCFD) | 730.4241 | Portfolio 1b Incremental Upstream Capacity Cost (2019$/MMCFD) | 730.4241
Daily Upstream Capacity Cost (2019$/day) | 289000 | Daily Upstream Capacity Cost (2019$/day) | 236000
Upstream Capacity Cost (2019$/year) | 105485000 | Upstream Capacity Cost (2019$/year) | 86140000
Storage |  | Storage
2027 Shortfall (MMCFD) | 395 | 2035 Shortfall (MMCFD) | 323
Portfolio 1b Incremental Storage Capacity Cost (2019$/MMCFD Withdrawal Capacity) | 54610 | Portfolio 1b Incremental Storage Capacity Cost (2019$/MMCFD Withdrawal Capacity) | 54610
Storage Cost (2019$/year) | 21570950 | Storage Cost (2019$/year) | 17639030

## P1 Gas Transmission & Storage
New Pipeline Capital and O&M
| North-South (Nominal = 2014) | PSRP (Nominal = 2015) | Average
Pipeline Length (Miles) | 63 | 47
Pipeline Diameter (Inches) | 36 | 36
Total Cost (Nominal) | 484545193 | 426800000
Labor Cost (Nominal) | 17495082 | 18200000
Non-Labor Cost (Nominal) | 467050111 | 408600000
Total Cost per Mile (Nominal) | 7691193.5397 | 9080851.0638
Annual O&M Costs (Nominal) | 200000 | 240000
Annual O&M Percent of Capital Costs | 0.04128% | 0.05623% | 0.05%
Total Cost per Mile ($2019) | 8305908.1288 | 9795006.8578 | 9050000
Expand Quigley Regulator Station
SoCalGas Testimony (Nominal = 2011)
Estimated Cost (Nominal) | 3000000
Estimated Cost (2019$) | 3409684.4033 |  | 3410000
Upstream Capacity
El Paso Maximum "California Rate" (2021$/dth/month) | 11.0077
El Paso Maximum "California Rate" (2021$/dth/day) | 0.3619
El Paso Maximum "California Rate" (2019$/dth/day) | 0.35062
El Paso Maximum "California Rate" (2019$/MMCFD) | 362.4051 |  | 362.4051
El Paso Maximum "California Rate" (2021$/dth/day) | 0.7294
El Paso Maximum "California Rate" (2019$/dth/day) | 0.70668
El Paso Maximum "California Rate" (2019$/MMCFD) | 730.4241 |  | 730.4241
Storage Capacity
PGE Gill Ranch Withdrawal Capacity (MMCFD) | 100
PGE Gill Ranch Annual Cost (2019$) | 5461000
PGE Gill Ranch Annual Cost per MMCFD of Withdrawal Capacity (2019$/MMCFD) | 54610 |  | 54610

## P2_5 Energy Efficiency
| 2027 | 2032 | 2035
TRC Reference | 457667169 | 526102083 | 567163031.4
TRC High | 601829129 | 763228114 | 860067505
Difference | 144161960 | 237126031 | 292904473.6
CRF | 6.35% | 6.35% | 6.35%
Levelized Annual Cost | 9154284.46 | 15057502.9685 | 18599434.0736

## P2_5 Electrification
| Moderate Case Values | Notes
Total Discounted Net Investment Costs (All CA, 2020$) | -1194000000 | CEC Report, Total Net Costs minus Gas and Electric Fuel Impacts
Total GWh Added (All CA) | 22885
Total Discounted Net Cost/GWh Added (All CA, 2020$/GWh) | -52173.913
Total Discounted Net Cost/GWh Added (All CA, 2019$/GWh) | -51538.0957
Capital Recovery Factor | 6.35%
Total Levelized Annual Cost/GWh Added (All CA, 2019$/GWh) | -3272.6691

## P2 Noncore Demand Response
National Grid NY, Demand Response Program 2020-21 Costs and Results
| Value | Source
Maximum DLC Monthly Reservation Payment Rate (2020$/Dth/Month) | 52 | Table 2, 'Daily DR Program Incentive Rates, By Program Option'
Maximum DLC Monthly Reservation Payment Rate (2019$/Dth/Month) | 51.3663 | Calculation
Maximum DLC Annual Reservation Payment Rate (2019$/Dth) | 256.8315 | Calculation (Reservation payment applicable to 5 winter months, Nov - Mar)
Weighted Average Annual Reservation Payment Rate (2019$/MMCF) | 248482.4983 | Calculation
Performance Payment Rate (2020$/Dth) | 7 | Table 2, 'Daily DR Program Incentive Rates, By Program Option'
Performance Payment Rate (2019$/Dth) | 6.9147 | Calculation
Performance Payment Rate (2019$/MCF) | 6689.9134 | Calculation
Total DLC Demand Response Payment Rate (2019$/MMCFD) | 255172.4117 | Calculation

## P3 Generation
Technology | Year | Capital Cost (2019$/kw) | Fixed O&M Cost (2019$/kw) | Capacity Factor (%) | Levelized Cost of Energy (2019$/MWh) | Capital Cost (2019$/MW) | Fixed O&M Cost (2019$/MW)
Class 7 - Moderate | 2027 | 1082.5455 | 40.0545 | 35% | 24.8994 | 1082545.4545 | 40054.5455
Hydro / Flash - Moderate | 2027 | 5832.7128 | 130.4205 | 90% | 64.8932 | 5832712.8057 | 130420.4816
4Hr Battery Storage - Conservative | 2027 | 1092.3092 | 27.3077 | N/A | N/A | 1092309.24 | 27307.731
Pumped Storage - 10 hr | 2027 | 4364.2114 | 78.294 | N/A | N/A | 4364211.4336 | 78293.9531
Class 7 - Moderate | 2035 | 902.5 | 37.4894 | 35% | 46.4343 | 902500 | 37489.375
Hydro / Flash - Moderate | 2035 | 5412.7927 | 127.5757 | 90% | 61.0514 | 5412792.7096 | 127575.6677
4Hr Battery Storage - Conservative | 2035 | 980.8854 | 24.5221 | N/A | N/A | 980885.4 | 24522.135
Pumped Storage - 10 hr | 2035 | 4364.2114 | 79.4286 | N/A | N/A | 4364211.4336 | 79428.6481
NREL ATB
Calculated Below
NREL Wind Toolkit
Pumped Storage Estimates
Description |  | Value | Source
Fixed O&M - 100MW system |  | 2% | Table 10, 2020 Grid Energy Storage Technology Cost and Performance Assessment
Fixed O&M - 1000MW system |  | 1.4% | Table 10, 2020 Grid Energy Storage Technology Cost and Performance Assessment
Incremental Decrease in Fixed O&M % of Capital Costs (100 MW - 1000 MW) |  | 0.0006667% | Calculated
2027 Portfolio 3 Pumped Storage MW |  | 409 | Modeling Output
2027 Portfolio 3 Pumped Storage Fixed O&M % of Capital Costs |  | 1.794% | Calculated
2035 Portfolio 3 Pumped Storage MW |  | 370 | Modeling Output
2035 Portfolio 3 Pumped Storage Fixed O&M % of Capital Costs |  | 1.82% | Calculated
Installed Capacity Costs (2020$/kW) |  | 3070 | Table 2, 2020 Grid Energy Storage Technology Cost and Performance Assessment
Construction Finance Factor |  | 1.4391 | NREL Proxy - Geothermal Construction Finance Factor (Moderate 2030 - Hydro)
Total Installed Capacity Costs (2020$/kW) |  | 4418.052
Total Installed Capacity Costs (2019$/kW) |  | 4364.2114 | Calculated

## P4 Transmission
Project | Capacity (MW) | Length (miles) | Cost ($ millions) | Estimated Cost Year | Cost (2019$ | Cost/MW (2019$/MW)
Desert Link | 200 | 60 | 144000000 | 2015 | 155324757.2959 | 776623.7865
North Gila | 1250 | 97 | 291000000 | 2018 | 296272851.8122 | 237018.2814
Ten West | 969 | 114 | 365000000 | 2018 | 371613714.4723 | 383502.2853
Pacific Transmission Expansion Project | 2000 | 230 | 1850000000 | 2020 | 1827454976.7977 | 913727.4884
One Nevada Line | 800 | 231 | 552000000 | 2013 | 605788467.3996 | 757235.5842
Southwest Intertie | 2000 | 275 | 525000000 | 2018 | 534512876.9807 | 267256.4385
GreenLink West + GreenLinkNorth | 1525 | 319 | 2537525369 | Multiple Years | 2213357295.8045 | 1451381.8333
Project Average | 1249.1429 | 189.4286 | 894932195.5714 |  | 857760705.7947 | 687000