## T&D
Division/Region/System | Monthly AIDI | ytd AIDI | Monthly AIFI | ytd AIFI | Monthly CAIDI | ytd CAIDI | Monthly C Min | ytd C Min | Monthly CESO | ytd CESO | Monthly SO | ytd SO | Tot Cust
SYSTEM | 15.9 | 97.3 | 0.123 | 0.595 | 129.5 | 163.6 | 90749357 | 556000321 | 700840 | 3397811 | 2570 | 17317 | 5713342
TRANSMISSION | 1.8 | 5.5 | 0.022 | 0.057 | 82.6 | 96.4 | 10176899 | 31264201 | 123256 | 324226 | 30 | 141 | 5713342
T CENTRAL | 0.3 | 1 | 0.007 | 0.016 | 48.3 | 64 | 1144761 | 3345154 | 23680 | 52274 | 8 | 13 | 3317434
T NORTH | 6.6 | 21 | 0.019 | 0.149 | 358.1 | 141 | 6005284 | 18955405 | 16772 | 134405 | 9 | 82 | 903716
T SOUTH | 2 | 6 | 0.055 | 0.092 | 36.6 | 65.2 | 3026854 | 8963642 | 82804 | 137547 | 13 | 46 | 1492192
DISTRIBUTION | 13.9 | 90.6 | 0.099 | 0.525 | 141.1 | 172.4 | 79442319 | 517608871 | 562887 | 3002210 | 2532 | 17146 | 5713342
CENTRAL COAST | 22.5 | 185.8 | 0.13 | 0.775 | 173 | 239.7 | 6723277 | 55601946 | 38852 | 231999 | 211 | 1533 | 299223
DE ANZA | 9.8 | 101.9 | 0.117 | 0.535 | 84 | 190.4 | 2238450 | 23217889 | 26655 | 121951 | 67 | 610 | 227902
DIABLO | 18.6 | 57.6 | 0.17 | 0.472 | 109.3 | 122.1 | 6151438 | 19070141 | 56296 | 156161 | 85 | 481 | 331200
EAST BAY | 7.2 | 52.3 | 0.053 | 0.382 | 137.4 | 136.8 | 2772937 | 20108333 | 20188 | 146939 | 66 | 436 | 384251
FRESNO | 7.3 | 78 | 0.054 | 0.526 | 136 | 148.4 | 3345232 | 35597105 | 24602 | 239892 | 238 | 1769 | 456397
HUMBOLDT | 32 | 313.1 | 0.132 | 1.048 | 241.7 | 298.8 | 4940222 | 48294465 | 20439 | 161603 | 107 | 1173 | 154260
KERN | 13.8 | 57.9 | 0.102 | 0.471 | 135.9 | 123 | 3762023 | 15732909 | 27689 | 127873 | 225 | 911 | 271651
LOS PADRES | 22.6 | 80.3 | 0.118 | 0.516 | 192.3 | 155.5 | 4850606 | 17198464 | 25223 | 110573 | 108 | 625 | 214263
MISSION | 9.2 | 36.8 | 0.086 | 0.36 | 106.6 | 102.3 | 3817959 | 15269579 | 35819 | 149335 | 64 | 407 | 414721
NORTH BAY | 16.1 | 64.8 | 0.117 | 0.471 | 137.9 | 137.5 | 4049815 | 16277832 | 29368 | 118357 | 103 | 664 | 251147
NORTH VALLEY | 22.8 | 117 | 0.129 | 0.661 | 176.2 | 177 | 4758741 | 24419241 | 27011 | 137986 | 240 | 1164 | 208653
PENINSULA | 4.7 | 144.1 | 0.038 | 0.702 | 122.8 | 205.1 | 1464197 | 45135081 | 11919 | 220063 | 77 | 676 | 313258
SACRAMENTO | 18 | 79.3 | 0.109 | 0.523 | 165.6 | 151.5 | 5520242 | 24339546 | 33327 | 160647 | 167 | 1278 | 306924
SAN FRANCISCO | 2.2 | 53 | 0.038 | 0.396 | 58.1 | 133.8 | 927714 | 22185883 | 15957 | 165783 | 15 | 201 | 418668
SAN JOSE | 6.9 | 45.1 | 0.066 | 0.35 | 105.5 | 129.1 | 3024554 | 19717556 | 28660 | 152748 | 114 | 612 | 436897
SIERRA | 22.2 | 146.8 | 0.149 | 0.678 | 149.2 | 216.6 | 5184788 | 34343996 | 34757 | 158573 | 152 | 1179 | 233879
SONOMA | 16.9 | 51.7 | 0.128 | 0.363 | 132.4 | 142.5 | 3893470 | 11902472 | 29408 | 83550 | 102 | 604 | 230144
STOCKTON | 21.1 | 105.3 | 0.138 | 0.598 | 153.4 | 176 | 6524636 | 32554028 | 42534 | 184945 | 173 | 1211 | 309241
YOSEMITE | 21.9 | 146.2 | 0.136 | 0.691 | 160.7 | 211.5 | 5492018 | 36642405 | 34183 | 173232 | 218 | 1612 | 250658
BAY REGION | 10 | 56 | 0.088 | 0.424 | 114.1 | 132.2 | 13901904 | 77642189 | 121809 | 587240 | 269 | 1782 | 1385266
C COAST REGIO | 11.6 | 92.4 | 0.088 | 0.518 | 132.3 | 178.5 | 22119043 | 176140515 | 167128 | 986669 | 641 | 4463 | 1906264
C VALLEY REGI | 14.8 | 93.6 | 0.1 | 0.564 | 148.2 | 166 | 19123909 | 120526447 | 129008 | 725942 | 854 | 5503 | 1287947
NORTHERN REGI | 21.4 | 126.4 | 0.128 | 0.619 | 167.6 | 204 | 24297463 | 143299720 | 144942 | 702359 | 768 | 5398 | 1133860

## Sub
Sub Area | Sub HQ | Monthly AIDI | ytd AIDI | Monthly AIFI | ytd AIFI | Monthly CAIDI | ytd CAIDI | Monthly C Min | ytd C Min | Monthly CESO | ytd CESO | Monthly SO | ytd SO | Tot Cust
BAY | MARTIN | 0 | 1.3555 | 0 | 0.013545 | 0 | 100.1 | 0 | 719232 | 0 | 7187 | 0 | 2 | 530586
BAY | OAKPORT | 0 | 2.0982 | 0 | 0.03064 | 0 | 68.5 | 0 | 740334 | 0 | 10811 | 0 | 1 | 352839
CENTRAL COAST | CONCORD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 332840
CENTRAL COAST | CUPERTINO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 654987
CENTRAL COAST | HAYWARD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 396173
CENTRAL COAST | MOSS LANDING | 0 | 0.6979 | 0 | 0.017475 | 0 | 39.9 | 0 | 210882 | 0 | 5280 | 0 | 2 | 302146
CENTRAL COAST | SAN CARLOS | 0 | 0.1714 | 0 | 0.007141 | 0 | 24 | 0 | 34608 | 0 | 1442 | 0 | 1 | 201944
NORTH COAST | COTTONWOOD | 0 | 0.0175 | 0 | 0.001746 | 0 | 10 | 0 | 1390 | 0 | 139 | 0 | 1 | 79592
NORTH COAST | EUREKA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72522
NORTH COAST | MCMAUDE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 475735
NORTH COAST | TABLE MTN | 0 | 0.971 | 0 | 0.008054 | 0 | 120.6 | 0 | 169516 | 0 | 1406 | 0 | 1 | 174570
NORTH COAST | UKIAH | 7.2048 | 7.2048 | 0.0877 | 0.0877 | 82.2 | 82.2 | 588707 | 588707 | 7166 | 7166 | 5 | 5 | 81710
NORTH VALLEY | DEL MAR | 0.9855 | 4.482 | 0.021394 | 0.060868 | 46.1 | 73.6 | 264577 | 1203327 | 5744 | 16342 | 2 | 5 | 268482
NORTH VALLEY | MERCED | 0 | 3.0764 | 0 | 0.008277 | 0 | 371.7 | 0 | 618067 | 0 | 1663 | 0 | 1 | 200907
NORTH VALLEY | STOCKTON | 0 | 1.635 | 0 | 0.005842 | 0 | 279.9 | 0 | 472954 | 0 | 1690 | 0 | 1 | 289261
NORTH VALLEY | TESLA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 77712
NORTH VALLEY | VACA DIXON | 0 | 0.5411 | 0 | 0.006291 | 0 | 86 | 0 | 124184 | 0 | 1444 | 0 | 1 | 229521
SOUTH VALLEY | BAKERSFIELD | 0 | 3.7003 | 0 | 0.023512 | 0 | 157.4 | 0 | 1002010 | 0 | 6367 | 0 | 1 | 270794
SOUTH VALLEY | FRESNO | 0 | 2.0932 | 0 | 0.016089 | 0 | 130.1 | 0 | 928923 | 0 | 7140 | 0 | 3 | 443787
SOUTH VALLEY | GATES | 0 | 0.289 | 0 | 0.002964 | 0 | 97.5 | 0 | 11114 | 0 | 114 | 0 | 3 | 38457
SOUTH VALLEY | PISMO BEACH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 212342

## Result Data
2023 RELIABILITY INDICES BY DIVISION, AREA & SYSTEM - YTD: | [5 empty] | June
(Excluding 2.5b ME Days, ISO, & Planned Outages)
SOMs (Metrics 2.1 and 2.2)
| AIDI |  | AIFI |  | CAIDI |  | CMIN |  | CESO |  | SO |  |  | YTD December (Unplanned)
Div/Area/System | Monthly Actual | YTD Actual | Monthly Actual | YTD Actual | Monthly Actual | YTD Actual | Monthly | YTD | Monthly | YTD | Monthly | YTD | Total Customers | SAIDI (Hours) | SAIFI
SYSTEM | 15.9 | 97.3 | 0.123 | 0.595 | 129.5 | 163.6 | 90749357 | 556000321 | 700840 | 3397811 | 2570 | 17317 | 5713342 | 1.6217 | 0.595
[5 empty] | 129.4866 | 163.6349 | 15.8838 | 97.3161
TRANSMISSION | 1.8 | 5.5 | 0.022 | 0.057 | 82.6 | 96.4 | 10176899 | 31264201 | 123256 | 324226 | 30 | 141 | 5713342
Central Area | 0.3 | 1 | 0.007 | 0.016 | 48.3 | 64 | 1144761 | 3345154 | 23680 | 52274 | 8 | 13 | 3317434
North Area | 6.6 | 21 | 0.019 | 0.149 | 358.1 | 141 | 6005284 | 18955405 | 16772 | 134405 | 9 | 82 | 903716
South Area | 2 | 6 | 0.055 | 0.092 | 36.6 | 65.2 | 3026854 | 8963642 | 82804 | 137547 | 13 | 46 | 1492192
SUBSTATION | 0.14935 | 1.1946 | 0.0022596 | 0.011935 | 66.0948 | 100.0902 | 853284 | 6825248 | 12910 | 68191 | 7 | 28 | 5713342
BAY AREA | 0 | 1.6522 | 0 | 0.020373 | 0 | 81.096 | 0 | 1459566 | 0 | 17998 | 0 | 3 | 883425
MARTIN | 0 | 1.3555 | 0 | 0.013545 | 0 | 100.1 | 0 | 719232 | 0 | 7187 | 0 | 2 | 530586
OAKPORT | 0 | 2.0982 | 0 | 0.03064 | 0 | 68.5 | 0 | 740334 | 0 | 10811 | 0 | 1 | 352839
NORTH COAST AREA | 0.66586 | 0.85917 | 0.0081052 | 0.0098526 | 82.1528 | 87.2016 | 588707 | 759613 | 7166 | 8711 | 5 | 7 | 884129
COTTONWOOD | 0 | 0.0175 | 0 | 0.001746 | 0 | 10 | 0 | 1390 | 0 | 139 | 0 | 1 | 79592
EUREKA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72522
MCMAUDE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 475735
TABLE MTN | 0 | 0.971 | 0 | 0.008054 | 0 | 120.6 | 0 | 169516 | 0 | 1406 | 0 | 1 | 174570
UKIAH | 7.2048 | 7.2048 | 0.0877 | 0.0877 | 82.2 | 82.2 | 588707 | 588707 | 7166 | 7166 | 5 | 5 | 81710
NORTH VALLEY AREA | 0.24822 | 2.269 | 0.005389 | 0.019832 | 46.0615 | 114.4109 | 264577 | 2418532 | 5744 | 21139 | 2 | 8 | 1065883
DEL MAR | 0.9855 | 4.482 | 0.021394 | 0.060868 | 46.1 | 73.6 | 264577 | 1203327 | 5744 | 16342 | 2 | 5 | 268482
MERCED | 0 | 3.0764 | 0 | 0.008277 | 0 | 371.7 | 0 | 618067 | 0 | 1663 | 0 | 1 | 200907
STOCKTON | 0 | 1.635 | 0 | 0.005842 | 0 | 279.9 | 0 | 472954 | 0 | 1690 | 0 | 1 | 289261
TESLA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 77712
VACA DIXON | 0 | 0.5411 | 0 | 0.006291 | 0 | 86 | 0 | 124184 | 0 | 1444 | 0 | 1 | 229521
CENTRAL COAST AREA | 0 | 0.13002 | 0 | 0.0035602 | 0 | 36.5204 | 0 | 245490 | 0 | 6722 | 0 | 3 | 1888090
CONCORD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 332840
SAN CARLOS | 0 | 0.1714 | 0 | 0.007141 | 0 | 24 | 0 | 34608 | 0 | 1442 | 0 | 1 | 201944
CUPERTINO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 654987
HAYWARD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 396173
MOSS LANDING | 0 | 0.6979 | 0 | 0.017475 | 0 | 39.9 | 0 | 210882 | 0 | 5280 | 0 | 2 | 302146
SOUTH VALLEY AREA | 0 | 2.0117 | 0 | 0.014109 | 0 | 142.5774 | 0 | 1942047 | 0 | 13621 | 0 | 7 | 965380
BAKERSFIELD | 0 | 3.7003 | 0 | 0.023512 | 0 | 157.4 | 0 | 1002010 | 0 | 6367 | 0 | 1 | 270794
FRESNO | 0 | 2.0932 | 0 | 0.016089 | 0 | 130.1 | 0 | 928923 | 0 | 7140 | 0 | 3 | 443787
GATES | 0 | 0.289 | 0 | 0.002964 | 0 | 97.5 | 0 | 11114 | 0 | 114 | 0 | 3 | 38457
PISMO BEACH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 212342
DISTRIBUTION TOTAL | 13.9 | 90.6 | 0.099 | 0.525 | 141.1 | 172.4 | 79442319 | 517608871 | 562887 | 3002210 | 2532 | 17146 | 5713342
CENTRAL COAST | 22.5 | 185.8 | 0.13 | 0.775 | 173 | 239.7 | 6723277 | 55601946 | 38852 | 231999 | 211 | 1533 | 299223
DE ANZA | 9.8 | 101.9 | 0.117 | 0.535 | 84 | 190.4 | 2238450 | 23217889 | 26655 | 121951 | 67 | 610 | 227902
DIABLO | 18.6 | 57.6 | 0.17 | 0.472 | 109.3 | 122.1 | 6151438 | 19070141 | 56296 | 156161 | 85 | 481 | 331200
EAST BAY | 7.2 | 52.3 | 0.053 | 0.382 | 137.4 | 136.8 | 2772937 | 20108333 | 20188 | 146939 | 66 | 436 | 384251
FRESNO | 7.3 | 78 | 0.054 | 0.526 | 136 | 148.4 | 3345232 | 35597105 | 24602 | 239892 | 238 | 1769 | 456397
HUMBOLDT | 32 | 313.1 | 0.132 | 1.048 | 241.7 | 298.8 | 4940222 | 48294465 | 20439 | 161603 | 107 | 1173 | 154260
KERN | 13.8 | 57.9 | 0.102 | 0.471 | 135.9 | 123 | 3762023 | 15732909 | 27689 | 127873 | 225 | 911 | 271651
LOS PADRES | 22.6 | 80.3 | 0.118 | 0.516 | 192.3 | 155.5 | 4850606 | 17198464 | 25223 | 110573 | 108 | 625 | 214263
MISSION | 9.2 | 36.8 | 0.086 | 0.36 | 106.6 | 102.3 | 3817959 | 15269579 | 35819 | 149335 | 64 | 407 | 414721
NORTH BAY | 16.1 | 64.8 | 0.117 | 0.471 | 137.9 | 137.5 | 4049815 | 16277832 | 29368 | 118357 | 103 | 664 | 251147
NORTH VALLEY | 22.8 | 117 | 0.129 | 0.661 | 176.2 | 177 | 4758741 | 24419241 | 27011 | 137986 | 240 | 1164 | 208653
PENINSULA | 4.7 | 144.1 | 0.038 | 0.702 | 122.8 | 205.1 | 1464197 | 45135081 | 11919 | 220063 | 77 | 676 | 313258
SACRAMENTO | 18 | 79.3 | 0.109 | 0.523 | 165.6 | 151.5 | 5520242 | 24339546 | 33327 | 160647 | 167 | 1278 | 306924
SAN FRANCISCO | 2.2 | 53 | 0.038 | 0.396 | 58.1 | 133.8 | 927714 | 22185883 | 15957 | 165783 | 15 | 201 | 418668
SAN JOSE | 6.9 | 45.1 | 0.066 | 0.35 | 105.5 | 129.1 | 3024554 | 19717556 | 28660 | 152748 | 114 | 612 | 436897
SIERRA | 22.2 | 146.8 | 0.149 | 0.678 | 149.2 | 216.6 | 5184788 | 34343996 | 34757 | 158573 | 152 | 1179 | 233879
SONOMA | 16.9 | 51.7 | 0.128 | 0.363 | 132.4 | 142.5 | 3893470 | 11902472 | 29408 | 83550 | 102 | 604 | 230144
STOCKTON | 21.1 | 105.3 | 0.138 | 0.598 | 153.4 | 176 | 6524636 | 32554028 | 42534 | 184945 | 173 | 1211 | 309241
YOSEMITE | 21.9 | 146.2 | 0.136 | 0.691 | 160.7 | 211.5 | 5492018 | 36642405 | 34183 | 173232 | 218 | 1612 | 250658
Bay Area Region | 10 | 56 | 0.088 | 0.424 | 114.1 | 132.2 | 13901904 | 77642189 | 121809 | 587240 | 269 | 1782 | 1385266
Central Coast Region | 11.6 | 92.4 | 0.088 | 0.518 | 132.3 | 178.5 | 22119043 | 176140515 | 167128 | 986669 | 641 | 4463 | 1906264
Central Valley Region | 14.8 | 93.6 | 0.1 | 0.564 | 148.2 | 166 | 19123909 | 120526447 | 129008 | 725942 | 854 | 5503 | 1287947
Northern Region | 21.4 | 126.4 | 0.128 | 0.619 | 167.6 | 204 | 24297463 | 143299720 | 144942 | 702359 | 768 | 5398 | 1133860
DCC-System | 13.9047 | 90.5966 | 0.098522 | 0.52547 | 141.1337 | 172.4093 | 79442319 | 517608871 | 562887 | 3002210 | 2532 | 17146 | 5713337
North DCC | 21.429 | 126.3822 | 0.12783 | 0.61944 | 167.6358 | 204.0263 | 24297463 | 143299720 | 144942 | 702359 | 768 | 5398 | 1133860
AOR 1 | 22.9193 | 142.678 | 0.1296 | 0.64604 | 176.8512 | 220.8498 | 13592433 | 84616178 | 76858 | 383139 | 449 | 2941 | 593057
North Valley | 22.807 | 117.0328 | 0.12945 | 0.66132 | 176.1779 | 176.969 | 4758741 | 24419241 | 27011 | 137986 | 240 | 1164 | 208653
Sonoma | 16.9175 | 51.7175 | 0.12778 | 0.36303 | 132.3949 | 142.4593 | 3893470 | 11902472 | 29408 | 83550 | 102 | 604 | 230144
Humboldt | 32.0253 | 313.0719 | 0.1325 | 1.0476 | 241.7057 | 298.8463 | 4940222 | 48294465 | 20439 | 161603 | 107 | 1173 | 154260
AOR 2 | 19.7947 | 108.5119 | 0.12589 | 0.59027 | 157.2327 | 183.8342 | 10705030 | 58683542 | 68084 | 319220 | 319 | 2457 | 540803
Sierra | 22.1687 | 146.8451 | 0.14861 | 0.67801 | 149.1725 | 216.5816 | 5184788 | 34343996 | 34757 | 158573 | 152 | 1179 | 233879
Sacramento | 17.9857 | 79.3015 | 0.10858 | 0.52341 | 165.6387 | 151.5095 | 5520242 | 24339546 | 33327 | 160647 | 167 | 1278 | 306924
Central DCC | 10.9435 | 77.1017 | 0.087782 | 0.47817 | 124.6671 | 161.2436 | 36020947 | 253782704 | 288937 | 1573909 | 910 | 6245 | 3291530
AOR 3 | 13.4225 | 57.3727 | 0.10951 | 0.43602 | 122.5692 | 131.5824 | 12974190 | 55456306 | 105852 | 421457 | 254 | 1581 | 966598
North Bay | 16.1253 | 64.814 | 0.11694 | 0.47127 | 137.8989 | 137.5316 | 4049815 | 16277832 | 29368 | 118357 | 103 | 664 | 251147
East Bay | 7.2165 | 52.3312 | 0.052539 | 0.3824 | 137.3557 | 136.8482 | 2772937 | 20108333 | 20188 | 146939 | 66 | 436 | 384251
Diablo | 18.5732 | 57.5789 | 0.16998 | 0.4715 | 109.2695 | 122.1185 | 6151438 | 19070141 | 56296 | 156161 | 85 | 481 | 331200
AOR 4 | 3.268 | 91.9778 | 0.038086 | 0.52717 | 85.8054 | 174.4763 | 2391911 | 67320964 | 27876 | 385846 | 92 | 877 | 731926
Peninsula | 4.6741 | 144.0828 | 0.038049 | 0.7025 | 122.8456 | 205.1007 | 1464197 | 45135081 | 11919 | 220063 | 77 | 676 | 313258
San Francisco | 2.2159 | 52.9916 | 0.038114 | 0.39598 | 58.1384 | 133.8248 | 927714 | 22185883 | 15957 | 165783 | 15 | 201 | 418668
AOR 5 | 8.412 | 53.9175 | 0.084421 | 0.3928 | 99.6441 | 137.265 | 9080963 | 58205024 | 91134 | 424034 | 245 | 1629 | 1079520
Mission | 9.2061 | 36.8189 | 0.086369 | 0.36009 | 106.5903 | 102.2505 | 3817959 | 15269579 | 35819 | 149335 | 64 | 407 | 414721
DeAnza | 9.822 | 101.8766 | 0.11696 | 0.5351 | 83.9786 | 190.387 | 2238450 | 23217889 | 26655 | 121951 | 67 | 610 | 227902
San Jose | 6.9228 | 45.1309 | 0.065599 | 0.34962 | 105.5322 | 129.0855 | 3024554 | 19717556 | 28660 | 152748 | 114 | 612 | 436897
South DCC | 14.8484 | 93.5803 | 0.10017 | 0.56364 | 148.2382 | 166.0277 | 19123909 | 120526447 | 129008 | 725942 | 854 | 5503 | 1287947
AOR 6 | 22.5398 | 141.7768 | 0.12478 | 0.66715 | 180.6302 | 212.5113 | 11573883 | 72800410 | 64075 | 342572 | 319 | 2158 | 513486
Central Coast | 22.4691 | 185.8211 | 0.12984 | 0.77534 | 173.0484 | 239.6646 | 6723277 | 55601946 | 38852 | 231999 | 211 | 1533 | 299223
Los Padres | 22.6386 | 80.268 | 0.11772 | 0.51606 | 192.3088 | 155.5395 | 4850606 | 17198464 | 25223 | 110573 | 108 | 625 | 214263
AOR 7 | 21.4622 | 123.5873 | 0.13702 | 0.63972 | 156.6361 | 193.1906 | 12016654 | 69196433 | 76717 | 358177 | 391 | 2823 | 559899
Stockton | 21.0989 | 105.2707 | 0.13754 | 0.59806 | 153.3981 | 176.02 | 6524636 | 32554028 | 42534 | 184945 | 173 | 1211 | 309241
Yosemite | 21.9104 | 146.1849 | 0.13637 | 0.69111 | 160.6652 | 211.5221 | 5492018 | 36642405 | 34183 | 173232 | 218 | 1612 | 250658
AOR 8 | 9.7621 | 70.5036 | 0.071824 | 0.50514 | 135.9174 | 139.5729 | 7107255 | 51330014 | 52291 | 367765 | 463 | 2680 | 728048
Fresno | 7.3297 | 77.9959 | 0.053905 | 0.52562 | 135.974 | 148.388 | 3345232 | 35597105 | 24602 | 239892 | 238 | 1769 | 456397
Kern | 13.8487 | 57.9159 | 0.10193 | 0.47073 | 135.8671 | 123.0354 | 3762023 | 15732909 | 27689 | 127873 | 225 | 911 | 271651