## Slide 1: Capping Local RA Requirements at System RA Requirements February 9, 2015
Karl Meeusen
California ISO

## Slide 2: ISO proposes to cap the local RA requirement at the system requirement
Addresses replacement requirement concerns for LSE’s with a local capacity requirement greater than a system capacity requirement
  Local resource on planned outages are also automatically considered system resources and maybe subject to replacement requirement for the outage
  The additional capacity offers limited additional local reliability benefits
Consistent with proposal made by ISO in the Reliability Services stakeholder initiative

## Slide 3: Benefits of the ISO proposal
Prevents other load serving entities from taking outages and leaning on the over-committed capacity
Due to ISO replacement rule, the LSE may be required to replace an outage resulting in the LSE’s total capacity in aggregate to be beyond the load serving entity’s peak demand and reserve margin requirement

## Slide 4: Local requirement capped at the system requirement in monthly and annual showings
Chart: RA MW
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Local RA requirement | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150
System RA requirement | 1000 | 1100 | 1422 | 1555 | 1632 | 1700 | 1800 | 2000 | 1765 | 1586 | 1456 | 1200