## Read Me
Introduction
The universe of measures for consideration in the potential study is collectively comprised of three elements- (i) Technologies; (ii) Whole Building Packages; and (iii) Interventions (i.e. Behavior, Retrocommissioning, and Operational Efficiency [BROs]). This database file includes a list of energy efficiency technologies for residential, commercial, industrial, agricultural, mining and street-lighting sectors. This database does not include "Whole Building Packages" or "Interventions (BROS)" as measures under those categories will be presented for stakeholder review and comments in subsequent workshops. This file includes two datasets of representative energy efficiency technologies for your review. These are: - The "Selected Technologies" worksheet, which presents technologies recommended for inclusion in the potential modeling effort. - The "Other Reviewed Technologies" worksheet, which includes technologies that were reviewed but not selected for further consideration. A number of data sources were reviewed to develop these two datasets. These primarily include the following: - Program data from CA utilities (program years 2014 - Q1 2016). - Emerging Technology Databases from CA IOUs and related research on these technologies. - Utility Workpapers. - Navigant's internal measures database. The "Selected Technologies" database includes technologies that provide significant savings by enduse, based on a review of CA utility program data. It also includes technologies with high savings potential from other utilities outside the state. In addition, the dataset includes "emerging technologies" that offer significant energy savings potential and for which sufficient data is available for characterization. The "Other Reviewed Technologies" database includes technologies that were reviewed, but not selected, primarily because savings opportunity from these measures are not significant. In addition, "emerging technologies" that are unlikely to offer significant future savings potential and/or for which sufficient information is not available for characterization are included in the "Other Reviewed Technologies" dataset.
Please note that this database presents only the following fields for technologies: a. Sector ("Residential", "Commercial", "Agriculture", "Industrial", "Mining", "Street Lighting") b. Fuel Type ("Electric", "Gas", or "Both") c. Enduse d. Technology Name Subsequent measure characterization steps will include information regarding technology type, saturation/densities, costs, lifetimes, and other relevant fields.
Guidelines for Review
Please review the list of technologies in the "Selected Technologies" worksheet and identify technologies (if any) that currently do not appear in the list, which you would like to be included from the "Other Reviewed Measures" dataset. Also identify technologies (if any) that you would like to be moved out of the "Selected Measures" dataset into the "Other Reviewed Measures" dataset. Also, please let us know if there are any technologies that are completely missing from either one of the two datasets, which you would like to be included for further characterization. A Column labeled as "Stakeholder Comments" (Column E) in both worksheets is avaialble for stakeholders to insert notes/comments and send back to the study team.
Note that this database is provided to stakeholders for review in advance of the August 29th meeting on Measure Selection. The meeting will discuss the measure selection process, the data sources used, and describe the next steps regarding measure characterization. We would like to discuss stakeholder comments during the meeting and also provide stakeholders with an additional week after the meeting for any follow-up comments that they might have on the database. Stakeholder comments will be taken into consideration for finalizing the list of selected technologies.

## Selected Technologies
Sector | Fuel | End Use Category | Technology Name | Stakeholder Comments
Residential | Electric | AppPlug | Advanced Power Strip
Residential | Electric | AppPlug | Audio Equipment
Residential | Electric | AppPlug | Blu-Ray and DVD Players
Residential | Electric | AppPlug | Gas Clothes Dryer (Fuel Switch)
Residential | Electric | AppPlug | Clothes Washer Replacement (Electric)
Residential | Electric | AppPlug | Freezer Recycle
Residential | Electric | AppPlug | Heat Pump Clothes Dryer
Residential | Electric | AppPlug | Variable Speed Pool Pump
Residential | Electric | AppPlug | Refrigerator Replacement
Residential | Electric | AppPlug | Refrigerator Recycle
Residential | Electric | AppPlug | Set Top Boxes
Residential | Electric | AppPlug | Television Replacement
Residential | Gas | AppPlug | Clothes Washer Replacement (Gas)
Residential | Both | BldgEnv | Ceiling/Roof Insulation
Residential | Both | BldgEnv | High Performance Windows
Residential | Both | BldgEnv | Wall Insulation
Residential | Both | BldgEnv | Weatherization
Residential | Both | HVAC | Duct Sealing
Residential | Both | HVAC | HVAC Controls Upgrade
Residential | Both | HVAC | Programmable Thermostat
Residential | Both | HVAC | Quality HVAC Installation
Residential | Both | HVAC | Smart Thermostat
Residential | Electric | HVAC | DC Ceiling Fan (Energy Star)
Residential | Electric | HVAC | Ductless Mini Split Heat Pump
Residential | Electric | HVAC | Ground Source Heat Pump
Residential | Electric | HVAC | HVAC Motor Replacement
Residential | Electric | HVAC | Refrigeration Charge Adjustment (RCA)
Residential | Electric | HVAC | Packaged/Split System AC
Residential | Electric | HVAC | Packaged/Split Heat Pump
Residential | Electric | HVAC | Room AC Replacement
Residential | Electric | HVAC | Variable Capacity Space Conditioning System
Residential | Electric | HVAC | Whole House Fan
Residential | Gas | HVAC | Gas Furnace
Residential | Electric | Lighting | Advanced Residential Lighting Controls
Residential | Electric | Lighting | CFL Fixture (Indoor)
Residential | Electric | Lighting | CFL Fixture (Outdoor)
Residential | Electric | Lighting | CFL Lamp (Basic - High Wattage - Indoor)
Residential | Electric | Lighting | CFL Lamp (Basic - High Wattage - Outdoor)
Residential | Electric | Lighting | CFL Lamp (Basic - Low Wattage - Indoor)
Residential | Electric | Lighting | CFL Lamp (Basic - Low Wattage - Outdoor)
Residential | Electric | Lighting | CFL Lamp (Reflector - Indoor)
Residential | Electric | Lighting | CFL Lamp (Reflector - Outdoor)
Residential | Electric | Lighting | CFL Lamp (Specialty - Indoor)
Residential | Electric | Lighting | LED Fixture (Indoor)
Residential | Electric | Lighting | LED Fixture (Outdoor)
Residential | Electric | Lighting | LED Lamp (Basic - High Wattage - Indoor)
Residential | Electric | Lighting | LED Lamp (Basic - High Wattage - Outdoor)
Residential | Electric | Lighting | LED Lamp (Basic - Low Wattage - Indoor)
Residential | Electric | Lighting | LED Lamp (Basic - Low Wattage - Outdoor)
Residential | Electric | Lighting | LED Lamp (Reflector - Indoor)
Residential | Electric | Lighting | LED Lamp (Reflector - Outdoor)
Residential | Electric | Lighting | LED Lamp (Specialty - Indoor)
Residential | Electric | Lighting | Occupancy Sensor
Residential | Electric | Water Heat | Drain Water Heat Recovery (Electric)
Residential | Electric | Water Heat | Electric Storage Water Heater Replacement
Residential | Electric | Water Heat | Faucet Aerators (Electric)
Residential | Electric | Water Heat | Heat Pump Water Heater
Residential | Electric | Water Heat | Low Flow Showerheads (Electric)
Residential | Electric | Water Heat | Gas Storage Water Heater (Fuel Switch from Electric to Gas)
Residential | Electric | Water Heat | Water Heating Controls (Electric)
Residential | Gas | Water Heat | Drain Water Heat Recovery (Gas)
Residential | Gas | Water Heat | Faucet Aerators (Gas)
Residential | Gas | Water Heat | Gas Storage Water Heater Replacement
Residential | Gas | Water Heat | Gas Tankless Water Heater Replacement
Residential | Gas | Water Heat | Low Flow Showerheads (Gas)
Residential | Gas | Water Heat | Water Heating Controls (Gas)
Commercial | Electric | AppPlug | Advanced Power Strip
Commercial | Electric | AppPlug | Variable Speed Pool Pump
Commercial | Electric | AppPlug | Freezer Replacement
Commercial | Electric | AppPlug | Ozone Laundry
Commercial | Electric | AppPlug | PC Power Management
Commercial | Electric | AppPlug | Refrigerator Replacement
Commercial | Electric | AppPlug | High Efficiency Servers
Commercial | Electric | AppPlug | Vending Machine Controls
Commercial | Electric | AppPlug | Zero & Thin Client - PC Virtualization
Commercial | Gas | AppPlug | Clothes Washer Replacement (Gas)
Commercial | Gas | AppPlug | Pool Heater Replacement
Commercial | Gas | AppPlug | Pool Cover
Commercial | Both | BldgEnv | Ceiling/Roof Insulation
Commercial | Both | BldgEnv | High Performance Windows
Commercial | Both | BldgEnv | Wall Insulation
Commercial | Both | BldgEnv | Window Film
Commercial | Electric | ComRefrig | ComRefrig - Add Doors to Open Display Cases
Commercial | Electric | ComRefrig | ComRefrig - Anti Sweat Heat Controls
Commercial | Electric | ComRefrig | ComRefrig - Automatic Door Closers
Commercial | Electric | ComRefrig | ComRefrig - Display Case Replacement
Commercial | Electric | ComRefrig | ComRefrig - EC Motors on Display Cases
Commercial | Electric | ComRefrig | ComRefrig - EC Motors on Walk-Ins
Commercial | Electric | ComRefrig | ComRefrig - LED Display Case Lighting
Commercial | Electric | ComRefrig | ComRefrig - Strip Curtains
Commercial | Electric | ComRefrig | ComRefrig - Floating Head Pressure Controls
Commercial | Electric | ComRefrig | ComRefrig - Compressor Replacement
Commercial | Electric | FoodServ | Hot Food Holding Cabinet
Commercial | Electric | FoodServ | Electric Steamer
Commercial | Electric | FoodServ | Demand Controlled Ventilation (DCV) Exhaust Hood
Commercial | Electric | FoodServ | Electric Convection Oven
Commercial | Gas | FoodServ | Gas Convection Oven
Commercial | Gas | FoodServ | Gas Fryer
Commercial | Gas | FoodServ | Gas Steamer
Commercial | Both | HVAC | Duct Insulation
Commercial | Both | HVAC | Constant Air Volume (CAV) to Variable Air Volume (VAV) Conversion
Commercial | Both | HVAC | HVAC Controls Upgrade
Commercial | Both | HVAC | HVAC Energy Management System
Commercial | Both | HVAC | Programmable Thermostat
Commercial | Both | HVAC | Smart Thermostat
Commercial | Electric | HVAC | Ductless Mini Split Heat Pump
Commercial | Electric | HVAC | Geothermal Heat Pump
Commercial | Electric | HVAC | Chiller Replacement
Commercial | Electric | HVAC | HVAC Coil Cleaning
Commercial | Electric | HVAC | Cooling Tower
Commercial | Electric | HVAC | Demand Controlled Ventilation (HVAC)
Commercial | Electric | HVAC | Economizer
Commercial | Electric | HVAC | HVAC Fan/Pump Variable Frequency Drive (VFD)
Commercial | Electric | HVAC | Refrigerant Charge Adjustment (RCA)
Commercial | Electric | HVAC | Dedicated Outdoor Air System (DOAS)
Commercial | Electric | HVAC | HVAC Motor Replacement
Commercial | Electric | HVAC | Variable Refrigerant Flow (VRF) Heat Pump
Commercial | Electric | HVAC | Packaged Rooftop/Split AC
Commercial | Electric | HVAC | Packaged Rooftop/Split Heat Pump
Commercial | Electric | HVAC | Packaged Terminal AC (PTAC) - Controls Upgrade
Commercial | Electric | HVAC | Packaged Terminal Air Conditioner (PTAC)
Commercial | Electric | HVAC | Water Source Heat Pump
Commercial | Gas | HVAC | Gas Boiler Replacement
Commercial | Gas | HVAC | Gas Furnace Replacement
Commercial | Gas | HVAC | HVAC Heat Recovery/Energy Recovery Ventilator (ERV)
Commercial | Electric | Lighting | Advanced Lighting Controls
Commercial | Electric | Lighting | CFL Fixture (Indoor)
Commercial | Electric | Lighting | CFL Fixture (Outdoor)
Commercial | Electric | Lighting | CFL Fixture w/ Integrated Occupancy Controls
Commercial | Electric | Lighting | CFL Lamp (Basic - High Wattage - Indoor)
Commercial | Electric | Lighting | CFL Lamp (Basic - High Wattage - Outdoor)
Commercial | Electric | Lighting | CFL Lamp (Basic - Low Wattage - Indoor)
Commercial | Electric | Lighting | CFL Lamp (Basic - Low Wattage - Outdoor)
Commercial | Electric | Lighting | CFL Lamp (Reflector - Indoor)
Commercial | Electric | Lighting | CFL Lamp (Specialty - Indoor)
Commercial | Electric | Lighting | Daylighting Controls
Commercial | Electric | Lighting | High Bay, High Output T5
Commercial | Electric | Lighting | High Bay, High Output T8
Commercial | Electric | Lighting | Interior Bi-level Stairwell Lighting
Commercial | Electric | Lighting | LED Troffer, Low Bay
Commercial | Electric | Lighting | LED Fixture (Indoor)
Commercial | Electric | Lighting | LED Fixture (Outdoor)
Commercial | Electric | Lighting | LED Lamp (Basic - High Wattage - Indoor)
Commercial | Electric | Lighting | LED Lamp (Basic - High Wattage - Outdoor)
Commercial | Electric | Lighting | LED Lamp (Basic - Low Wattage - Indoor)
Commercial | Electric | Lighting | LED Lamp (Basic - Low Wattage - Outdoor)
Commercial | Electric | Lighting | LED Lamp (Reflector - Indoor)
Commercial | Electric | Lighting | LED Lamp (Specialty - Indoor)
Commercial | Electric | Lighting | Occupancy Sensor
Commercial | Electric | Lighting | Linear Flourescent Delamping
Commercial | Electric | Lighting | Low Bay, Premium T8 Fixture (Indoor)
Commercial | Electric | Lighting | Low Bay, Std. Output T5 Fixture (Indoor)
Commercial | Electric | Lighting | Pulse Start Metal Halide (Indoor)
Commercial | Electric | Lighting | Pulse Start Metal Halide (Outdoor)
Commercial | Electric | Lighting | Low Bay, Standard T8 Fixture (Indoor)
Commercial | Electric | Process | Data Center Air Flow Management
Commercial | Electric | Process | Data Center CRAC upgrades
Commercial | Electric | Process | Data Center High Eff UPS
Commercial | Electric | Process | Data Center Server Virtualization
Commercial | Electric | Water Heat | Heat Pump Water Heater
Commercial | Electric | Water Heat | Water Heating Controls (Electric)
Commercial | Gas | Water Heat | Faucet Aerators (Gas)
Commercial | Gas | Water Heat | Storage Water Heater Replacement (Gas)
Commercial | Gas | Water Heat | Tankless Water Heater Replacement (Gas)
Commercial | Gas | Water Heat | Hot Water Boiler Replacement (Gas)
Commercial | Gas | Water Heat | Pipe Insulation
Commercial | Gas | Water Heat | Water Heating Controls (Gas)
Commercial | Both | WholeBldg | Building Automation Systems
Industrial | Electric | Other | Process Optimization Controls
Industrial | Electric | MachDr | Injection Molding
Industrial | Electric | MachDr | Process Vacuum Pump
Industrial | Electric | MachDr | Fan VFD
Industrial | Electric | MachDr | Pump VFD
Industrial | Electric | MachDr | Pump Sizing and Optimization
Industrial | Electric | MachDr | Air Compressor Leak Repair
Industrial | Electric | MachDr | Air Compressor Control and Optimization
Industrial | Electric | MachDr | VFD Air Compressor
Industrial | Electric | MachDr | Wastewater Aerators (in Industrial Facilities: Food, Paper, Lumber)
Industrial | Electric | MachDr | Premium Motors
Industrial | Electric | Lighting | Lighting Upgrades- LED
Industrial | Electric | Lighting | Lighting Upgrades- Other
Industrial | Electric | Lighting | Lighting Controls
Industrial | Electric | HVAC | HVAC System Controls
Industrial | Electric | HVAC | HVAC VFD Upgrade
Industrial | Electric | HVAC | HVAC Equipment Upgrade
Industrial | Electric | HVAC | HVAC Chiller Upgrade
Industrial | Gas | HVAC | HVAC Equipment Upgrade
Industrial | Electric | ProcRefrig | Refigeration System Optimization
Industrial | Gas | ProcHeat | Industrial Heat Recovery
Industrial | Gas | ProcHeat | High Effciency Furnace/ Oven
Industrial | Gas | ProcHeat | Boiler Controls and Optimization
Industrial | Gas | ProcHeat | Industrial Insulation
Agricultural | Electric | IrrigDr | Ag Pump Retrofit - Irrigation
Agricultural | Electric | MachDr | Ag Pump Retrofit - Other
Agricultural | Electric | IrrigDr | Ag Pump VFD - Irrigation
Agricultural | Electric | MachDr | Ag Pump VFD - Dairy
Agricultural | Electric | MachDr | Ag Pump VFD - Other
Agricultural | Electric | IrrigDr | Low Pressure Irrigation
Agricultural | Electric | ProcRefrig | Refrigeration Retrofit (Refrigeration System Optimization)
Agricultural | Electric | ProcRefrig | Process Refrigeration Retrofit - Dairy
Agricultural | Electric | ProcRefrig | Process Refrigeration Retrofit - Other
Agricultural | Electric | Lighting | Interior Lighting Upgrades - LED
Agricultural | Electric | Lighting | Interior Lighting Upgrades - Other
Agricultural | Electric | Lighting | Exterior Lighting Upgrades
Agricultural | Electric | Lighting | Lighting Controls
Agricultural | Gas | ProcHeat | Post-Harvesting Process Improvement
Agricultural | Gas | ProcHeat | Greenhouse Process Improvement (Heating Optimization)
Agricultural | Gas | ProcHeat | Greenhouse Process Improvement (Shell Improvements)
Agricultural | Electric | Other | Compressed Air Optimization
Agricultural | Electric | HVAC | HVAC Ventilation (Fan Ventilation Improvement)
Mining | Electric | Pumping | Oil - Production Stripper Well - Stripper Pump Motor Replacement
Mining | Electric | Pumping | Oil - Production Regular Well - Regular Pump Motor Replacement
Mining | Electric | Pumping | Oil - Production Stripper Well - Stripper Pump Motor Controls
Mining | Electric | Pumping | Oil - Production Regular Well - Regular Pump Motor Controls
Mining | Electric | Pumping | Oil - Production Stripper Well - Stripper Pump Motor Replacement and Controls
Mining | Electric | Pumping | Oil - Production Regular Well - Regular Pump Motor Replacement and Controls
Mining | Electric | Injection motor | Oil - Injection Well - Injecting Pump Efficient Motor
Mining | Electric | Injection motor | Oil - Injection Well - Injecting Pump VFD
Mining | Electric | Injection motor | Oil - Injection Well - Injecting Pump Efficient Motor and VFD
Mining | Gas | Boiler | Oil - Process Boiler - Efficient Steam Boiler
Mining | Gas | Boiler | Oil - Process Boiler - Steam Boiler Controls and Improvements
Streetlighting | Electric | Streets | Street Lighting - Baseline Streetlights with Advanced Controls
Streetlighting | Electric | Streets | Street Lighting - LED Streetlights
Streetlighting | Electric | Streets | Street Lighting - LED Streetlights with Advanced Controls
Streetlighting | Electric | Streets | Street Lighting - Induction Streetlights
Streetlighting | Electric | Streets | Street Lighting - Induction Streetlights with Advanced Controls
Streetlighting | Electric | Signs | Sign Lighting - LED Street Sign Lights
Streetlighting | Electric | Signs | Sign Lighting - Induction Street Sign Lights
Streetlighting | Electric | TrafficLights | Traffic Lighting - Advanced LED Traffic Lights
Note on E1: Navigant: Please provide your comments in this column

## Other Reviewed Technologies
Sector | Fuel | End Use Category | Technology Name | Stakeholder Comments
Residential | Electric | AppPlug | Convection Oven (Electric)
Residential | Electric | AppPlug | Desktop PC - ENERGY STAR
Residential | Electric | AppPlug | Dishwasher Replacement (Electric)
Residential | Electric | AppPlug | Desktop Computer Monitor
Residential | Electric | AppPlug | Freezer
Residential | Electric | AppPlug | Induction Cooking
Residential | Electric | AppPlug | Laptop - ENERGY STAR
Residential | Electric | AppPlug | Pool Heater - Electric
Residential | Electric | AppPlug | Power Supplies - 80 Plus
Residential | Gas | AppPlug | Convection Oven (Gas)
Residential | Gas | AppPlug | Clothes Dryer (Gas)
Residential | Gas | AppPlug | Dishwasher Replacement (Gas)
Residential | Gas | AppPlug | Gas Range
Residential | Gas | AppPlug | Pool Heater
Residential | Both | BldgEnv | Attic Duct Insulation
Residential | Both | BldgEnv | Cool Roof
Residential | Both | BldgEnv | Crawlspace Duct Insulation
Residential | Both | BldgEnv | Floor Insulation
Residential | Both | BldgEnv | Heat Curtain
Residential | Electric | HVAC | Furnace
Residential | Electric | HVAC | Gas Fireplace (Fuel Switch from Electric to Gas)
Residential | Electric | HVAC | Direct Evaporative Cooler
Residential | Electric | HVAC | Air Filter Alarm
Residential | Electric | HVAC | Air Filter Replacement
Residential | Electric | HVAC | Coil Cleaning
Residential | Electric | HVAC | Electronically Commutated Motor (ECM)
Residential | Electric | HVAC | Evaporative Condenser
Residential | Electric | HVAC | Variable Frequency Drive (VFD) on HVAC Fan
Residential | Electric | HVAC | Variable Frequency Drive (VFD) on HVAC Pump
Residential | Electric | HVAC | Integrated Space & Water Heat
Residential | Gas | HVAC | Boiler
Residential | Gas | HVAC | Gas Furnace Tune Up
Residential | Gas | HVAC | Air Filter Alarm
Residential | Gas | HVAC | Air Filter Replacement
Residential | Electric | Lighting | HID Lighting (Outdoor)
Residential | Electric | Lighting | High Bay Fluorescent (Indoor)
Residential | Electric | Lighting | LED Exit Sign (Indoor)
Residential | Electric | Lighting | LED Night Light (Indoor)
Residential | Electric | Lighting | LED Holiday Lights
Residential | Electric | Lighting | Lighting Control (Outdoor)- Photocell
Residential | Electric | Lighting | Linear Fluorescent (Indoor)
Residential | Electric | Lighting | Linear Fluorescent Delamping (Indoor)
Residential | Electric | Water Heat | Electric Tankless Water Heater
Residential | Electric | Water Heat | Pipe Insulation
Residential | Electric | Water Heat | Solar Water Heater
Residential | Electric | Water Heat | Water Heater Jacket
Residential | Electric | Water Heat | Water Heater Temperature Setback
Residential | Gas | Water Heat | Pipe Insulation
Residential | Gas | Water Heat | Solar Water Heater
Residential | Gas | Water Heat | Water Heater Jacket
Residential | Gas | Water Heat | Water Heater Temperature Setback
Residential | Gas | Water Heat | Gas Water Heating Boiler Replacement
Commercial | Electric | AppPlug | Clothes Washer
Commercial | Electric | AppPlug | Desktop Computer
Commercial | Electric | AppPlug | Dryer- High Efficiency
Commercial | Electric | AppPlug | Electric Pool Heater
Commercial | Electric | AppPlug | Freezer Recycle
Commercial | Electric | AppPlug | Pool Cover
Commercial | Electric | AppPlug | Printer Copier Multifunction
Commercial | Electric | AppPlug | Refrigerator Recycle
Commercial | Electric | AppPlug | Solar Powered Commercial DC Pool Pump
Commercial | Electric | ComRefrig | ComRefrig - Coil Cleaning
Commercial | Electric | ComRefrig | ComRefrig - Condenser Variable Frequency Drive (VFD)
Commercial | Electric | ComRefrig | ComRefrig - Evaporator Fan Controls
Commercial | Electric | ComRefrig | ComRefrig - Energy Management System
Commercial | Electric | ComRefrig | ComRefrig - Evaporator Variable Frequency Drive (VFD)
Commercial | Electric | ComRefrig | ComRefrig - Ice Machine
Commercial | Electric | ComRefrig | ComRefrig - Condenser Replacement
Commercial | Electric | ComRefrig | ComRefrig - Demand Defrost Controls for Walk-in Feezers
Commercial | Electric | ComRefrig | ComRefrig - Night Cover
Commercial | Electric | FoodServ | Commercial Dishwasher- ENERGY STAR
Commercial | Electric | FoodServ | Electric Fryer
Commercial | Electric | FoodServ | Electric Griddle
Commercial | Electric | FoodServ | Commercial Hand Wrap Machines
Commercial | Gas | FoodServ | Commercial Dishwasher
Commercial | Gas | FoodServ | Finned Bottom Stock Pot- Gas Range
Commercial | Gas | FoodServ | Gas Griddle
Commercial | Both | HVAC | Duct Sealing
Commercial | Both | HVAC | Dynamic Energy and Demand Optimization
Commercial | Electric | HVAC | Economizer Repair
Commercial | Electric | HVAC | Direct Evaporative Cooler
Commercial | Electric | HVAC | Ventilation Fan Upgrade
Commercial | Electric | HVAC | Advanced Indirect Evaporative Technologies
Commercial | Electric | HVAC | Air Filter Replacement
Commercial | Electric | HVAC | Chilled and hot water loop reset
Commercial | Electric | HVAC | HVAC Compressor Variable Frequency Drive (VFD)
Commercial | Electric | HVAC | Evaporative Condenser
Commercial | Electric | HVAC | HVAC Pump Replacement
Commercial | Electric | HVAC | HVAC Pump System Optimization
Commercial | Gas | HVAC | Gas Boiler Tune Up
Commercial | Electric | Lighting | Ceramic Metal Halide (Outdoor)
Commercial | Electric | Lighting | Cold Cathode Lamp (Indoor)
Commercial | Electric | Lighting | Cold Cathode Lamp (Outdoor)
Commercial | Electric | Lighting | Induction Fixture (Outdoor)
Commercial | Electric | Lighting | Induction Lamps (Indoor)
Commercial | Electric | Lighting | LED Exit Sign
Commercial | Electric | Lighting | LED Signage (Indoor)
Commercial | Electric | Lighting | LED Signage (Outdoor)
Commercial | Electric | Lighting | Lighting Controls Hi-Lo (Indoor)
Commercial | Electric | Lighting | Photocell Outdoor Control
Commercial | Electric | Water Heat | Electric Storage Water Heater
Commercial | Electric | Water Heat | Electric Tankless Water Heater
Commercial | Electric | Water Heat | Faucet Aerators
Commercial | Electric | Water Heat | Hot Water Boiler Replacement (Electric)
Commercial | Electric | Water Heat | Low Flow Showerheads
Commercial | Electric | Water Heat | Pipe Insulation
Commercial | Electric | Water Heat | Recirculation Demand Controls for Central Domestic Hot Water (CDHW)
Commercial | Electric | Water Heat | Tank Insulation
Commercial | Electric | Water Heat | Water Heating- High Efficiency Pumps
Commercial | Gas | Water Heat | Low Flow Showerheads
Commercial | Gas | Water Heat | Low-Flow Pre-Rinse Spray Valves
Commercial | Gas | Water Heat | Recirculation Demand Controls for Central Domestic Hot Water (CDHW)
Commercial | Gas | Water Heat | Refrigeration Waste Heat Recovery/Compressor Heat Recovery
Commercial | Gas | Water Heat | Tank Insulation
Industrial | Electric | HVAC | HVAC Controls Fan
Industrial | Electric | HVAC | HVAC Pump Replacement
Industrial | Electric | HVAC | HVAC Controls Reset
Industrial | Electric | HVAC | HVAC Economizer Repair
Industrial | Electric | HVAC | HVAC Economizer Addition
Industrial | Electric | HVAC | HVAC Cooling Tower
Industrial | Electric | HVAC | HVAC Controls Thermostat
Industrial | Electric | HVAC | Building Envelope Window Film
Industrial | Electric | HVAC | HVAC RCA
Industrial | Electric | HVAC | HVAC Evap Cooler
Industrial | Electric | HVAC | HVAC Controls Fume Hood
Industrial | Electric | HVAC | HVAC Coil Cleaning
Industrial | Electric | HVAC | HVAC Fan Repair
Industrial | Electric | HVAC | HVAC Air Filter Replacement
Industrial | Electric | HVAC | HVAC DCV
Industrial | Electric | HVAC | HVAC VRF/Mini Split
Industrial | Electric | HVAC | HVAC Motor Replacement
Industrial | Electric | HVAC | HVAC Compressor Replacement
Industrial | Electric | HVAC | Building Envelope New Windows
Industrial | Electric | HVAC | HVAC Duct Sealing
Industrial | Electric | HVAC | HVAC PTAC-PTHP
Industrial | Electric | HVAC | HVAC Compressor VFD
Industrial | Electric | HVAC | HVAC Maintenance
Industrial | Electric | HVAC | Building Envelope Ceiling-Roof Insulation
Industrial | Electric | HVAC | Immersion Cooling of IT Servers
Industrial | Gas | HVAC | HVAC Boiler Stack Economizer
Industrial | Gas | HVAC | HVAC Furnace
Industrial | Electric | Indoor Lighting | Lighting Indoor Controls Wall Or Ceiling Mounted Occupancy Sensor
Industrial | Electric | Indoor Lighting | Lighting Indoor Fixture Integrated Occupancy Sensor
Industrial | Electric | Indoor Lighting | Lighting Indoor Linear Fluorescent Delamping
Industrial | Electric | Indoor Lighting | Lighting Indoor LED Lamp
Industrial | Electric | Indoor Lighting | Retrocommissioning Lighting
Industrial | Electric | Indoor Lighting | Lighting Indoor Controls Daylighting
Industrial | Electric | Indoor Lighting | Lighting Indoor HID
Industrial | Electric | Indoor Lighting | Lighting Indoor LED Reflector Lamp
Industrial | Electric | Indoor Lighting | Lighting Indoor Induction
Industrial | Electric | Indoor Lighting | Lighting Indoor CFL > 30 Watts
Industrial | Electric | Indoor Lighting | Lighting Indoor CFL Basic
Industrial | Electric | Indoor Lighting | Lighting Indoor CFL Reflector
Industrial | Electric | Indoor Lighting | Lighting Indoor CFL Fixture
Industrial | Electric | Indoor Lighting | Lighting Indoor LED Signage
Industrial | Electric | Indoor Lighting | Lighting Indoor LED Exit Sign
Industrial | Electric | Other | Permanent Magnet AC (PMAC) Motors
Industrial | Electric | Other | VFD for Permanent Magnet AC (PMAC) Motors
Industrial | Electric | Outdoor Lighting | Lighting Outdoor HID
Industrial | Electric | Outdoor Lighting | Lighting Outdoor LED Other
Industrial | Electric | Outdoor Lighting | Lighting Outdoor Linear Fluorescent
Industrial | Electric | Outdoor Lighting | Lighting Outdoor Induction
Industrial | Electric | Outdoor Lighting | Lighting Outdoor CFL Fixture
Industrial | Electric | Outdoor Lighting | Lighting Outdoor Controls Photocell
Industrial | Both | Process | Process Wastewater Control
Industrial | Electric | Process | Process Water Supply Pump
Industrial | Electric | Process | Process Wastewater VFD
Industrial | Electric | Process | Process Water Supply VFD
Industrial | Electric | Process | Pipe Insulation Cold Application
Industrial | Electric | Process | Process Cooling Controls
Industrial | Electric | Process | Process Fan
Industrial | Electric | Process | Process Wastewater Pump
Industrial | Electric | Process | Process Computing Operations Server Virtualization
Industrial | Electric | Process | Tank Insulation Cold Application
Industrial | Electric | Process | Process Ozone Laundry
Industrial | Electric | Process | Wastewater Dissolved Oxygen Sensor
Industrial | Gas | Process | Process Boiler Condensate Heat Recovery
Industrial | Gas | Process | Process Boiler Burner Upgrade
Industrial | Electric | Process/Other | Zero Loss Compressed Air Drains
Industrial | Electric | Pumps | Low Pressure Drop Filtration for Oil/Water Separation
Industrial | Electric | Pumps | Water Leak Detection and Control
Industrial | Electric | Refrigeration | Refrigeration Controls Floating Head Pressure
Industrial | Electric | Refrigeration | Refrigeration Compressor
Industrial | Electric | Refrigeration | Refrigeration EMS
Industrial | Electric | Refrigeration | Refrigeration Controls Floating Suction Pressure
Industrial | Electric | Refrigeration | Refrigeration Compressor VFD
Industrial | Electric | Refrigeration | Refrigeration Condenser VFD
Industrial | Electric | Refrigeration | Refrigeration Door Closer
Industrial | Electric | Refrigeration | Refrigeration Strip Curtain
Industrial | Electric | Refrigeration | Refrigeration Controls ASH
Industrial | Electric | Refrigeration | Refrigeration Evaporator EC Motors
Industrial | Electric | Refrigeration | Refrigeration Coil Cleaning
Industrial | Electric | Refrigeration | Electronic Refrigerant Injection Control
Industrial | Electric | Refrigeration | Microchannel Heat Exchange
Industrial | Electric | Refrigeration | ULT Monitoring (Ultra Low-Temp Freezers)
Industrial | Gas | Water Heating | Water Heating Boiler
Industrial | Gas | Water Heating | Water Heating Storage Water Heater
Industrial | Gas | Water Heating | Water Heating Tankless Water Heater
Industrial | Electric | Whole Building | Survey Nonresidential Onsite
Industrial | Electric | Whole Building | Survey Nonresidential Online
Industrial | Electric | Whole Building | Whole Building RNC
Industrial | Electric | Whole Building | Whole Building Retrofit
Industrial | Electric | Lighting | Electrodeless HID in Warehouse Applications
Agricultural | Electric | HVAC | HVAC Controls Other
Agricultural | Electric | HVAC | HVAC Chiller Water Cooled
Agricultural | Electric | HVAC | Building Envelope Insulation Other
Agricultural | Electric | HVAC | HVAC Evap Cooler
Agricultural | Electric | HVAC | HVAC Rooftop Or Split System
Agricultural | Electric | HVAC | HVAC Economizer Addition
Agricultural | Electric | HVAC | HVAC Controls Fume Hood
Agricultural | Electric | HVAC | Retrocommissioning HVAC
Agricultural | Electric | HVAC | HVAC Chiller Air Cooled
Agricultural | Electric | HVAC | HVAC VRF/Mini Split
Agricultural | Electric | HVAC | Building Envelope Window Film
Agricultural | Electric | HVAC | HVAC Maintenance
Agricultural | Electric | Process | Process Wastewater Aerator
Agricultural | Electric | Process | Retrocommissioning Process
Agricultural | Gas | Process | Pipe Insulation Hot Application
Agricultural | Gas | Process | Steam Trap Hp
Agricultural | Electric | Refrigeration | Refrigeration Case Door
Agricultural | Electric | Refrigeration | Refrigeration Door Closer
Agricultural | Electric | Refrigeration | Appliance Refrigerator
Agricultural | Electric | HVAC | Agricultural Ventilation Fans
Agricultural | Electric | Other | Closed Loop Irrigation Management
Agricultural | Electric | Other | CHR Unit - Electric and Gas
Agricultural | Electric | Process | Conductive Cooling System for Dairy Cows
Agricultural | Electric | Process | Milk Cooling Scroll Compressor
Agricultural | Electric | Pumps | Ag Water Center - Soil Moisture Sensors
Agricultural | Electric | Pumps | Agricultural Milk Transfer Pump VSD
Agricultural | Electric | Pumps | Agricultural Pump System Overhaul for Pumps Up To 25 HP
Agricultural | Electric | Pumps | Farm Sprinkler to Micro Irrigation Conversion
Agricultural | Electric | Pumps | Low Pressure Sprinkler Nozzles
Agricultural | Electric | Pumps | Milk Pump VFD
Note on E1: Navigant: Please provide your comments in this column