## Read Me
Introduction
The universe of measures for consideration in the potential study is collectively comprised of three elements- (i) Technologies; (ii) Whole Building Packages; and (iii) Interventions (i.e. Behavior, Retrocommissioning, and Operational Efficiency [BROs]). This database file includes a list of energy efficiency technologies for residential, commercial, industrial, agricultural, mining and street-lighting sectors. This database does not include "Whole Building Packages" or "Interventions (BROS)" as measures under those categories will be presented for stakeholder review and comments in subsequent workshops. This file includes two datasets of representative energy efficiency technologies for your review. These are: - The "Selected Technologies" worksheet, which presents technologies recommended for inclusion in the potential modeling effort. - The "Other Reviewed Technologies" worksheet, which includes technologies that were reviewed but not selected for further consideration. A number of data sources were reviewed to develop these two datasets. These primarily include the following: - Program data from CA utilities (program years 2014 - Q1 2016). - Emerging Technology Databases from CA IOUs and related research on these technologies. - Utility Workpapers. - Navigant's internal measures database. The "Selected Technologies" database includes technologies that provide significant savings by enduse, based on a review of CA utility program data. It also includes technologies with high savings potential from other utilities outside the state. In addition, the dataset includes "emerging technologies" that offer significant energy savings potential and for which sufficient data is available for characterization. The "Other Reviewed Technologies" database includes technologies that were reviewed, but not selected, primarily because savings opportunity from these measures are not significant. In addition, "emerging technologies" that are unlikely to offer significant future savings potential and/or for which sufficient information is not available for characterization are included in the "Other Reviewed Technologies" dataset.
Please note that this database presents only the following fields for technologies: a. Sector ("Residential", "Commercial", "Agriculture", "Industrial", "Mining", "Street Lighting") b. Fuel Type ("Electric", "Gas", or "Both") c. Enduse d. Technology Name Subsequent measure characterization steps will include information regarding technology type, saturation/densities, costs, lifetimes, and other relevant fields.
Guidelines for Review
Please review the list of technologies in the "Selected Technologies" worksheet and identify technologies (if any) that currently do not appear in the list, which you would like to be included from the "Other Reviewed Measures" dataset. Also identify technologies (if any) that you would like to be moved out of the "Selected Measures" dataset into the "Other Reviewed Measures" dataset. Also, please let us know if there are any technologies that are completely missing from either one of the two datasets, which you would like to be included for further characterization. A Column labeled as "Stakeholder Comments" (Column E) in both worksheets is avaialble for stakeholders to insert notes/comments and send back to the study team.
Note that this database is provided to stakeholders for review in advance of the August 29th meeting on Measure Selection. The meeting will discuss the measure selection process, the data sources used, and describe the next steps regarding measure characterization. We would like to discuss stakeholder comments during the meeting and also provide stakeholders with an additional week after the meeting for any follow-up comments that they might have on the database. Stakeholder comments will be taken into consideration for finalizing the list of selected technologies.

## Selected Technologies
Sector | Fuel | End Use Category | Technology Name | Stakeholder Comments
Agricultural | Electric | HVAC | HVAC Ventilation (Fan Ventilation Improvement)
Agricultural | Electric | IrrigDr | Ag Pump Retrofit - Irrigation
Agricultural | Electric | IrrigDr | Ag Pump VFD - Irrigation
Agricultural | Electric | IrrigDr | Low Pressure Irrigation
Agricultural | Electric | Lighting | Exterior Lighting Upgrades | too ambiguous. Better definition please
Agricultural New | Electric | Lighting | Hort. Interior LED grow lighting | added new lighting measure. SCE pilot program underway. Expect growing potential over next decade (pun intended)
Agricultural | Electric | Lighting | Interior Lighting Upgrades - LED | too ambiguous. Better definition please
Agricultural | Electric | Lighting | Interior Lighting Upgrades - Other | too ambiguous. Better definition please
Agricultural | Electric | Lighting | Lighting Controls | too ambiguous. Better definition please
Agricultural | Electric | MachDr | Ag Pump Retrofit - Other
Agricultural | Electric | MachDr | Ag Pump VFD - Dairy
Agricultural | Electric | MachDr | Ag Pump VFD - Other
Agricultural | Electric | Other | Compressed Air Optimization
Agricultural | Gas | ProcHeat | Greenhouse Process Improvement (Heating Optimization)
Agricultural | Gas | ProcHeat | Greenhouse Process Improvement (Shell Improvements)
Agricultural | Gas | ProcHeat | Post-Harvesting Process Improvement
Agricultural | Electric | ProcRefrig | Process Refrigeration Retrofit - Dairy
Agricultural | Electric | ProcRefrig | Process Refrigeration Retrofit - Other
Agricultural | Electric | ProcRefrig | Refrigeration Retrofit (Refrigeration System Optimization)
Commercial | Electric | AppPlug | Advanced Power Strip
Commercial | Gas | AppPlug | Clothes Washer Replacement (Gas)
Commercial | Electric | AppPlug | Freezer Replacement
Commercial | Electric | AppPlug | High Efficiency Servers
Commercial | Electric | AppPlug | Ozone Laundry
Commercial | Electric | AppPlug | PC Power Management
Commercial | Gas | AppPlug | Pool Cover
Commercial | Gas | AppPlug | Pool Heater Replacement
Commercial | Electric | AppPlug | Refrigerator Replacement
Commercial New | Electric | AppPlug | Television and Displays | added new AppPlug measure. Energy star spec. should be in Com. TV study here: http://aceee.org/files/proceedings/2014/data/papers/9-881.pdf
Commercial | Electric | AppPlug | Variable Speed Pool Pump | Does this include multi-speed pumps? there's a difference
Commercial | Electric | AppPlug | Vending Machine Controls
Commercial | Electric | AppPlug | Zero & Thin Client - PC Virtualization | Is this datacenter activity? Then move to process or split to new category
Commercial | Both | BldgEnv | Ceiling/Roof Insulation
Commercial | Both | BldgEnv | High Performance Windows
Commercial | Both | BldgEnv | Wall Insulation
Commercial | Both | BldgEnv | Window Film
Commercial | Electric | ComRefrig | ComRefrig - Add Doors to Open Display Cases
Commercial | Electric | ComRefrig | ComRefrig - Anti Sweat Heat Controls
Commercial | Electric | ComRefrig | ComRefrig - Automatic Door Closers
Commercial | Electric | ComRefrig | ComRefrig - Compressor Replacement
Commercial | Electric | ComRefrig | ComRefrig - Display Case Replacement
Commercial | Electric | ComRefrig | ComRefrig - EC Motors on Display Cases
Commercial | Electric | ComRefrig | ComRefrig - EC Motors on Walk-Ins
Commercial | Electric | ComRefrig | ComRefrig - Floating Head Pressure Controls
Commercial | Electric | ComRefrig | ComRefrig - LED Display Case Lighting
Commercial | Electric | ComRefrig | ComRefrig - Strip Curtains
Commercial | Electric | FoodServ | Demand Controlled Ventilation (DCV) Exhaust Hood
Commercial | Electric | FoodServ | Electric Convection Oven
Commercial | Electric | FoodServ | Electric Steamer
Commercial | Gas | FoodServ | Gas Convection Oven
Commercial | Gas | FoodServ | Gas Fryer
Commercial | Gas | FoodServ | Gas Steamer
Commercial | Electric | FoodServ | Hot Food Holding Cabinet
Commercial | Electric | HVAC | Chiller Replacement | air cooled and water cooled should be broken out separately, and by efficiency level
Commercial | Both | HVAC | Constant Air Volume (CAV) to Variable Air Volume (VAV) Conversion
Commercial | Electric | HVAC | Cooling Tower | high and low efficiency?
Commercial | Electric | HVAC | Dedicated Outdoor Air System (DOAS)
Commercial | Electric | HVAC | Demand Controlled Ventilation (HVAC)
Commercial | Both | HVAC | Duct Insulation
Commercial | Electric | HVAC | Ductless Mini Split Heat Pump | high and low efficiency
Commercial | Electric | HVAC | Economizer | air side and water side should be broken out separately
Commercial | Gas | HVAC | Gas Boiler Replacement | Big differences in boiler efficiency. Can we split out non-condensing (say 85% eff) vs. condensing boiler
Commercial | Gas | HVAC | Gas Furnace Replacement
Commercial | Electric | HVAC | Geothermal Heat Pump
Commercial | Electric | HVAC | HVAC Coil Cleaning
Commercial | Both | HVAC | HVAC Controls Upgrade | does this include adv. Roof top controls?
Commercial | Both | HVAC | HVAC Energy Management System
Commercial | Electric | HVAC | HVAC Fan/Pump Variable Frequency Drive (VFD) | air/water sides should be split
Commercial | Gas | HVAC | HVAC Heat Recovery/Energy Recovery Ventilator (ERV)
Commercial | Electric | HVAC | HVAC Motor Replacement | can we split by efficiency High vs low?
Commercial | Electric | HVAC | Packaged Rooftop/Split AC | can we split by efficiency High vs low?
Commercial | Electric | HVAC | Packaged Rooftop/Split Heat Pump | can we split by efficiency High vs low?
Commercial | Electric | HVAC | Packaged Terminal AC (PTAC) - Controls Upgrade | can we split by efficiency High vs low?
Commercial | Electric | HVAC | Packaged Terminal Air Conditioner (PTAC) | can we split by efficiency High vs low?
Commercial | Both | HVAC | Programmable Thermostat
Commercial | Electric | HVAC | Refrigerant Charge Adjustment (RCA)
Commercial | Both | HVAC | Smart Thermostat
Commercial | Electric | HVAC | Variable Refrigerant Flow (VRF) Heat Pump | can we split by efficiency High vs low?
Commercial | Electric | HVAC | Water Source Heat Pump | can we split by efficiency High vs low?
Commercial | Electric | Lighting | Advanced Lighting Controls
Commercial | Electric | Lighting | CFL Fixture (Indoor) | Are these highbay fixtures?
Commercial | Electric | Lighting | CFL Fixture (Outdoor) | Are these highbay fixtures?
Commercial | Electric | Lighting | CFL Fixture w/ Integrated Occupancy Controls
Commercial | Electric | Lighting | CFL Lamp (Basic - High Wattage - Indoor)
Commercial | Electric | Lighting | CFL Lamp (Basic - High Wattage - Outdoor)
Commercial | Electric | Lighting | CFL Lamp (Basic - Low Wattage - Indoor)
Commercial | Electric | Lighting | CFL Lamp (Basic - Low Wattage - Outdoor)
Commercial | Electric | Lighting | CFL Lamp (Reflector - Indoor)
Commercial | Electric | Lighting | CFL Lamp (Specialty - Indoor)
Commercial | Electric | Lighting | Daylighting Controls
Commercial | Electric | Lighting | High Bay, High Output T5
Commercial | Electric | Lighting | High Bay, High Output T8
Commercial | Electric | Lighting | Interior Bi-level Stairwell Lighting
Commercial | Electric | Lighting | LED Fixture (Indoor)
Commercial | Electric | Lighting | LED Fixture (Outdoor)
Commercial | Electric | Lighting | LED Lamp (Basic - High Wattage - Indoor) | what is the threshold between high and low
Commercial | Electric | Lighting | LED Lamp (Basic - High Wattage - Outdoor) | what is the threshold between high and low
Commercial | Electric | Lighting | LED Lamp (Basic - Low Wattage - Indoor) | what is the threshold between high and low
Commercial | Electric | Lighting | LED Lamp (Basic - Low Wattage - Outdoor) | what is the threshold between high and low
Commercial | Electric | Lighting | LED Lamp (Reflector - Indoor) | define lamp types
Commercial | Electric | Lighting | LED Lamp (Specialty - Indoor) | define lamp types
Commercial | Electric | Lighting | LED Troffer, Low Bay
Commercial | Electric | Lighting | Linear Flourescent Delamping
Commercial | Electric | Lighting | Low Bay, Premium T8 Fixture (Indoor)
Commercial | Electric | Lighting | Low Bay, Standard T8 Fixture (Indoor)
Commercial | Electric | Lighting | Low Bay, Std. Output T5 Fixture (Indoor)
Commercial | Electric | Lighting | Occupancy Sensor
Commercial | Electric | Lighting | Pulse Start Metal Halide (Indoor)
Commercial | Electric | Lighting | Pulse Start Metal Halide (Outdoor)
Commercial | Electric | Process | Data Center Air Flow Management | Please move datacenter activities to new end use category
Commercial | Electric | Process | Data Center CRAC upgrades | Please move datacenter activities to new end use category. Aslo, can we segment this by different technologies (economizers, chillers vs crac, vs economizers)
Commercial | Electric | Process | Data Center High Eff UPS | Please move datacenter activities to new end use category
Commercial | Electric | Process | Data Center Server Virtualization | Please move datacenter activities to new end use category
Commercial | Gas | Water Heat | Faucet Aerators (Gas)
Commercial | Electric | Water Heat | Heat Pump Water Heater
Commercial | Gas | Water Heat | Hot Water Boiler Replacement (Gas) | condensing vs noncondensing should be separate
Commercial | Gas | Water Heat | Pipe Insulation
Commercial | Gas | Water Heat | Storage Water Heater Replacement (Gas)
Commercial | Gas | Water Heat | Tankless Water Heater Replacement (Gas)
Commercial | Electric | Water Heat | Water Heating Controls (Electric) | efficiency levels?
Commercial | Gas | Water Heat | Water Heating Controls (Gas) | efficiency levels?
Commercial | Both | WholeBldg | Building Automation Systems
Industrial | Electric | HVAC | HVAC Chiller Upgrade
Industrial | Electric | HVAC | HVAC Equipment Upgrade | too ambiguous. Can we make same breakout as COM?
Industrial | Gas | HVAC | HVAC Equipment Upgrade | too ambiguous. Can we make same breakout as COM?
Industrial | Electric | HVAC | HVAC System Controls
Industrial | Electric | HVAC | HVAC VFD Upgrade
Industrial | Electric | Lighting | Lighting Controls | too ambiguous. Can we make same breakout as COM? Day lighting, ocupancy sensors?
Industrial | Electric | Lighting | Lighting Upgrades- LED | too ambiguous. Can we make same breakout as COM? Highbay, etc
Industrial | Electric | Lighting | Lighting Upgrades- Other | too ambiguous. Can we make same breakout as COM? Highbay, etc
Industrial | Electric | MachDr | Air Compressor Control and Optimization
Industrial | Electric | MachDr | Air Compressor Leak Repair
Industrial | Electric | MachDr | Fan VFD
Industrial | Electric | MachDr | Injection Molding
Industrial | Electric | MachDr | Premium Motors
Industrial | Electric | MachDr | Process Vacuum Pump
Industrial | Electric | MachDr | Pump Sizing and Optimization
Industrial | Electric | MachDr | Pump VFD
Industrial | Electric | MachDr | VFD Air Compressor
Industrial | Electric | MachDr | Wastewater Aerators (in Industrial Facilities: Food, Paper, Lumber)
Industrial | Electric | Other | Process Optimization Controls
Industrial | Gas | ProcHeat | Boiler Controls and Optimization
Industrial | Gas | ProcHeat | High Effciency Furnace/ Oven
Industrial | Gas | ProcHeat | Industrial Heat Recovery
Industrial | Gas | ProcHeat | Industrial Insulation
Industrial | Electric | ProcRefrig | Refigeration System Optimization
Mining | Gas | Boiler | Oil - Process Boiler - Efficient Steam Boiler
Mining | Gas | Boiler | Oil - Process Boiler - Steam Boiler Controls and Improvements
Mining | Electric | Injection motor | Oil - Injection Well - Injecting Pump Efficient Motor
Mining | Electric | Injection motor | Oil - Injection Well - Injecting Pump Efficient Motor and VFD
Mining | Electric | Injection motor | Oil - Injection Well - Injecting Pump VFD
Mining | Electric | Pumping | Oil - Production Regular Well - Regular Pump Motor Controls
Mining | Electric | Pumping | Oil - Production Regular Well - Regular Pump Motor Replacement
Mining | Electric | Pumping | Oil - Production Regular Well - Regular Pump Motor Replacement and Controls
Mining | Electric | Pumping | Oil - Production Stripper Well - Stripper Pump Motor Controls
Mining | Electric | Pumping | Oil - Production Stripper Well - Stripper Pump Motor Replacement
Mining | Electric | Pumping | Oil - Production Stripper Well - Stripper Pump Motor Replacement and Controls
Residential | Electric | AppPlug | Advanced Power Strip
Residential | Electric | AppPlug | Air Cleaners/purifiers | Added new AppPlug measure. This is an Energy Star RPP line item
Residential | Electric | AppPlug | Audio Equipment | Soundbars as a product category under audio equipment is of interest. Can we expand audio to include it.This is a RES energy star RPP line item.
Residential | Electric | AppPlug | Blu-Ray and DVD Players
Residential | Electric | AppPlug | Clothes Washer Replacement (Electric)
Residential | Gas | AppPlug | Clothes Washer Replacement (Gas)
Residential | Electric | AppPlug | Freezer Recycle
Residential | Electric | AppPlug | Gas Clothes Dryer (Fuel Switch) | may not be a necessary detail
Residential | Electric | AppPlug | Heat Pump Clothes Dryer
Residential | Electric | AppPlug | Refrigerator Recycle
Residential | Electric | AppPlug | Refrigerator Replacement
Residential | Electric | AppPlug | Set Top Boxes
Residential | Electric | AppPlug | Television Replacement
Residential | Electric | AppPlug | Variable Speed Pool Pump
Residential | Both | BldgEnv | Ceiling/Roof Insulation
Residential | Both | BldgEnv | High Performance Windows
Residential | Both | BldgEnv | Wall Insulation
Residential | Both | BldgEnv | Weatherization
Residential | Electric | HVAC | DC Ceiling Fan (Energy Star)
Residential | Both | HVAC | Duct Sealing
Residential | Electric | HVAC | Ductless Mini Split Heat Pump
Residential | Gas | HVAC | Gas Furnace
Residential | Electric | HVAC | Ground Source Heat Pump
Residential | Both | HVAC | HVAC Controls Upgrade
Residential | Both | HVAC | HVAC Quality Maintenance | This is a PG&E offering that we believe is worth including
Commercial | Both | HVAC | HVAC Quality Maintenance | This is a PG&E offering that we believe is worth including
Residential | Electric | HVAC | HVAC Motor Replacement
Residential | Electric | HVAC | Packaged/Split Heat Pump
Residential | Electric | HVAC | Packaged/Split System AC
Residential | Both | HVAC | Programmable Thermostat
Residential | Both | HVAC | Quality HVAC Installation
Residential | Electric | HVAC | Refrigeration Charge Adjustment (RCA)
Residential | Electric | HVAC | Room AC Replacement
Residential | Both | HVAC | Smart Thermostat
Residential | Electric | HVAC | Variable Capacity Space Conditioning System
Residential | Electric | HVAC | Whole House Fan
Residential | Electric | Lighting | Advanced Residential Lighting Controls
Residential | Electric | Lighting | CFL Fixture (Indoor)
Residential | Electric | Lighting | CFL Fixture (Outdoor)
Residential | Electric | Lighting | CFL Lamp (Basic - High Wattage - Indoor)
Residential | Electric | Lighting | CFL Lamp (Basic - High Wattage - Outdoor)
Residential | Electric | Lighting | CFL Lamp (Basic - Low Wattage - Indoor)
Residential | Electric | Lighting | CFL Lamp (Basic - Low Wattage - Outdoor)
Residential | Electric | Lighting | CFL Lamp (Reflector - Indoor)
Residential | Electric | Lighting | CFL Lamp (Reflector - Outdoor)
Residential | Electric | Lighting | CFL Lamp (Specialty - Indoor)
Residential | Electric | Lighting | LED Fixture (Indoor)
Residential | Electric | Lighting | LED Fixture (Outdoor)
Residential | Electric | Lighting | LED Lamp (Basic - High Wattage - Indoor)
Residential | Electric | Lighting | LED Lamp (Basic - High Wattage - Outdoor)
Residential | Electric | Lighting | LED Lamp (Basic - Low Wattage - Indoor)
Residential | Electric | Lighting | LED Lamp (Basic - Low Wattage - Outdoor)
Residential | Electric | Lighting | LED Lamp (Reflector - Indoor)
Residential | Electric | Lighting | LED Lamp (Reflector - Outdoor)
Residential | Electric | Lighting | LED Lamp (Specialty - Indoor)
Residential | Electric | Lighting | Occupancy Sensor
Residential | Electric | Water Heat | Drain Water Heat Recovery (Electric)
Residential | Gas | Water Heat | Drain Water Heat Recovery (Gas)
Residential | Electric | Water Heat | Electric Storage Water Heater Replacement
Residential | Electric | Water Heat | Faucet Aerators (Electric)
Residential | Gas | Water Heat | Faucet Aerators (Gas)
Residential | Electric | Water Heat | Gas Storage Water Heater (Fuel Switch from Electric to Gas)
Residential | Gas | Water Heat | Gas Storage Water Heater Replacement
Residential | Gas | Water Heat | Gas Tankless Water Heater Replacement
Residential | Electric | Water Heat | Heat Pump Water Heater
Residential | Electric | Water Heat | Low Flow Showerheads (Electric)
Residential | Gas | Water Heat | Low Flow Showerheads (Gas)
Residential | Electric | Water Heat | Water Heating Controls (Electric)
Residential | Gas | Water Heat | Water Heating Controls (Gas)
Streetlighting | Electric | Signs | Sign Lighting - Induction Street Sign Lights
Streetlighting | Electric | Signs | Sign Lighting - LED Street Sign Lights
Streetlighting | Electric | Streets | Street Lighting - Baseline Streetlights with Advanced Controls
Streetlighting | Electric | Streets | Street Lighting - Induction Streetlights
Streetlighting | Electric | Streets | Street Lighting - Induction Streetlights with Advanced Controls
Streetlighting | Electric | Streets | Street Lighting - LED Streetlights
Streetlighting | Electric | Streets | Street Lighting - LED Streetlights with Advanced Controls
Streetlighting | Electric | TrafficLights | Traffic Lighting - Advanced LED Traffic Lights
Note on E1: Navigant: Please provide your comments in this column

## Other Reviewed Technologies
Sector | Fuel | End Use Category | Technology Name | Stakeholder Comments
Agricultural | Electric | HVAC | Agricultural Ventilation Fans
Agricultural | Electric | HVAC | Building Envelope Insulation Other
Agricultural | Electric | HVAC | Building Envelope Window Film
Agricultural | Electric | HVAC | HVAC Chiller Air Cooled
Agricultural | Electric | HVAC | HVAC Chiller Water Cooled
Agricultural | Electric | HVAC | HVAC Controls Fume Hood
Agricultural | Electric | HVAC | HVAC Controls Other
Agricultural | Electric | HVAC | HVAC Economizer Addition
Agricultural | Electric | HVAC | HVAC Evap Cooler
Agricultural | Electric | HVAC | HVAC Maintenance
Agricultural | Electric | HVAC | HVAC Rooftop Or Split System
Agricultural | Electric | HVAC | HVAC VRF/Mini Split
Agricultural | Electric | HVAC | Retrocommissioning HVAC
Agricultural | Electric | Other | CHR Unit - Electric and Gas
Agricultural | Electric | Other | Closed Loop Irrigation Management
Agricultural | Electric | Process | Conductive Cooling System for Dairy Cows
Agricultural | Electric | Process | Milk Cooling Scroll Compressor
Agricultural | Gas | Process | Pipe Insulation Hot Application
Agricultural | Electric | Process | Process Wastewater Aerator
Agricultural | Electric | Process | Retrocommissioning Process
Agricultural | Gas | Process | Steam Trap Hp
Agricultural | Electric | Pumps | Ag Water Center - Soil Moisture Sensors
Agricultural | Electric | Pumps | Agricultural Milk Transfer Pump VSD
Agricultural | Electric | Pumps | Agricultural Pump System Overhaul for Pumps Up To 25 HP
Agricultural | Electric | Pumps | Farm Sprinkler to Micro Irrigation Conversion
Agricultural | Electric | Pumps | Low Pressure Sprinkler Nozzles
Agricultural | Electric | Pumps | Milk Pump VFD
Agricultural | Electric | Refrigeration | Appliance Refrigerator
Agricultural | Electric | Refrigeration | Refrigeration Case Door
Agricultural | Electric | Refrigeration | Refrigeration Door Closer
Commercial | Electric | AppPlug | Clothes Washer
Commercial | Electric | AppPlug | Desktop Computer
Commercial | Electric | AppPlug | Dryer- High Efficiency
Commercial | Electric | AppPlug | Electric Pool Heater
Commercial | Electric | AppPlug | Freezer Recycle
Commercial | Electric | AppPlug | Pool Cover
Commercial | Electric | AppPlug | Printer Copier Multifunction
Commercial | Electric | AppPlug | Refrigerator Recycle
Commercial | Electric | AppPlug | Solar Powered Commercial DC Pool Pump
Commercial | Electric | ComRefrig | ComRefrig - Coil Cleaning | Please confirm there is little Technical Potential here
Commercial | Electric | ComRefrig | ComRefrig - Condenser Replacement | Please confirm there is little Technical Potential here
Commercial | Electric | ComRefrig | ComRefrig - Condenser Variable Frequency Drive (VFD) | Please confirm there is little Technical Potential here
Commercial | Electric | ComRefrig | ComRefrig - Demand Defrost Controls for Walk-in Feezers | Please confirm there is little Technical Potential here
Commercial | Electric | ComRefrig | ComRefrig - Energy Management System | Please confirm there is little Technical Potential here
Commercial | Electric | ComRefrig | ComRefrig - Evaporator Fan Controls | Please confirm there is little Technical Potential here
Commercial | Electric | ComRefrig | ComRefrig - Evaporator Variable Frequency Drive (VFD) | Please confirm there is little Technical Potential here
Commercial | Electric | ComRefrig | ComRefrig - Ice Machine | Please confirm there is little Technical Potential here
Commercial | Electric | ComRefrig | ComRefrig - Night Cover | Please confirm there is little Technical Potential here
Commercial | Gas | FoodServ | Commercial Dishwasher | Please move back into selected
Commercial | Electric | FoodServ | Commercial Dishwasher- ENERGY STAR | Please move back into selected
Commercial | Electric | FoodServ | Commercial Hand Wrap Machines
Commercial | Electric | FoodServ | Electric Fryer
Commercial | Electric | FoodServ | Electric Griddle
Commercial | Gas | FoodServ | Finned Bottom Stock Pot- Gas Range
Commercial | Gas | FoodServ | Gas Griddle | Should be moved back to selected. Repair indef. of old units but new units much more efficient
Commercial | Electric | HVAC | Advanced Indirect Evaporative Technologies | Please confirm there is little Technical Potential here
Commercial | Electric | HVAC | Air Filter Replacement
Commercial | Electric | HVAC | Chilled and hot water loop reset
Commercial | Electric | HVAC | Direct Evaporative Cooler | Please confirm there is little Technical Potential here
Commercial | Both | HVAC | Duct Sealing | Please move back into selected
Commercial | Both | HVAC | Dynamic Energy and Demand Optimization
Commercial | Electric | HVAC | Economizer Repair | Please move back into selected
Commercial | Electric | HVAC | Evaporative Condenser | Please confirm there is little Technical Potential here
Commercial | Gas | HVAC | Gas Boiler Tune Up
Commercial | Electric | HVAC | HVAC Compressor Variable Frequency Drive (VFD) | Please confirm there is little Technical Potential here
Commercial | Electric | HVAC | HVAC Pump Replacement | Please confirm there is little Technical Potential here
Commercial | Electric | HVAC | HVAC Pump System Optimization
Commercial | Electric | HVAC | Ventilation Fan Upgrade
Commercial | Electric | Lighting | Ceramic Metal Halide (Outdoor) | Please move back to Selected: more efficient than HID and used as grow lighting. In absence of LED, customers go here. Used to replace HPS and QMH lamps.
Commercial | Electric | Lighting | Cold Cathode Lamp (Indoor)
Commercial | Electric | Lighting | Cold Cathode Lamp (Outdoor)
Commercial | Electric | Lighting | Induction Fixture (Outdoor)
Commercial | Electric | Lighting | Induction Lamps (Indoor)
Commercial | Electric | Lighting | LED Exit Sign
Commercial | Electric | Lighting | LED Signage (Indoor) | SCE pilot in progress. May want to move back to Selected
Commercial | Electric | Lighting | LED Signage (Outdoor) | SCE pilot in progress. May want to move back to Selected
Commercial | Electric | Lighting | Lighting Controls Hi-Lo (Indoor) | Lots of opportunity here in parking lots
Commercial | Electric | Lighting | Photocell Outdoor Control
Commercial | Electric | Water Heat | Electric Storage Water Heater
Commercial | Electric | Water Heat | Electric Tankless Water Heater
Commercial | Electric | Water Heat | Faucet Aerators
Commercial | Electric | Water Heat | Hot Water Boiler Replacement (Electric)
Commercial | Electric | Water Heat | Low Flow Showerheads
Commercial | Gas | Water Heat | Low Flow Showerheads | Move to back to Selected: would be interested to know what's the potential for commercial sector as utility programs tend to address only residential sector, while there is interest from military, schools/dorms, hotels, etc.
Commercial | Gas | Water Heat | Low-Flow Pre-Rinse Spray Valves | Highly unlikely that this measure is fully saturated
Commercial | Electric | Water Heat | Pipe Insulation | Probably still lots of opportunity here
Commercial | Electric | Water Heat | Recirculation Demand Controls for Central Domestic Hot Water (CDHW) | Probably still lots of opportunity here
Commercial | Gas | Water Heat | Recirculation Demand Controls for Central Domestic Hot Water (CDHW) | Probably still lots of opportunity here. Even more so for gas
Commercial | Gas | Water Heat | Refrigeration Waste Heat Recovery/Compressor Heat Recovery | Study attached: Space Heat Recovery from Refrigeration, ET Project Number: ET12PGE1391
Commercial | Electric | Water Heat | Tank Insulation
Commercial | Gas | Water Heat | Tank Insulation
Commercial | Electric | Water Heat | Water Heating- High Efficiency Pumps
Industrial | Electric | HVAC | Building Envelope Ceiling-Roof Insulation
Industrial | Electric | HVAC | Building Envelope New Windows
Industrial | Electric | HVAC | Building Envelope Window Film
Industrial | Electric | HVAC | HVAC Air Filter Replacement
Industrial | Gas | HVAC | HVAC Boiler Stack Economizer
Industrial | Electric | HVAC | HVAC Coil Cleaning
Industrial | Electric | HVAC | HVAC Compressor Replacement
Industrial | Electric | HVAC | HVAC Compressor VFD
Industrial | Electric | HVAC | HVAC Controls Fan
Industrial | Electric | HVAC | HVAC Controls Fume Hood
Industrial | Electric | HVAC | HVAC Controls Reset
Industrial | Electric | HVAC | HVAC Controls Thermostat
Industrial | Electric | HVAC | HVAC Cooling Tower
Industrial | Electric | HVAC | HVAC DCV
Industrial | Electric | HVAC | HVAC Duct Sealing
Industrial | Electric | HVAC | HVAC Economizer Addition
Industrial | Electric | HVAC | HVAC Economizer Repair
Industrial | Electric | HVAC | HVAC Evap Cooler
Industrial | Electric | HVAC | HVAC Fan Repair
Industrial | Gas | HVAC | HVAC Furnace
Industrial | Electric | HVAC | HVAC Maintenance
Industrial | Electric | HVAC | HVAC Motor Replacement
Industrial | Electric | HVAC | HVAC PTAC-PTHP
Industrial | Electric | HVAC | HVAC Pump Replacement
Industrial | Electric | HVAC | HVAC RCA
Industrial | Electric | HVAC | HVAC VRF/Mini Split
Industrial | Electric | HVAC | Immersion Cooling of IT Servers
Industrial | Electric | Indoor Lighting | Lighting Indoor CFL > 30 Watts
Industrial | Electric | Indoor Lighting | Lighting Indoor CFL Basic
Industrial | Electric | Indoor Lighting | Lighting Indoor CFL Fixture
Industrial | Electric | Indoor Lighting | Lighting Indoor CFL Reflector
Industrial | Electric | Indoor Lighting | Lighting Indoor Controls Daylighting | why is this in IND but not in COM?
Industrial | Electric | Indoor Lighting | Lighting Indoor Controls Wall Or Ceiling Mounted Occupancy Sensor | why is this in IND but not in COM?
Industrial | Electric | Indoor Lighting | Lighting Indoor Fixture Integrated Occupancy Sensor | why is this in IND but not in COM?
Industrial | Electric | Indoor Lighting | Lighting Indoor HID
Industrial | Electric | Indoor Lighting | Lighting Indoor Induction
Industrial | Electric | Indoor Lighting | Lighting Indoor LED Exit Sign
Industrial | Electric | Indoor Lighting | Lighting Indoor LED Lamp | why is this in IND but not in COM?
Industrial | Electric | Indoor Lighting | Lighting Indoor LED Reflector Lamp | why is this in IND but not in COM?
Industrial | Electric | Indoor Lighting | Lighting Indoor LED Signage
Industrial | Electric | Indoor Lighting | Lighting Indoor Linear Fluorescent Delamping
Industrial | Electric | Indoor Lighting | Retrocommissioning Lighting
Industrial | Electric | Lighting | Electrodeless HID in Warehouse Applications
Industrial | Electric | Other | Permanent Magnet AC (PMAC) Motors
Industrial | Electric | Other | VFD for Permanent Magnet AC (PMAC) Motors
Industrial | Electric | Outdoor Lighting | Lighting Outdoor CFL Fixture
Industrial | Electric | Outdoor Lighting | Lighting Outdoor Controls Photocell
Industrial | Electric | Outdoor Lighting | Lighting Outdoor HID
Industrial | Electric | Outdoor Lighting | Lighting Outdoor Induction
Industrial | Electric | Outdoor Lighting | Lighting Outdoor LED Other | Please move back into selected
Industrial | Electric | Outdoor Lighting | Lighting Outdoor Linear Fluorescent
Industrial | Electric | Process | Pipe Insulation Cold Application
Industrial | Gas | Process | Process Boiler Burner Upgrade
Industrial | Gas | Process | Process Boiler Condensate Heat Recovery
Industrial | Electric | Process | Process Computing Operations Server Virtualization
Industrial | Electric | Process | Process Cooling Controls
Industrial | Electric | Process | Process Fan
Industrial | Electric | Process | Process Ozone Laundry
Industrial | Both | Process | Process Wastewater Control
Industrial | Electric | Process | Process Wastewater Pump
Industrial | Electric | Process | Process Wastewater VFD | Please move back into selected
Industrial | Electric | Process | Process Water Supply Pump
Industrial | Electric | Process | Process Water Supply VFD | Please move back into selected
Industrial | Electric | Process | Tank Insulation Cold Application
Industrial | Electric | Process | Wastewater Dissolved Oxygen Sensor
Industrial | Electric | Process/Other | Zero Loss Compressed Air Drains
Industrial | Electric | Pumps | Low Pressure Drop Filtration for Oil/Water Separation
Industrial | Electric | Pumps | Water Leak Detection and Control
Industrial | Electric | Refrigeration | Electronic Refrigerant Injection Control | Please confirm there is little Technical Potential here
Industrial | Electric | Refrigeration | Microchannel Heat Exchange | Please confirm there is little Technical Potential here
Industrial | Electric | Refrigeration | Refrigeration Coil Cleaning | Please confirm there is little Technical Potential here
Industrial | Electric | Refrigeration | Refrigeration Compressor | Please confirm there is little Technical Potential here
Industrial | Electric | Refrigeration | Refrigeration Compressor VFD | Please confirm there is little Technical Potential here
Industrial | Electric | Refrigeration | Refrigeration Condenser VFD | Please confirm there is little Technical Potential here
Industrial | Electric | Refrigeration | Refrigeration Controls ASH | Please confirm there is little Technical Potential here
Industrial | Electric | Refrigeration | Refrigeration Controls Floating Head Pressure | Please confirm there is little Technical Potential here
Industrial | Electric | Refrigeration | Refrigeration Controls Floating Suction Pressure | Please confirm there is little Technical Potential here
Industrial | Electric | Refrigeration | Refrigeration Door Closer | Please confirm there is little Technical Potential here
Industrial | Electric | Refrigeration | Refrigeration EMS | Please confirm there is little Technical Potential here
Industrial | Electric | Refrigeration | Refrigeration Evaporator EC Motors | Please confirm there is little Technical Potential here
Industrial | Electric | Refrigeration | Refrigeration Strip Curtain | Please confirm there is little Technical Potential here
Industrial | Electric | Refrigeration | ULT Monitoring (Ultra Low-Temp Freezers) | Please confirm there is little Technical Potential here
Industrial | Gas | Water Heating | Water Heating Boiler
Industrial | Gas | Water Heating | Water Heating Storage Water Heater
Industrial | Gas | Water Heating | Water Heating Tankless Water Heater
Industrial | Electric | Whole Building | Survey Nonresidential Online
Industrial | Electric | Whole Building | Survey Nonresidential Onsite
Industrial | Electric | Whole Building | Whole Building Retrofit
Industrial | Electric | Whole Building | Whole Building RNC
Residential | Gas | AppPlug | Clothes Dryer (Gas) | RPP
Residential | Electric | AppPlug | Convection Oven (Electric) | Most likely this is Food Service Commercial, not residential product
Residential | Gas | AppPlug | Convection Oven (Gas) | Most likely this is Food Service Commercial, not residential product
Residential | Electric | AppPlug | Desktop Computer Monitor
Residential | Electric | AppPlug | Desktop PC - ENERGY STAR
Residential | Electric | AppPlug | Dishwasher Replacement (Electric)
Residential | Gas | AppPlug | Dishwasher Replacement (Gas)
Residential | Electric | AppPlug | Freezer | Please move back into selected
Residential | Gas | AppPlug | Gas Range
Residential | Electric | AppPlug | Induction Cooking
Residential | Electric | AppPlug | Laptop - ENERGY STAR
Residential | Gas | AppPlug | Pool Heater
Residential | Electric | AppPlug | Pool Heater - Electric
Residential | Electric | AppPlug | Power Supplies - 80 Plus
Residential | Both | BldgEnv | Attic Duct Insulation | Please move back into selected. Becomes more valuable in AB802 world
Residential | Both | BldgEnv | Cool Roof | Please move back into selected. Becomes more valuable in AB802 world
Residential | Both | BldgEnv | Crawlspace Duct Insulation | Please move back into selected. Becomes more valuable in AB802 world
Residential | Both | BldgEnv | Floor Insulation | Please move back into selected. Becomes more valuable in AB802 world
Residential | Both | BldgEnv | Heat Curtain
Residential | Electric | HVAC | Air Filter Alarm
Residential | Gas | HVAC | Air Filter Alarm
Residential | Electric | HVAC | Air Filter Replacement
Residential | Gas | HVAC | Air Filter Replacement
Residential | Gas | HVAC | Boiler
Residential | Electric | HVAC | Coil Cleaning | Please move back into selected
Residential | Electric | HVAC | Direct Evaporative Cooler
Residential | Electric | HVAC | Electronically Commutated Motor (ECM)
Residential | Electric | HVAC | Evaporative Condenser
Residential | Electric | HVAC | Furnace
Residential | Electric | HVAC | Gas Fireplace (Fuel Switch from Electric to Gas)
Residential | Gas | HVAC | Gas Furnace Tune Up
Residential | Electric | HVAC | Integrated Space & Water Heat
Residential | Electric | HVAC | Variable Frequency Drive (VFD) on HVAC Fan
Residential | Electric | HVAC | Variable Frequency Drive (VFD) on HVAC Pump
Residential | Electric | Lighting | HID Lighting (Outdoor)
Residential | Electric | Lighting | High Bay Fluorescent (Indoor)
Residential | Electric | Lighting | LED Exit Sign (Indoor)
Residential | Electric | Lighting | LED Holiday Lights
Residential | Electric | Lighting | LED Night Light (Indoor)
Residential | Electric | Lighting | Lighting Control (Outdoor)- Photocell | Probably still lots of opportunity here
Residential | Electric | Lighting | Linear Fluorescent (Indoor) | Please move back into selected. Common in RES garages, workshops and kitchens
Residential | Electric | Lighting | Linear Fluorescent Delamping (Indoor)
Residential | Gas | Water Heat | Pipe Insulation
Residential | Electric | Water Heat | Electric Tankless Water Heater
Residential | Gas | Water Heat | Gas Water Heating Boiler Replacement | Why eliminate this one? Should be useful in multi-family housing
Residential | Electric | Water Heat | Pipe Insulation
Residential | Electric | Water Heat | Solar Water Heater
Residential | Gas | Water Heat | Solar Water Heater
Residential | Electric | Water Heat | Water Heater Jacket
Residential | Gas | Water Heat | Water Heater Jacket
Residential | Electric | Water Heat | Water Heater Temperature Setback
Residential | Gas | Water Heat | Water Heater Temperature Setback
Note on E1: Navigant: Please provide your comments in this column