## Slide 1
Comparison of Utility MGC* Data
TOU OIR Workshop (R.15-12-012)
May 5, 2016
Robert Levin – CPUC Energy Division
rl4@cpuc.ca.gov 415-703-1862
*Marginal generation cost
The content of this presentation reflects the presenter’s views only and does not necessarily reflect the positions of the CPUC or its Energy Division.

## Slide 2: IOU MGC Data
On March 17, 2016, the large IOUs were asked to provide marginal generation cost forecasts for 2021, for use in the TOU OIR.
Below are some results of the IOU’s submittals, which were due on April 29, 2016.

## Slide 3: Spring IOU MGC Data
Chart: March-April
SCE no RPS LOLE only MGC | 0.043909 | 0.043637 | 0.043363 | 0.043143 | 0.043356 | 0.043895 | 0.044118 | 0.041335 | 0.040625 | 0.040006 | 0.039715 | 0.039177 | 0.037759 | 0.038935 | 0.039866 | 0.040787 | 0.043382 | 0.047301 | 0.05767 | 0.063047 | 0.065042 | 0.055973 | 0.048277 | 0.044709
SCE no RPS LOLE+FLEX | 0.043909 | 0.043637 | 0.043363 | 0.043143 | 0.043356 | 0.043895 | 0.045412 | 0.041335 | 0.040625 | 0.040006 | 0.039715 | 0.039177 | 0.037759 | 0.038935 | 0.039866 | 0.040787 | 0.043382 | 0.13969 | 0.089348 | 0.078952 | 0.065042 | 0.055973 | 0.048277 | 0.044709
PGE Top 250 MGC | 0.038806 | 0.03377 | 0.030373 | 0.02821 | 0.027672 | 0.030423 | 0.036301 | 0.040892 | 0.032688 | 0.018501 | 0.0087555 | 0.0043983 | 0.0017826 | 0.0026901 | 0.0068769 | 0.014493 | 0.026345 | 0.040703 | 0.053795 | 0.056557 | 0.058612 | 0.058658 | 0.054481 | 0.048225
SDG&E MGC | 0.035834 | 0.033053 | 0.031716 | 0.031166 | 0.031181 | 0.032245 | 0.040325 | 0.043384 | 0.041917 | 0.03557 | 0.025821 | 0.020656 | 0.019127 | 0.020608 | 0.027057 | 0.03633 | 0.045932 | 0.052917 | 0.056108 | 0.056799 | 0.057781 | 0.056896 | 0.044843 | 0.039999

## Slide 4: Spring IOU MGC Data
Chart: SCE Spring MGC (No RPS adder, no “FLEX”)
Spring MGC | 0.043909 | 0.043637 | 0.043363 | 0.043143 | 0.043356 | 0.043895 | 0.044118 | 0.041335 | 0.040625 | 0.040006 | 0.039715 | 0.039177 | 0.037759 | 0.038935 | 0.039866 | 0.040787 | 0.043382 | 0.047301 | 0.05767 | 0.063047 | 0.065042 | 0.055973 | 0.048277 | 0.044709
Spring MGCC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Slide 5: Spring IOU MGC Data
Chart: PG&E Spring MGC
Spring MGC | 0.038806 | 0.03377 | 0.030373 | 0.02821 | 0.027672 | 0.030423 | 0.036301 | 0.040892 | 0.032688 | 0.018501 | 0.0087555 | 0.0043983 | 0.0017826 | 0.0026901 | 0.0068769 | 0.014493 | 0.026345 | 0.040703 | 0.053795 | 0.056557 | 0.058612 | 0.058658 | 0.054481 | 0.048225
Spring MGCC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Slide 6: Spring IOU MGC Data
Chart: SCE Spring MGC (No RPS adder, LOLE+FLEX)
Spring MGC | 0.043909 | 0.043637 | 0.043363 | 0.043143 | 0.043356 | 0.043895 | 0.044118 | 0.041335 | 0.040625 | 0.040006 | 0.039715 | 0.039177 | 0.037759 | 0.038935 | 0.039866 | 0.040787 | 0.043382 | 0.047301 | 0.05767 | 0.063047 | 0.065042 | 0.055973 | 0.048277 | 0.044709
Spring MGCC | 0 | 0 | 0 | 0 | 0 | 0 | 0.0012942 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.092387 | 0.031679 | 0.015905 | 0 | 0 | 0 | 0

## Slide 7: Outer Summer IOU MGC Data
Chart: May, June, September, October
SCE no RPS LOLE only | 0.039791 | 0.039509 | 0.039356 | 0.039297 | 0.039472 | 0.039624 | 0.039181 | 0.038385 | 0.038683 | 0.038881 | 0.039094 | 0.039297 | 0.039392 | 0.040295 | 0.041896 | 0.05946 | 0.17898 | 0.79301 | 0.48543 | 0.1351 | 0.070034 | 0.053344 | 0.045885 | 0.041476
SCE no RPS LOLE+FLEX | 0.039791 | 0.039509 | 0.039356 | 0.039297 | 0.039472 | 0.039624 | 0.040021 | 0.038385 | 0.038683 | 0.03954 | 0.03963 | 0.039297 | 0.039392 | 0.040295 | 0.041667 | 0.054123 | 0.15137 | 0.65807 | 0.3651 | 0.11223 | 0.066761 | 0.053262 | 0.045885 | 0.041476
PGE Top 250 MGC | 0.043404 | 0.039246 | 0.036266 | 0.034153 | 0.03327 | 0.034716 | 0.038553 | 0.039218 | 0.035323 | 0.0272 | 0.024745 | 0.02465 | 0.02509 | 0.026625 | 0.031814 | 0.037934 | 0.044947 | 0.052435 | 0.070338 | 0.071563 | 0.069419 | 0.064233 | 0.055831 | 0.050516
SDG&E MGC | 0.037385 | 0.033771 | 0.031933 | 0.030804 | 0.030216 | 0.03067 | 0.038813 | 0.04133 | 0.038973 | 0.032528 | 0.028015 | 0.023566 | 0.02388 | 0.03566 | 0.055451 | 0.084871 | 0.11514 | 0.13262 | 0.16184 | 0.27332 | 0.20948 | 0.11868 | 0.05562 | 0.041638

## Slide 8: Inner Summer IOU MGC Data
Chart: July-August
SCE no RPS LOLE only MGC | 0.04219 | 0.041281 | 0.04101 | 0.040908 | 0.040993 | 0.041191 | 0.040112 | 0.04018 | 0.040843 | 0.041635 | 0.043204 | 0.044742 | 0.045749 | 0.047347 | 0.050384 | 0.058016 | 0.078151 | 0.21116 | 0.38487 | 0.094733 | 0.071968 | 0.056562 | 0.052687 | 0.046138
SCE no RPS LOLE+FLEX | 0.04219 | 0.041281 | 0.04101 | 0.040908 | 0.040993 | 0.041191 | 0.040112 | 0.04018 | 0.040843 | 0.041635 | 0.043204 | 0.044742 | 0.045749 | 0.047347 | 0.050098 | 0.06678 | 0.090195 | 0.24784 | 0.29338 | 0.084643 | 0.068908 | 0.056535 | 0.052687 | 0.046138
PGE Top 250 MGC | 0.054651 | 0.050316 | 0.047135 | 0.045142 | 0.043905 | 0.044541 | 0.047437 | 0.047528 | 0.043799 | 0.040603 | 0.041149 | 0.042525 | 0.043887 | 0.046218 | 0.055154 | 0.070016 | 0.10235 | 0.17196 | 0.33463 | 0.37094 | 0.27286 | 0.25369 | 0.15409 | 0.076447
SDG&E MGC | 0.039632 | 0.035503 | 0.033247 | 0.03187 | 0.031044 | 0.03141 | 0.039814 | 0.041504 | 0.040288 | 0.035859 | 0.029478 | 0.026072 | 0.026965 | 0.032642 | 0.037802 | 0.069387 | 0.10736 | 0.14444 | 0.1862 | 0.30101 | 0.46109 | 0.18822 | 0.049853 | 0.044616

## Slide 9: Winter IOU MGC Data
Chart: November - February
SCE no RPS LOLE only MGC | 0.040562 | 0.040322 | 0.040067 | 0.039995 | 0.040239 | 0.040851 | 0.04383 | 0.044692 | 0.040565 | 0.039828 | 0.039472 | 0.039213 | 0.038942 | 0.039146 | 0.039426 | 0.040105 | 0.048102 | 0.059007 | 0.066951 | 0.061817 | 0.053186 | 0.048454 | 0.043689 | 0.041369
SCE no RPS LOLE+FLEX | 0.040562 | 0.040322 | 0.040067 | 0.039995 | 0.040239 | 0.040851 | 0.04383 | 0.049399 | 0.040565 | 0.039828 | 0.039472 | 0.039213 | 0.038942 | 0.039146 | 0.039426 | 0.040105 | 0.062156 | 0.13543 | 0.093498 | 0.061817 | 0.053186 | 0.048454 | 0.043689 | 0.041369
PGE Top 250 MGC | 0.038653 | 0.035322 | 0.033237 | 0.032721 | 0.034775 | 0.040316 | 0.046957 | 0.049144 | 0.042971 | 0.035174 | 0.031245 | 0.028924 | 0.027545 | 0.029351 | 0.033408 | 0.042279 | 0.052925 | 0.058815 | 0.060102 | 0.059088 | 0.057336 | 0.054289 | 0.049847 | 0.043353
SDG&E MGC | 0.037497 | 0.035784 | 0.034755 | 0.034578 | 0.035494 | 0.038505 | 0.038614 | 0.040694 | 0.039866 | 0.037116 | 0.034118 | 0.031519 | 0.031093 | 0.033611 | 0.038682 | 0.04337 | 0.047521 | 0.054215 | 0.080365 | 0.068268 | 0.049296 | 0.04489 | 0.045182 | 0.040623

## Slide 10: Two TOU Seasons May Not Be Enough (To reflect changes in load patterns and energy markets due to solar)
In 2015, CAISO proposed a four-season TOU period scheme to smooth and flatten the net load curve by season:
  Shifting peak load demand
  Incentivizing load to consume during low demand periods to minimize over-generation
  Reducing the need for flexible capacity resources, i.e. reduce the magnitude of upward and downward ramps through managed load response

## Slide 11: CAISO Proposed TOU Periods for Supplemental Analysis
Notes: Based on the analysis, California ISO established a maximum of three time blocks per day tailored to seasons and the higher use patterns on weekdays versus weekends.
Furthermore, the TOU periods also reflect the system needs when generation is constrained during the late afternoon/early evening peak and plentiful at mid-day. The time periods were designed to reduce peak load or shift that demand to non-peak periods. Importantly, the rate periods were designed to incentivize load to consume during low demand periods to minimize over generation.
CPUC staff provided reasonably aggressive, revenue-neutral, rates for each time period designed to incent conservation or consumption, as appropriate.
CPUC staff’s conceptual scenario 5 & 6 TOU rates are revenue-neutral to a projected flat rate for each IOU, on an annual basis, but not revenue neutral by season.

## Slide 12: MGC Data Averaged by CAISO TOU Period
Chart: Spring MGC Data
| SCE LOLE | SCE Flex | PG&E | SDG&E | SCE LOLE | SCE Flex | PG&E | SDG&E | SCE LOLE | SCE Flex | PG&E | SDG&E
 | 0.039373 | 0.039373 | 0.0063159 | 0.026453 | 0.044334 | 0.044434 | 0.035806 | 0.034091 | 0.055288 | 0.083283 | 0.04587 | 0.053907

## Slide 13: MGC Data Averaged by CAISO TOU Period
Chart: Outer Summer MGCs
| SCE LOLE | SCE Flex | PG&E | SDG&E | SCE LOLE | SCE Flex | PG&E | SDG&E
Outer Summer | 0.041701 | 0.037682 | 0.0368 | 0.042832 | 0.33251 | 0.27071 | 0.061425 | 0.17848

## Slide 14: MGC Data Averaged by CAISO TOU Period
Chart: Inner Summer MGCs
| SCE LOLE | SCE Flex | PG&E | SDG&E | SCE LOLE | SCE Flex | PG&E | SDG&E | SCE LOLE | SCE Flex | PG&E | SDG&E
Inner Summer | 0.043578 | 0.043577 | 0.065398 | 0.04656 | 0.050374 | 0.052493 | 0.05111 | 0.041699 | 0.16818 | 0.15699 | 0.23794 | 0.24002

## Slide 15: MGC Data Averaged by CAISO TOU Period
Chart: Winter MGC Data
| SCE LOLE | SCE Flex | PG&E | SDG&E | SCE LOLE | SCE Flex | PG&E | SDG&E
Winter MGCs | 0.041093 | 0.041341 | 0.040109 | 0.037684 | 0.057813 | 0.081218 | 0.060227 | 0.059933

## Slide 16: Appendix (Extra Slides)

## Slide 17: 2021 Monthly Load vs. Net Load profiles --- weekdays

## Slide 18: CAISO “Duck Curve” (Spring Loads Net of Wind and Solar)

## Slide 19: Spring --- Negative energy prices indicating over-generation appear in the middle of the day during high renewable production days
Increase in real-time negative prices shifting to the middle of the day

## Slide 20: 2021 Monthly Net Load Distribution --- Weekdays
Off-Peak
Peak
Super Peak
Super Off-Peak

## Slide 21: 2021 Monthly Net Load Distribution --- Weekends
Off-Peak
Peak
Super Off-Peak