Table of Contents

ES  Executive Summary	ES-1

ES.1  Gross Load Impact Updates	ES-1

ES.1.1  Residential Lighting Impacts	ES-1

ES.1.2  Non-Residential Lighting Impacts	ES-2

ES.1.3  Residential Water Heating System Impacts	ES-3

ES.2  Net to Gross Ratio Update	ES-4

1 Introduction - DEER 2011 Update Analysis	1-1

1.1 Introduction	1-1

2 Ranked List of Energy Efficiency Measures by Technology Group	2-1

3 Residential Lighting Impact Input Updates for DEER	3-1

3.1 Introduction	3-1

3.2 Wattage Reduction Ratio Estimates	3-1

3.3 Hours-of-Use Profile Estimates	3-3

3.3.1 Installation Analysis and Saturation Increment	3-3

3.4 Projections of Lighting Profiles	3-6

3.4.1 Cross-Sectional Model and Projected Lighting Profiles	3-7

3.5 Possible Shortcomings of the Study	3-11

3.6 Comparison to Previous DEER Results	3-12

3.7 Conclusion	3-13

3.8 References	3-13

4 Load Impact Updates for Non-Residential Lighting	4-1

4.1 Introduction	4-1

4.1.1 Overview of this Section	4-1

4.2 Background/Overview of the DEER TG1 Analysis Plan	4-2

4.2.1 Parameter Updates	4-3

4.2.2 Interactive Effects Updates	4-3

4.3 Data Sources	4-3

4.3.1 Data Sources – 2008 DEER	4-3

4.3.2 Data Sources – Proposed 2011 DEER Update	4-5

4.3.3 Data Sources – Comparison of Sample Sizes	4-5

4.4 Hours of Use, Annual Usage Shapes and Coincident Factors	4-7

4.4.1 2008 DEER HOUs and CFs	4-7

4.4.2 2011 DEER HOUs and CFs	4-13

4.5 Delta Watts Calculations	4-17

4.5.1 Delta Watts – CFLs	4-17

4.5.2 Delta Watts – Linear Fluorescents	4-19

4.6 Non Residential Lighting – Interactive Effects	4-21

5 Impact Updates for Residential Hot Water Heating	5-1

5.1 Introduction	5-1

5.2 Residential Faucet Aerators and Showerheads	5-1

5.3 Residential Instantaneous and Storage Water Heater Measures	5-5

5.4 Recommendations for the Short-Term Update	5-7

6 Overall Summary of NTGR Analysis	6-1

7 Recommended Updates to Net-to-Gross Ratios for Non-Residential Lighting Measures	7-1

7.1 Introduction	7-1

7.2 Comparison of Current DEER NTGR to Results from Latest EM&V Analyses in 2006-2008	7-2

7.3 Comparison of Methods and Sample Sizes Used to Derive NTGR Results	7-3

7.4 Recommended NTGR by Measure and Applicable Market Segments or Building Types	7-4

7.5 Factors Likely to Lead to Changes in NTGR Over Next Three Years	7-5

7.6 Assessment of Current Data and Tools Available for Adjusting NTGR Over Time	7-5

7.7 Recommended NTGRs by Building Type to Assist Predicting NTGs for Future Programs	7-6

8 Recommended Updates to Net-to-Gross Ratios for Residential Lighting (CFLs)	8-1

8.1 NTGR Results from 2006-2008 Impact Evaluation	8-2

8.2 Comparison of 2006-2008 Evaluation Results to DEER Values	8-4

8.3 Changes to Upstream Lighting Programs Over Time	8-5

8.3.1 Changes to Channel Distribution	8-5

8.3.2 Changes to Product Type Distribution	8-6

8.4 Recommended NTGR Estimates	8-7

8.4.1 Basic CFLs	8-7

8.5 Factors Leading to Changes in CFL NTGR Estimates Over Time	8-10

8.6 Approach to Adjusting CFL NTGR Estimates Over Time	8-12

9 Recommended Updates to Net-To-Gross Ratios for Industrial and Agricultural End Uses (Except Lighting)	9-1

9.1 Introduction	9-1

9.2 Comparison of Current DEER NTGR Values to the Results from the 2006 – 2008 EM&V Studies	9-2

9.3 Comparison of Methods and Sample Sizes	9-6

9.4 Industrial/Agricultural NTGR Sensitivity Analysis	9-9

9.5 Recommended 2011 DEER Updates to NTGR Values	9-10

9.6 Factors Likely to Lead to Changes in NTGR Over Next Three Years	9-11

9.7 Assessment of Current Data and Tools Available to Prepare a Forecast of NTGR Values	9-12

9.8 Recommended NTGR Values for Future Programs	9-12

10 Recommended Updates to the Net-to-Gross Ratios for Commercial HVAC Systems and Building Envelopes	10-1

10.1 Introduction	10-1

10.2 Comparison of the Current DEER NTGR Values to the Results from the 2006 - 2008 EM&V Studies	10-2

10.3 Comparison of Methods and Sample Sizes	10-3

10.4 Recommended 2011 DEER Updates to the NTGR Values	10-6

10.5 Factors Likely to Lead to Changes in the Next Three Years	10-8

10.6 Assessment of Current Data and Tools Available to Prepare a Forecast of NTGR Values	10-8

10.7 Recommended NTGR Values for Future Programs	10-9

11 Recommended Updates to Net-To-Gross Ratios for Commercial Refrigeration	11-1

11.1 Introduction	11-1

11.2 Comparison of Current DEER NTGR Values to the Results from the 2006 – 2008 EM&V Studies	11-2

11.3 Comparison of Methods and Sample Sizes	11-2

11.4 Recommended 2011 DEER Updates to the NTGR Values	11-3

11.5 Factors Likely to Lead to Changes in the Next Three Years	11-4

11.6 Assessment of Current Data and Tools Available to Prepare a Forecast of NTGR Values	11-4

11.7 Recommended NTGR Values for Future Programs	11-4

12 Recommended Updates to the Net-to-Gross Ratios for Residential HVAC Systems and Building Envelopes	12-1

12.1 Introduction	12-1

12.2 Comparison of the Current DEER NTGR Values to the Results from the 2006 - 2008 EM&V Studies	12-2

12.3 Comparison of Methods and Sample Sizes	12-3

12.4 Recommended 2011 DEER Updates to the NTGR Values	12-5

12.5 Factors Likely to Lead to Changes in the Next Three Years	12-8

12.6 Assessment of Current Data and Tools Available to Prepare a Forecast of NTGR Values	12-9

12.7 Recommended NTGR Values for Future Programs	12-9

13 Recommended Updates to Net-to-Gross Ratios for Residential Water Heating Systems and Energy Efficiency Measures	13-1

13.1 Introduction – Residential Hot Water Systems and Water Flow Restriction Measures	13-1

13.2 Comparison of Current DEER NTGR to Results from Latest EM&V Analyses in 2006-2008	13-2

13.3 Differences in Program Design	13-2

13.4 Comparison of Methods and Sample Sizes Used to Derive NTGR Results	13-3

13.5 Differences in Evaluation Methods	13-3

13.6 Differences in Sample Size	13-3

13.7 Recommended NTGR by Measure, Applicable Market Segments, and Building Types	13-4

13.8 Factors Likely to Lead to Changes in NTGR Over the Next Three Years	13-6

13.9 Assessment of Current Data and Tools Available for Adjusting NTGR Over Time	13-6

13.10 Efficient Market Share of Gas Water Heating Systems	13-6

13.11 Trends in Rebate Levels as a Fraction of Incremental Cost	13-7

13.12 Contractor Market	13-7

13.13 Program Design or Sales Channel	13-8

13.14 Synthesis of NTGR Forecasting and Adjustment Analysis	13-8

14 Recommended Updates to Net-To-Gross Ratios for Residential Appliances	14-1

14.1 Introduction	14-1

14.2 Comparison of Current DEER NTGR Values to Results 2006-2008 EM&V Analyses	14-2

14.2.1 Differences in Program Design	14-2

14.2.2 Differences in Evaluation Methods	14-3

14.2.3 Differences in Sample Sizes	14-3

14.3 Recommended NTGR by Measure and Applicable Market Segments or Building Types	14-4

14.4 Factors Likely to Lead to Changes in NTGR Over Next Three Years	14-5

14.5 Assessment of Current Data and Tools Available for Adjusting NTGR Over Time	14-5

14.6 Synthesis of NTGR Adjustment Analysis	14-6

15 Default NTGRs	15-1

15.1 Rationale for Default Values	15-2

15.1.1 Default Values for the Hard to Reach Population	15-2

15.1.2 Rationale for the Use of .70 NTG Value	15-2

List of Tables

Table ES-1: Proposed Changes in Hours of Use for Residential Lighting and Impact on Unit Savings UES Estimate	2

Table ES-2: Wattage Reduction Ratio Recommendations (WRR) for Short Term Update	2

Table ES-3: Recommended Statewide Average Electric Unit Energy Impacts for Faucet Aerators and Low-Flow Showerheads	3

Table ES-4: Recommended Statewide Average Natural Gas Unit Energy Impacts for Faucet Aerators and Low-Flow Showerheads	4

Table ES-5: Recommended Changes in Net to Gross Ratios (NTGR) for Residential and Non-Residential Lighting Technologies by Program Delivery Method (Statewide Values)	5

Table ES-6: Recommended Changes in NTGR for Residential and Non-Residential HVAC Systems by Program Delivery Method	6

Table ES-7: Recommended Changes in Net to Gross Ratio (NTGR) for the Remaining Commercial and Industrial Measures	7

Table ES-8: Recommended Changes in Net to Gross Ratio (NTGR) for Hot Water Heating Systems and Residential Appliances	8

Table ES-9: Recommended Changes in Default Net to Gross Ratio (NTGR)	8

Table ES-10: Weighted Average NTGR Across All Evaluated Programs in 2006-08	9

Table 1-1:  Organization Structure of DEER Analysis Teams	1-3

Table 1-2:  Technology Areas Selected for Update in 2011	1-4

Table 2-1:  Comparisons of the Technology Group Share of Electricity Savings Over Time	2-2

Table 2-2: Ranked Non-Residential Lighting EEM Categories	2-3

Table 2-3: Ranked Commercial HVAC and Building Envelope EEM Categories	2-3

Table 2-4:  Residential and Commercial Hot Water Heating EEM Categories Parameter Updates	2-6

Table 2-5:  Ranked Commercial Information Technology Equipment and Plug Loads EEM Categories	2-7

Table 2-6: Ranked Commercial Refrigeration EEM Categories	2-7

Table 2-7: Ranked Industrial and Agricultural EEM Categories	2-8

Table 2-8: Ranked Residential Lighting EEM Categories	2-9

Table 2-9: Ranked Residential HVAC and Building Envelope EEM Categories	2-10

Table 2-10 Ranked Residential Appliance and Plug Load EEM Categories	2-11

Table 3-1: Wattage Reduction Ratio Interior Scenarios Sample Sizes	3-2

Table 3-2: Wattage Reduction Ratio Recommendations for Short Term Update	3-3

Table 3-3: Program Bulbs Shipped by IOU (in millions)	3-4

Table 3-4: Projected Number of Residential Households by IOU (in millions)	3-5

Table 3-5: CFL Saturation Increment by IOU and IOU	3-6

Table 3-6: Projected CFL Hours-of-Use by IOU and Space Type for Scenario “Constant”	3-10

Table 3-7: Projected CFL Hours-of-Use by IOU and Space Type for Scenario “Half”	3-11

Table 3-8: Estimated Daily Hours of Use for Interior and Exterior Residential Light Fixtures	3-13

Table 4-1:  Commercial Lighting EEM Categories Parameter Updates	4-2

Table 4-2:  Comparison of Sample Sizes – Linear Fluorescents	4-6

Table 4-3:  Comparison of Sample Sizes – CFLs	4-7

Table 4-4:  DEER 2008 – from Documentation (1 of 3)	4-8

Table 4-5:  DEER 2008 – from Documentation (2 of 3)	4-9

Table 4-6:  DEER 2008 – from Documentation (3 of 3)	4-10

Table 4-7:  DEER 2008 – HOU and CF by Building Type	4-11

Table 4-8:  DEER 2008 Analysis of Express Logger Data – Linear Fluorescents	4-12

Table 4-9:  DEER 2008 Analysis of Express Logger Data – CFLs	4-13

Table 4-10:  Potential Updates for HOU and CF – Linear Fluorescents	4-15

Table 4-11:  Potential Updates for HOU and CF – CFLs	4-15

Table 4-12:  Delta Watts – CFLs	4-19

Table 4-13:  Comparison of 2008 and 2005 Fixed input Power for Linear Fluorescents	4-20

Table 4-14: Impact of Proposed Changes on T-12 RUL by Building Type	4-21

Table 5-1:  Comparison of 2005 DEER IOU Electricity Impacts and Proposed Impacts for Faucet Aerators and Low-Flow Showerheads	5-2

Table 5-2:  Recommended Statewide Average Electric Unit Energy Impacts for Faucet Aerators and Low-Flow Showerheads	5-3

Table 5-3:  Comparison of Proposed IOU Natural Gas Impacts and 2005 DEER Impacts for Faucet Aerators and Low-Flow Showerheads	5-4

Table 5-4:  Recommended Statewide Average Natural Gas Unit Energy Impacts for Faucet Aerators and Low-Flow Showerheads	5-5

Table 5-5:  Sample Size by Utility Program	5-6

Table 5-6:  Energy Factor for Rebated Hot Water Heaters	5-6

Table 5-7:  Average Storage Size for Rebated Hot Water Heaters	5-6

Table 5-8:  Average Temperature Setting for Hot Water Heaters	5-6

Table 5-9:  Recommended Statewide Electric Unit Energy Impacts for Faucet Aerators and Low-Flow Showerheads	5-7

Table 5-10:  Recommended Statewide Natural Gas Unit Energy Impacts for Faucet Aerators and Low-Flow Showerheads	5-7

Table 6-1:  Master Table of NTGR for Specific Measure/Delivery Combinations Over Time	6-2

Table 7-1:  Overview of NTGR Results by Measure, Delivery Mechanism and Vintage	7-3

Table 7-2:  Methods and Sample Sizes for Non-Residential Lighting	7-4

Table 7-3:  Recommended NTGR by Measure and Delivery Method	7-5

Table 7-4:  CFL Sample Sizes and Net to Gross Ratios by Building Type and Delivery Mechanism	7-6

Table 7-5:  Linear Fluorescent Sample Sizes and Net to Gross Ratios by Building Type and Delivery Mechanism	7-7

Table 8-1: CFL NTGR Estimates by Method and Final Recommended CFL NTGR Estimates from 2006-2008 Upstream Lighting Program Impact Evaluation	8-3

Table 8-2: Upstream Lighting Program CFL Shipments by Channel and Year	8-6

Table 8-3: Basic CFL as a Percent of All CFL Shipments by Channel and Year	8-6

Table 8-4: Basic CFL Distributions by Channel and NTGR Estimates  (2010 through Q2011)	8-7

Table 8-5: CFL NTGR Estimates: Comparison Across Recent Studies	8-8

Table 8-6: Effect of Channel Level NTGR on Overall Program NTGR for Residential CFL’s	8-10

Table 9-1:  Overview of NTGR Results by Measure and Delivery Approach	9-3

Table 9-2: Information Sources for Three Levels of NTGR Analysis	9-7

Table 9-3:  Methods and Sample Sizes for Agricultural and Industrial Measures	9-9

Table 9-4: Industrial/Agricultural NTGR Sensitivity Analysis Results	9-10

Table 9-5:  Recommended NTGR by Measure and Delivery Method	9-11

Table 9-6:  Statewide Custom Electric Measures Net to Gross Ratios for the Period 1998-2008	9-12

Table 10-1:  Overview of NTGR Results by Measure and Delivery Approach	10-2

Table 10-2: '04-'05 Upstream HVAC Study Free-Ridership Estimates and NTFR Ratios	10-4

Table 10-3: '04-'05 Upstream HVAC Study Free-Ridership Estimates by IOU	10-5

Table 10-4: '04-'05 Express and Upstream Study NTGR Results	10-5

Table 10-5:  Methods and Sample Sizes for Commercial HVAC EEMs in the ‘06-‘08 EM&V Studies	10-6

Table 10-6:  Recommended NTGR by Measure and Delivery Method	10-7

Table 11-1:  Overview of NTGR results by Measure and Delivery Mechanism	11-2

Table 11-2:  Methods and Sample Sizes for Commercial Refrigeration Measures	11-3

Table 11-3:  Recommended NTGR by Measure and Delivery Method	11-3

Table 12-1:  Overview of NTGR Results by Measure and Delivery Method	12-3

Table 12-2:  Methods and Sample Sizes for Residential HVAC in the ‘06-‘08 EM&V Studies	12-4

Table 12-3:  Recommended NTGR by Measure and Delivery Method	12-6

Table 13-1: Overview of NTGR Results by Measure, Delivery Mechanism and Source	13-2

Table 13-2:  Methods and Sample Sizes for Aerators and Low-Flow Showerheads	13-4

Table 13-3:  Methods and Sample Sizes for Residential Gas Water Heating Systems	13-4

Table 13-4:  Recommended NTGR by Measure and Delivery Method	13-5

Table 13-5:  Trends in Efficient Market Share for Gas Water Heater Systems	13-7

Table 14-1:  Overview of NTGR Results by Measure and Delivery Mechanism	14-2

Table 14-2:  Methods and Sample Sizes for Residential Appliances EEMs in the 2006-2008 EM&V Studies	14-4

Table 14-3:  Recommended NTGR by Measure and Delivery Method	14-5

Table 15-1:  Comparison of Previous NTGs to DEER 2009-2011 Planning NTGs	15-3

Table 15-2:  Weighted Average NTGR Across All Evaluated Programs in 2006-08	15-4

Table 15-3: Proposed Net to Gross Ratio Defaults for Measures	15-4