# Appendix A-3

# Commercial HVAC

Table –A-3-1: Overview of Methods, Data, and NTGR Results

| DEER Update Technology Group 2 – Commercial HVAC Systems and Building Envelope |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| EEM Categories | Current NTGR Values* | Program Delivery Approach | Data Sources | NTGR Values from Data Sources | Methods Used in Data Sources to Estimate the NTGR Values | Proposed NTGR Value Estimate for 2011 |
| HVAC Maintenance: Refrigerant Charge Adjustment | No specific DEER value listed for this EEM and delivery approach. The default value of 0.70 for EEMs not otherwise addressed with no convincing strategies to reduce free-ridership may apply. | Midstream | Evaluation Measurement and Verification of the California Public Utilities Commission HVAC High Impact Measures and Specialized Commercial Contract Group Programs, 2006 – 2008 Program Year, Final Consultant Report, Volumes 1 and 2, KEMA, February 10, 2010 | The study evaluated four IOU programs. The study indicates that the IOU programs used an NTGR of 0.85 for this EEM in ’06-‘08. The results varied among IOU programs as followed: NTGR Sample Size PG&E2068 0.54 122 PG&E2080 0.55 92 SCE2507 0.94 23 SDG&E3043 0.70 23 Total: 260 | Modified version of the SRA since the utility programs gave contractors flexibility in terms of both marketing and incentives. The participant surveys were supplemented with contractor surveys. The simple NTG questionnaire included questions aimed at addressing “…the effect of acceleration on the lifetime savings stream and partial increase in efficiency levels or quantities of efficient measures.” | The sample sizes for the SCE and SDG&E programs are too low for reliable standalone values. Future programs are unlikely to offer the RCA EEM as a standalone measure. Going forward, the EEM is part of the IOUs HVAC Quality Maintenance Programs. These programs launched in June 2011. There are significant uncertainties and issues that persist for this measure. It is anticipated that the ongoing 2010-2012 EM&V research efforts may address many of the issues. Given the change in delivery approach for this measure going forward, I do not recommend that the study’s NTGR values be re-calculated at this time to remove the effects of either partial and/or deferred free-ridership. This may be warranted only if the IOU programs intend to offer the measure standalone. The program level NTGR values yields a kWh weighted value of 0.79 and a kW weighted value of 0.66. The combined weighted average is 0.73 rounded-up. Recommend that the program level weighted average value of 0.73 be used for the standalone RCA measure, midstream delivery approach. |
| RCx Packages | DEER lists 0.90 for electric EEMs and 1.0 for natural gas EEMs. | Downstream, Customized Incentives | 2006 – 08 Retro-Commissioning Impact Evaluation, Final Report, SBW Consulting, Inc., February 8, 2010 | The evaluation inspected and tested measures at sites that participated in RCx programs as part of either the 2002–03 or 2004–05 program cycles. The study determined the following NTGR values per IOU (Tables 18 through 21 in the study’s final report): NTGR Sample kWh kW Therms Size PG&E 0.80 0.76 0.86 73 SCE 0.86 0.78 0.91 29 SCG - - 0.92 15 SDG&E 0.75 0.75 0.68 3 Total: 120 | The study used the SRA methodologies, specifically the Standard – Very Large NTG Method for all the impact evaluated sites and the Basic NTG Method on a random selection of additional sites to complete a 50% sample size, to estimate project and program-level NTGRs. The method used a 0 to 10 scoring system for key questions to estimate the NTGR, rather than fixed categories and assigned weights. The method asked respondents to jointly consider and rate the importance of the many likely events and factors that may have influenced their decision making, rather than focus only on rating the program’s importance. The approach was customized to reflect the unique requirements of the retro-commissioning HIM evaluation. An additional set of questions, aimed at assessing deferred free-ridership, were asked of those decision makers who indicated they would have pursued RCx work absent a program. | The study found generally low levels of free ridership across the projects. Weight averaging the program level values yields a kWh NTGR of 0.82, a kW NTGR of 0.77. These yield an average electric NTGR of 0.80. The natural gas program level values yield a Therms NTGR value of 0.82. The evaluation included a large number of programs in the study, over two dozen, and 96 different measures. The custom nature of the 225 projects examined and the large number of measures makes it difficult to predict what mix will make-up RCx in the future, and how the factors should be adjusted to forecast NTGR values. In addition, there are persistence issues for some of the measures considered part of the RCx packages and potential overlaps with the HVAC Quality Maintenance programs should be examined in the future. Given these uncertainties, it is not recommended that the potential effects of partial and/or deferred free-ridership be removed from this measure at this time. Recommend that we use the overall weighted average values of NTGR for electric and natural gas, 0.80 and 0.82, for the RCx Packages EEM. |
| Water-Cooled Chillers: Centrifugal, Screw, Scroll, Reciprocating, Centrifugal with VSD, Screw with VSD, “Frictionless” with VSD Air-Cooled Chillers: Screw, Scroll, Reciprocating, Screw with VSD, “Frictionless” with VSD | DEER listing for “All HVAC” for Large Non-residential Customized Incentives is 0.64. (This is the same value adopted for all Large Non-Residential Custom Measures.) | Customized Incentives | Major Commercial Contract Group, Volume I, Final Impact Evaluation Report, 2006 – 2008 Program Years, SBW Consulting, Inc., February 10, 2010 | The study determined the following NTGR for IOU programs that included Custom HVAC measures in the results mix: NTGR Sample kWh kW Sizes SCE2517 0.59 0.57 47 SDGE3010 0.70 0.68 33 SDGE3025 0.56 0.54 27 Total: 107 | The study used the SRA methodology to estimate the NTGR values. Three levels of analysis methodologies were used: the Standard – Very Large applied to the largest and most complex projects. The Standard NTGR approach involves a less detailed level of analysis, was applied to projects with moderately high levels of gross savings. The Basic NTGR was applied to all remaining projects. The paid incentive was the main determinant used to assign a project to an assigned rigor level. Sites with incentives of $200,000 or more were assigned to the Standard Very Large rigor level and sites with incentives less than $50,000 were assigned to the Basic rigor level. All other sites were assigned to the Standard rigor level. Supplemental Decision Maker questions were posed to those sites assigned to the Standard and Standard Very Large rigor levels. The NTGR values were calculated as the average of three scores: (1) Timing and Selection, (2) Program Influence, and (3) No-Program. The No-Program score includes adjustments for deferred free-ridership. | There are two ways to derive a representative Chiller Replacement NTGR: (1) Weight averaging the program level values that contain Custom HVAC. This approach yields a kWh weighted value of 0.60, a kW weighted value of 0.59, and an overall average of 0.59. (2) Use the project level NTGR values for chiller projects found among the samples. The main drawback is the low number of chiller projects (14). Averaging the project level values yields an NTGR of 0.56. Thus, the two approaches yield values within a very narrow range, from 0.56 to 0.59. The study does not indicate that there are adjustments for partial free-ridership. However, deferred free-ridership adjustments are apparent in the chiller project level values, but given the low sample size, unaddressed free-ridership issues in the Custom Incentive Programs, and the narrow range of the weighted averages, and the ongoing efforts of the Custom and Ex Ante reviews, removing the effect of deferred free-ridership is not warranted. Recommend that the mid-point of the range, rounded up to 0.58, be used as the Chiller Replacement NTGR value for the Customized Incentive delivery approach. |
| Water- and Air-Cooled Package Heat Pumps and Air Conditioners Air-Cooled Split System Air Conditioners and Heat Pumps | The DEER uses the default NTGR of 0.85 for the Upstream Prescriptive Rebates for Packaged AC Systems from 65 - 135 kBTU/hr in size. For Downstream Prescriptive Rebates, the DEER lists a value of 0.50 for packaged systems under Other HVAC. | Upstream, Downstream | Evaluation Measurement and Verification of the California Public Utilities Commission HVAC High Impact Measures and Specialized Commercial Contract Group Programs, 2006 – 2008 Program Year, Final Consultant Report, Volumes 1 and 2, KEMA, February 10, 2010 | The study estimated NTGR values for the following IOU programs based on vendor surveys only (Table 6-44): NTGR Sample Program kWh kW Sizes PGE2080 0.94 0.94 10 SCE2507 0.96 0.96 10 SDGE3029 0.94 0.94 10 Total: 30 The actual vendor survey sample sizes were found in the study’s Appendix G. | The SRA methodologies were employed along with vendor surveys for several programs. If no customer survey was implemented for the evaluated program, the vendor survey results were used for the NTGR estimates. If a customer survey was implemented, the vendor survey score replaced the Timing and Selection score from the customer survey. Vendor surveys were conducted for all the non-residential programs. A customer survey was conducted only for the SDGE 3029 program. The survey was considered not a good fit for the customer class since it produced a 97% free-ridership value, diametrically the opposite result of the vendor surveys. Hence, the study NTGR results use only the vendor surveys to produce a consistent set of NTGR values. | The report does not separate and present the results by the upstream and downstream delivery approaches. Appendix G indicates that the participating distributors surveyed were from the upstream programs. Also, the study relied solely on the vendor surveys for its results, which tend to produce high NTGR values. The study does not clearly indicate whether the non-residential results were adjusted for either partial and/or deferred free-ridership. The presented NTGR values are the result of only vendor surveys and the VMAX score. It is difficult to conclude that the study results are a reliable indicator of the program’s free-ridership due to the small sample sizes and sole reliance on the vendor surveys. Recommend that no adjustments to the NTGR values for Packaged and Split Systems AC Replacements be made based on the study’s results. |

Table A-3-2: Weight Averaged 2006 – 2008 NTGR Values for the 2011 DEER Update