# Appendix A-5

# Residential HVAC

Table A-5-1: Overview of Methods, Data, and NTGR Results

| DEER Update Technology Group 8 – Residential HVAC Systems and Building Envelope |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| EEM Categories | Current NTGR Values | Program Delivery Approach | Data Sources | NTGR Values in Data Sources | Methods Used in Data Sources to Estimate the NTGR Values | Proposed NTGR Value Estimate for 2011 |
| Room Air Conditioners | 0.70 | Downstream | EM&V of the CPUC Residential Retrofit High Impact Measure Evaluation Report and Appendices, February 8, 2010, The CADMUS Group [Ch. 12] | The study determined the following NTGR values for the IOU programs: kWh Sample PGE 0.41 91 SCE 0.36 629 SDG&E 0.31 377 Total: 1,097 | Self-Report Approach was used to estimate the net-to-gross ratio. The NTG ratio was developed using a consistent method based on measure delivery channel with appropriate decision maker phone SR surveys administered to a representative sample. | The study states for RACs that “…the self-report NTG estimated free-ridership of 58%-74%. This high rate, however, is somewhat inconsistent with the market share data reported by the Department of Energy (DOE). The National ENERGY STAR Retailer Partners are required to annually provide sales data to the DOE for dishwashers, clothes washers, room air conditioners, and refrigerators. In 2006-2008 the National ENERGY STAR retailer partners reported the national market share data for ENERGY STAR room air conditioners was 36%, 50%, and 43%, respectively. While this is not an estimate of free-ridership, it is an indication that sales of ENERGY STAR room air conditioners were in the 36%-50% range throughout the U.S., substantially lower than the self-reported estimate of free-ridership in this study.” The reported Energy Star RAC sales in California are 36% in 2009, 38% in 2008, 51% in 2007, and 21% in 2006. Although retail partners that provide data to Energy Star may vary year to year making reliable direct comparisons difficult, a review of the incremental cost trend and general availability of RAC units by EER level is warranted to consider an adjustment for the final recommended NTGR for the 2013-2014 timeframe. In the interim, we recommend a 0.36 program level weighted average NTGR. |
| HVAC Maintenance: Duct Sealing | 0.78 | Free Tune-up/Repair | EM&V of the California Public Utilities Commission HVAC High Impact Measures and Specialized Commercial Contract Group Programs, 2006 – 2008 Program Year, Final Consultant Report, Volumes 1 and 2, KEMA, February 2010 [Ch. 7] | The electric energy savings weighted results are specific to the duct sealing measures within those programs and not reflective of the total program net-to-gross ratios. NTGR Sample PG&E2000 0.54 211 PGE2078 0.85 103 SCE2501 0.79 102 SCE2507 0.96 112 SDGE3035 0.80 102 Total: 630 | Self-Report Approach was used to estimate the net-to-gross ratio. The program deliveries allowed flexibility to the contractor in terms of the marketing and incentive, especially for RCA and duct-sealing measures. This required a method that supplemented the participant self-report surveys with contractor surveys. The NTGR algorithm derived four separate measurements of free-ridership from different inquiry routes. These four measurements were averaged to derive the final free-ridership estimate at the measure level. | The study has errors in some of the tables for the measure install rates where the correct PASS value was not used. Our weighted averages used for the below review corrected for this problem. An overall program level weighted average, including the CMMHP programs, yields an overall electric energy savings NTGR of 0.64 and a natural gas energy savings NTGR of 0.60. Excluding the CMMHP programs from the overall program averages yields an NTGR 0.58 for electric savings and 0.56 for natural gas savings. The weighted average of the CMMHP only programs yields an NTGR of 0.79 for electric savings and 0.80 for natural gas savings. The NTGR result for the PG&E2000R program appears to be an outlier compared to the other programs. The study did not offer a direct explanation why there is such a large difference. Our review points to two possibilities. First, the PG&E2000R was the only survey with significant number of respondents to all four parts of the free-ridership measurements and the only one with enough respondents to part four (Table 7-13). Hence, it may be the only NTGR result that is based on the average of all four parts, while the others may be the average of two or three of the components. Second, the PG&E2000R survey results had the highest proportion of respondents with an extreme “0.9 – 1” free-ridership ratio that isn’t offset by a higher proportion of respondents in the opposite extreme of “0-0.1” free-ridership ratio range. Not including the PG&E200R results in the program level weighted averages yields NTGR values close to 0.81 for both electric and natural gas savings. The IOU level weighted averages are also a possible alternative and they would be as follows: IOU Electric Nat. Gas PG&E 0.56 0.57 SCE 0.83 - SCG - 0.79 SDG&E 0.80 0.80 Thus, the utility level values again point to the PG&E result as a potential extreme. Taking into consideration that the standalone DTS EEM may become a bundled EEM within the broader scope the IOUs HVAC Maintenance programs, and that it is difficult to judge, without detail examination of the survey responses and scoring, whether the PG&E2000R result is the one valid result and the other program results are outliers or vice-versa, the TG8 team believes that the ’06-’08 NTGR results should not be used to determine a revised NTGR for the standalone DTS EEM. Recommend no change to the current NTGR value of 0.78 for midstream and downstream delivery. |
| HVAC Maintenance: Refrigerant Charge Adjustment | 0.78 | Free Tune-up/Repair | Evaluation Measurement and Verification of the California Public Utilities Commission HVAC High Impact Measures and Specialized Commercial Contract Group Programs, 2006 – 2008 Program Year, Final Consultant Report, Volumes 1 and 2, KEMA, February 2010 [Ch. 5] | The study utilized telephone surveys to estimate the following: NTGR PG&E2000 0.63 PG&E2078R 0.78 SCE2502 0.78 SCE2507 0.97 SDGE3035 0.78 | Similar to Duct Sealing NTG - A participant self-report approach was used to estimate the net-to-gross ratio. The program deliveries allowed flexibility to the contractor in terms of the marketing and incentive, especially for RCA and duct-sealing measures. This required a method that supplemented the participant self-report surveys with contractor surveys. The NTGR algorithm derived four separate measurements of free-ridership from different inquiry routes. These four measurements were averaged to derive the final free-ridership estimate at the measure level. | The program level NTGR results from this study yield an ex post energy weighted average value of 0.88 due primarily to the large ex post savings and high NTGR value for the SCE 2507 program (0.97). The differences among the program results are not well explained in the study. As with the DTS EEM, the PG&E 2000 program low results are affected by the extreme responses within the single family surveys (“0-0.1 FR ratio: 0% and 0.9-1 FR ratio 13.8%). Without the SCE result included in the average, the weighted average drops to 0.68. The midpoint between the two weighted average values is 0.78, the currently adopted value for this measure. In addition, future programs are unlikely to offer the RCA EEM as a standalone measure. Going forward, the EEM is part of the HVAC Quality Maintenance Programs. The programs launched in June 2011. There are significant uncertainties and issues that persist for this measure. It is anticipated that the ongoing 2010-2012 EM&V research efforts may address many of the issues. Given the change in delivery approach for this measure going forward, I do not recommend the study’s NTGR values be used to set the recommended 2011 NTGR value. Recommend no change to the existing NTGR value of 0.78 for midstream delivery. |
| Roof and Wall Insulation | 0.70 | Downstream | EM&V of the CPUC Residential Retrofit HIM Evaluation Report and Appendices, February 8, 2010, The CADMUS Group [Ch. 10] | The study determined the following NTGR values for the IOU programs: kWh kW Therms PG&E 0.25 0.28 0.26 SCG 0.30 0.30 0.30 SDG&E 0.25 0.26 0.25 | The evaluation used the Joint Simple SR NTG Method. The study provides little discussion about these NTGR results. | The study’s approach to determining the effective level of insulation levels was reasonable and the NTGR values all cluster about the same value. This measure has been offered for well over 30 years. The measure may eventually be offered only as part of the Whole House retrofit bundles in the future and cease as a standalone measure. Recommend a program level weighted average of 0.28 for downstream delivery. |
| Air Cooled Packaged and Split System Air Conditioners and Heat Pumps | 0.67, SEER≥14 0.80, SEER≥15 for AC units 0.55 for Heat Pumps | Downstream Prescriptive | Evaluation Measurement and Verification of the California Public Utilities Commission HVAC High Impact Measures and Specialized Commercial Contract Group Programs, 2006 – 2008 Program Year, Final Consultant Report, Volumes 1 and 2, KEMA, February 2010 [Ch. 6] | Telephone and onsite surveys were used to estimate the following NTGRs by IOU: kWh kW SCE2507 0.56 0.56 SDGE3029 0.53 0.54 | Self-Report Approach - The NTG ratio was developed using a consistent method based on measure delivery channel with appropriate decision maker surveys administered to a representative sample. | The two residential AC replacement programs, where the residential/small commercial NTG battery was administered, have consistent NTG ratios of 53% to 56% which are very reasonable considering the amount of “green” messaging from multiple sources during the last five years and the marketing around high efficiency air conditioners. The study provides no distinction by SEER level and system types. The study did determine differences in the savings by replace-on-burnout (ROB), new construction (NC), and early retirement (ER), but did not attempt to determine separate NTGR values by delivery method. Weight averaging the program level NTGR values by energy savings and demand reduction Totals for Overall, ROB/NEW, or ER cluster about the value of 0.55. Recommend the adoption of a statewide value of 0.55. |

Table A-5-2: Weight Averaged 2006 – 2008 NTGR Values for the 2011 DEER Update