# Overall Summary of NTGR Analysis

This section is designed to provide the reader with a very high level overview of the recommended changes in net to gross ratios (NTGR) as part of the DEER 2011 update.  The master table below provides a useful historical perspective on how net to gross ratios for specific measure delivered using a specific program delivery method have evolved over the last five years.  For each measure, the table summarizes the NTGR value, source and method used to derive the value for the 2008 DEER v2.05, the most recent evaluations of 2006-08 programs and the recommended NTGR value for the 2011 DEER update.  The table provides an overall perspective on how the methods used to derive the NTGR values and the NTGR values themselves have evolved over time.

In addition, the table highlights the magnitude of the proposed changes for 2011 compared to the values in the 2008 version of DEER using a color code described immediately above the table.  The color codes identify measures where the proposed NTGR values for 2011 have changed by more than 50% (yellow) or between 20 and 50% (green code) relative to the values in the 2008 DEER data base.  Table 6-1 summarizes all of this data grouped by technology and market segment.  The table uses a consolidated list of Program Delivery Methods that are defined as follows:

- CIDN: Custom or Calculated Incentive based on site or project related parameters; paid downstream to customer.

- CIDI: Custom or Calculated Incentive based on site or project related parameters; paid to a contractor (Direct Install or Mid-stream).

- CI: Custom or Calculated Incentive based on site or project parameters; paid to either a contractor (Direct Install or Mid-stream) or customer (Indexes 1 &2).

- DI: Custom or Prescriptive incentive or reimbursement for services; paid to a contractor (Direct Install or Mid-stream) (Indexes 2 & 6).

- PRDN: Prescriptive (fixed) rebate; paid downstream to customer.

- PRDI: Prescriptive (fixed) rebate or reimbursement for services; paid downstream or midstream to contractor (Direct install or midstream).

- PR: Prescriptive (fixed) rebate or reimbursement for services; paid to either a contractor (Direct Install or Mid-stream) or customer (Indexes 5 & 6).

- OBF: Custom or prescriptive incentive in form of financing; paid to customer via on bill financing.

- PRUP: Prescriptive (fixed) rebate; paid upstream to manufacturer or distributor.

- DSVC: Service provided by the implementer at no cost to the participant. Example: free pump tests from SCE Hydraulic Services Group, etc.

- ALL: All program delivery methods (Indexes 1 - 10).

- ALLXDI: All program delivery methods except Direct Install (Indexes 1, 5, 8, 9, & 10).

Table 6-1:  Master Table of NTGR for Specific Measure/Delivery Combinations Over Time

Key to Highlight Colors for Changes in Values from the 2008 DEER to the Recommended 2011 DEER Updates:  <10%, 10% to 20%, >20% to 50%, >50%

| EEM | Sector | Program Delivery Methods* | 2008 DEER v2.05 |  |  | 2006 – 2008 Evaluation Studies |  |  | Recommended 2011 DEER Updates |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | NTGR | Source | Method | Source | NTGR | Method | NTGR | Building Types or Sales Channels | Utility Specific or Statewide | Proposed Adjustments for 2013-2014 |
| Non-Residential Lighting |  |  |  |  |  |  |  |  |  |  |  |  |
| CFLs | Non-Res | PRDN or CI | 0.81 | 0405 Express Efficiency | SRA | 0608 Small Commercial Contract Group (SCCG) | 0.53 | SRA | 0.53 kWh 0.57 kW | All | Statewide | None |
| CFLs | Non-Res | DI | 0.85 | 0405 SDG&E Small Business | SRA | 0608 SCCG Report | 0.80 | SRA | 0.80 | All1 | Statewide | None |
| Linear Fluorescents | Non-Res | PRDN or CI | 0.78 | 0405 Express Efficiency | SRA & Discrete Choice | 0608 SCCG Report | 0.70 | SRA & Discrete Choice | 0.70 | All1 | Statewide | None |
| Linear Fluorescents | Non-Res | DI | 0.85 | 0405 SDG&E Small Business | SRA & Discrete Choice | 0608 SCCG Report | 0.89 | SRA & Discrete Choice | 0.89 | All1 | Statewide | None |
| Lighting Controls | Non-Res | PRDN | 0.84 | 0405 Express Evaluation | SRA | 0608 SCCG Report | 0.60 | SRA | 0.60 kWh 0.59 kW | All1 | Statewide | None |
| Lighting Controls | Non-Res | DI | 0.85 | 0405 SDG&E Small Business | SRA | 0608 SCCG Report | 0.89 | SRA | 0.89 kWh 0.74 kW | All1 | Statewide | None |
| Residential Lighting |  |  |  |  |  |  |  |  |  |  |  |  |
| Basic CFL | Res | PRUP | 0.60 | Multiple sources | SRA, Discrete Choice, Market Share Forecasts | 0608 KEMA | 0.54 | Multiple Sources, Preponde-rance of Evidence | 0.54 | All Sales Channels | Statewide | None |
| Commercial HVAC Systems |  |  |  |  |  |  |  |  |  |  |  |  |
| HVAC Maintenance: Refrigerant Charge Adjustment | Non-Res | PR | 0.70 | Default | n/a | HVAC HIM and Spec. Commercial | PGE2068 0.54 PGE2080 0.55 SCE 0.94 SDGE 0.70 | SRA | 0.73 | All | Statewide | None |
| RCx Packages | Non-Res | CIDN, PRDN | 0.90 Elec., 1.0 Nat. Gas | ’04-’05 Bldg. Tune-Up, ’04-’05 SD RCx | SRA | RCx Impact Evaluation | kWh kW Therms PGE 0.80 0.76 0.86 SCE 0.86 0.78 0.91 SCG - - 0.92 SDGE 0.75 0.75 0.68 | SRA | 0.80 Elec. 0.82 Nat. Gas | All | Statewide | None |
| Chiller Replacement | Comm. only | CIDN | 0.64 | ’04-’05 SPC Evaluation + SRA Bias | SRA | Major Customer Evaluation | kWh kW SCE 0.59 0.57 SDGE3010 0.70 0.68 SDGE3025 0.56 0.54 | SRA | 0.58 | All | Statewide | None |
| Package and Split System AC and HP Replacement | Non-Res | PRUP | 0.85 | ’04-’05 SW Express and Upstream Evaluation, Adjusted | SRA, Discrete Choice | HVAC HIM and Spec. Commercial | kWh kW PGE 0.94 0.94 SCE 0.96 0.96 SDGE 0.94 0.94 | SRA | 0.85 | All | Statewide | None |
| Residential HVAC Systems and Building Envelope |  |  |  |  |  |  |  |  |  |  |  |  |
| Room Air Conditioner | Res | PRDN | 0.70 | Default ’04-‘05 Res. Retrofit | SRA | Residential Retrofit Evaluation | PGE2000 0.41 SCE2501 0.36 SDGE3024 0.31 | SRA | 0.36 | Single and Multi-Family | Statewide | Increase base NTGR by .10 |
| HVAC Maintenance: Duct Sealing | Res | PR | 0.78 | ’04-‘05 Res. Retrofit | SRA | HVAC HIM and Spec. Commercial | PGE2000 0.54 PGE2078 0.85 SCE2501 0.79 SCE2507 0.96 SDGE3035 0.80 | SRA | 0.78 | Single and Multi-Family, Mobile Home | Statewide | None |
| HVAC Maintenance: Refrigerant Charge Adjustment | Res | PR | 0.78 | ’04-‘05 Res. Retrofit | SRA | HVAC HIM and Spec. Commercial | PGE2000 0.63 PGE2078 0.78 SCE2501 0.78 SCE2507 0.97 SDGE3035 0.78 | SRA | 0.78 | Single and Multi-Family, Mobile Home | Statewide | None |
| Roof and Wall Insulation | Res | PRDN | 0.70 | ’04-‘05 Res. Retrofit | SRA | Residential Retrofit Evaluation | kWh kW Therms PGE 0.25 0.28 0.26 SCG 0.30 0.30 0.29 SDGE 0.25 0.26 0.25 | SRA | 0.28 | Single Family | Statewide | None |
| Air Cooled Packaged and Split System Air Conditioners and Heat Pumps | Res | PRDN | 0.67, Central AC >14 SEER; 0.80, Central AC >15 SEER; 0.55, Heat Pump-Energy Star | ’04-‘05 Res. Retrofit | SRA | HVAC HIM and Spec. Commercial | SCE2507 0.56 SDGE3029 0.53 | SRA | 0.55 | Single Family | Statewide | None |
| Commercial and Industrial Custom |  |  |  |  |  |  |  |  |  |  |  |  |
| Pump-Off Controllers | Industrial | CIDN | 0.54 | Itron-KEMA, 2008 | SRA | Itron, PG&E 2010 & Itron Memo, 2009 | PGE Major 0.45 PGE/SCE Major 0.42 PGE/SCE Independent 0.74 (Combined since there isn’t a simple way to define independents) | SRA | 0.45 | Oil & Gas Producers | Statewide | None |
| Pipe Insulation | Industrial | CIDN | 0.54 | Itron-KEMA, 2008 | SRA | Itron, see footnote 2 in document | SCG 0.72 PGE 0.49 | SRA | 0.71 | Industrial | Statewide | None |
| Steam Traps | Small Comm. | PRDN | 0.54 | Itron-KEMA, 2008 | SRA | Itron, Southern California Industrial and Agricultural | PGE 0.62 SCG 0.70 SDGE 0.72 | SRA | 0.68 | Small Comm. | Statewide | None |
| Steam Traps, High Pressure | Industrial | CIDN | 0.54 | Itron-KEMA, 2008 | SRA | Itron, Footnote 4 in document | 0.52 | SRA | 0.52 | Industrial High Pressure | Statewide | None |
| Steam Traps, Low Pressure | Industrial | CIDN | 0.54 | Itron-KEMA, 2008 | SRA | Itron, Footnote 4 in document | 0.57 | SRA | 0.52 | Industrial Low Pressure | Statewide | None |
| Custom –Electric | Comm. / Industrial | CIDN | 0.54 | Itron-KEMA, 2008 | SRA | Itron Footnote 1 in document, FN3, SBW (2010) and ADM, 2010 | PGE 0.60 SCE Intgrtd. 0.63 SCE Std Prfrm 0.59 PGE High Tech 0.47 PGE Lg Com 0.60 Based on kWh; kW values not statistically significant | SRA | 0.60 (Weighted average based on energy savings from four studies) | Commercial / Industrial | Statewide | None |
| Custom Electric RFP or Bid | Comm. / Industrial | CI | 0.54 | Itron-KEMA, 2008 | SRA | ADM, 2010 | SDGE3010 0.70 | SRA | 0.70 | Commercial / Industrial | Statewide | None |
| Custom Gas | Comm. / Industrial | CIDN | 0.64 | Custom Default | SRA | Itron, PG&E 2010; see Footnote 1 in document | PG&E 0.31 SCG 0.54 | SRA | 0.35 | Industrial | Statewide | None |
| Agricultural Greenhouse Envelope – Heat curtains | Agri | PRDN, CIDN | 0.50 | kW Engineering / Phil Willems, 2007 | SRA | KEMA, PG&E Agricultural and Food Processing | 0.63 | SRA | 0.63 | Agricultural | Statewide | None |
| Pump Tests | Agri | PRDI, DSVC | 0.64 | Itron-KEMA, 2008 | SRA | Itron, Footnote 2 in document | 0.63 | SRA | 0.63 | Agricultural | Statewide | None |
| Agricultural Greenhouse Envelope – Infrared Film | Agri | PRDN, CIDN | 0.50 | kW Engineering / Phil Willems, 2007 | SRA | KEMA, 2010 | 0.46 | SRA | 0.46 | Agricultural | Statewide | None |
| All Other Agricultural Measures – Electric | Agri | CIDN | 0.79 | kW Engineering / Phil Willems, 2007 | SRA | KEMA, 2010 | 0.70 | SRA | 0.70 | Agricultural | Statewide | None |
| All Other Agricultural Measures - Natural Gas | Agri | CIDN | 0.72 | kW Engineering / Phil Willems, 2007 | SRA | KEMA, 2010 | 0.69 | SRA | 0.70 | Agricultural | Statewide | None |
| Residential and Non-Residential Hot Water Heating Systems |  |  |  |  |  |  |  |  |  |  |  |  |
| Faucet Aerators | Res | DI | 0.85 | Default NTGR for direct install for hard to reach | Default | Cadmus, Res Retrofit 2006-08 | 0.59 Single Family 0.65 Multi family | SRA | 0.59 0.65 | Single Family Multi Family | Statewide | None |
| Low Flow Showerheads | Res | DI | 0.85 | Default NTGR for direct install for hard to reach | Default | Cadmus, Res Retrofit 2006-08 | SCG(MF) 0.72 SDGE(MF) 0.68 SDG&E(SF) 0.70 | SRA | 0.70 | All | Statewide | None |
| Residential Gas Storage Water Heater EF>0.62 <0.65 Cap>30 gallons | Res | PRDN | 0.58 | Itron, 2004-05 Residential Retrofit | SRA, Discrete Choice | Cadmus, Res Retrofit 2006-08 | SDGE 0.23 PGE 0.18 | SRA | 0.23 | All | Statewide | None |
| Residential Appliances |  |  |  |  |  |  |  |  |  |  |  |  |
| Clothes Washers MEF 10% > than Energy Star | Res | PRDN | 0.81 | Itron, 2007 | SRA | Cadmus, 2010 | PGE2000 0.31 SDGE3023 0.31 SCG3517 0.29 | SRA | 0.31 | All | Statewide | None |
| Refrigerator Recycling | Res | PRDI | 0.614 | ADM, 2008 | SRA participants and non-participants | Cadmus, 2010 | PGE2000 0.51 SCE2500 0.56 SDGE3028 0.58 | Self Report and Discrete Choice | 0.53 | All | Statewide | None |
| Freezer Recycling | Res | PRDI | 0.702 | ADM, 2008 | SRA participants and non-participants | n/a | Not Evaluated | n/a | 0.70 | All | Statewide | None |
| Commercial Refrigeration |  |  |  |  |  |  |  |  |  |  |  |  |
| Door Gaskets | Non-Res | ALL | 0.46 | Itron, December 2008 | SRA | ADM, Feb. 2010 | 0.19 | SRA | 0.19 | Supermarkets, Convenience Stores, Restaurants | Statewide | None |
| Strip Curtains | Non-Res | PRDN | 0.76 | Itron, Dec. 2008 | SRA | ADM, Feb. 2010 | 0.40 | SRA | 0.40 | Supermarkets, Convenience Stores, Restaurants | Statewide | None |
| Default NTGR |  |  |  |  |  |  |  |  |  |  |  |  |
| No Evaluated NTGR – Hard to Reach | Res | DI | 0.85 | DEER staff | Lit Search | Not Evaluated | See Section 15 for a discussion of how the NTGR values were derived. | n/a | 0.85 | All | Statewide | None |
| No Evaluated NTGR - New or emerging technologies in programs <2 years | Res, Comm. | ALLXDI | 0.70 | DEER staff | Lit Search | Not Evaluated | See Section 15 for a discussion of how these NTGR values were derived. | n/a | 0.70 | All | Statewide | None |
| No Evaluated NTGR - Existing Measures with same delivery mechanism for > 2 years | Industrial / Agri/Comm | ALLXDI | 0.54 | DEER staff | Lit Search | Not Evaluated | See Section 15 for a discussion of how these NTGR values were derived. | n/a | 0.60 | All | Statewide | None |
| No Evaluated NTGR - Existing Measures with same delivery mechanism for > 2 years | Res | ALLXDI | n/a | n/a | n/a | Not Evaluated | See Section 15 for a discussion of how these NTGR values were derived. | n/a | 0.55 | All | Statewide | None |

*The Program Delivery Methods in this table and in the database update use the following convention:

- CIDN: Custom or Calculated Incentive based on site or project related parameters; paid downstream to customer. Database Code: CustIncentDown.

- CIDI: Custom or Calculated Incentive based on site or project related parameters; paid to a contractor (Direct Install or Mid-stream). Database Code: CustIncentDI.

- CI: Custom or Calculated Incentive based on site or project parameters; paid to either a contractor (Direct Install or Mid-stream) or customer (Indexes 1 &2). Database Code: CustIncent.

- DI: Custom or Prescriptive incentive or reimbursement for services; paid to a contractor (Direct Install or Mid-stream) (Indexes 2 & 6). Database Code: DirInstall.

- PRDN: Prescriptive (fixed) rebate; paid downstream to customer. Database Code: PreRebDown.

- PRDI: Prescriptive (fixed) rebate or reimbursement for services; paid downstream or midstream to contractor (Direct install or midstream). Database Code: PreRebDI.

- PR: Prescriptive (fixed) rebate or reimbursement for services; paid to either a contractor (Direct Install or Mid-stream) or customer (Indexes 5 & 6). Database Code: PreReb.

- OBF: Custom or prescriptive incentive in form of financing; paid to customer via on bill financing. Database Code: OnBill.

- PRUP: Prescriptive (fixed) rebate; paid upstream to manufacturer or distributor. Database Code: PreRebUp.

- DSVC: Service provided by the implementer at no cost to the participant. Example: free pump tests from SCE Hydraulic Services Group, etc. Database Code: DirectSvc.

- ALL: All program delivery methods (Indexes 1 - 10). Database Code: All.

- ALLXDI: All program delivery methods except Direct Install (Indexes 1, 5, 8, 9, & 10). Database Code: AllxDI.

The non-residential lighting NTGR values are available by specific building types in the “Recommended Updates to Net-to-Gross Ratios for Non-residential Lighting Measures” document and can be used to exclude a building type from the weighted NTGR value and a new weighted value estimated.

Consider excluding T-12 and first generation T-8 fixtures as of July 2012 by designating a zero NTGR after new federal standards become effective.

Itron, PG&E Fabrication, Process and Manufacturing Group, February 2010.

Itron, July 7, 2009 Early Feedback Memo to Support CPUC and IOU Planning Regarding Pump-Off Controller Interventions in 2009-2011.

SBW Major Commercial Contract Group - Final Impact Evaluation Report 2006-2008 Program Years.

ADM, Commercial Facilities Contract Group - 2006-2008 Direct Impact Evaluation, February 2010.

Ibid

2004-2005 Evaluation, Measurement and Verification Report California Multi Measure Farm Program 1354-04 and 1360-04, kW Engineering, March 2007 (CALMAC Study ID: ENS0002.01)

2006-2008 Evaluation Report: PG&E Agricultural and Food Processing Program; greenhouse Heat Curtain and Infrared Film Measures, KEMA Inc. Feb. 2010 (CALMAC Study ID: CPU0024.01)

2006-2008 Evaluation Report: PG&E Agricultural and Food Processing Program; Greenhouse Heat Curtain and Infrared Film Measures, KEMA Inc., February 2010 (CALMAC Study ID: CPU0024.01)

Itron Inc, 2004/2005 Statewide Residential Retrofit Single-Family Energy Efficiency Rebate Evaluation; CPUC-ID#:1115-04, September 2007.

Itron Inc, 2004/2005 Statewide Residential Retrofit Single-Family Energy Efficiency Rebate Evaluation; CPUC-ID#:1115-04, September 2007.

Evaluation Study of the 2004-2005 Statewide Residential Appliance Recycling Program, ADM, April, 2008

2004/2005 Statewide Express Efficiency and Upstream HVAC Program Impact Evaluation, Itron, Inc., December 2008.

Commercial Facilities Contract Group 2006-2008 Direct Impact Evaluation Study, Volumes 1 and 3, ADM and Associates, February 2010.

Refer to the analysis paper for the reasoning and criteria used to develop the default NTGR values.