# ES

Executive Summary

This report provides the documentation for the recommended parameter updates to the DEER (Database for Energy Efficiency Resources)  to reflect the results of the Energy Division’s 2006-08 impact evaluations and recent data on market conditions. Details on the methods used to decide which measures should be updated and the criteria used to determine if the new data were sufficiently robust to replace existing estimates are provided in the body of the report. This summary focuses on the significant changes proposed for use in estimating the ex ante gross and net energy and peak savings associated with the installation of energy efficiency measures for the 2013-2014 bridge portfolio.

## ES.1	Gross Load Impact Updates

The DEER team focused on assessing the adequacy of the data collected in the 2006-08 impact evaluations for the 2006-08 energy efficiency portfolios.  The DEER team analysis revealed that sufficient data was only available to support load impact updates, given the Commission’s direction and criteria for the bridge update, to three of the ten technology market segments analyzed:  residential lighting, non-residential lighting and hot water heating systems.  The DEER team analysis supports changes in daily hours of use for residential CFL’s, changes in the baseline energy use estimates and remaining useful life estimates for linear fluorescent lighting systems and slight changes to the input values used to estimate savings for low flow showerheads and faucet aerators that reduce the energy usage of residential hot water heating systems.

### ES.1.1  Residential Lighting Impacts

The proposed changes for residential lighting systems and their estimated effect on energy saving estimates relative to current DEER values are summarized in Table ES-1.  The reduced hours of usage leads to reduced (-) unit energy savings (UES) estimates for interior lighting and increased (+) unit energy savings estimates for the exterior CFLs.

Table ES-1: Proposed Changes in Hours of Use for Residential Lighting and Impact on Unit Savings UES Estimate

| Measure | Updated (2011) Daily Hours of Use | 2008 DEER Daily Hours of Use | % change in Unit Energy Savings UES |
| --- | --- | --- | --- |
| Interior CFL’s | 2.18 | 1.48 | -32% |
| Exterior CFL’s | 3.42 | 3.10 | +10% |

Table ES-2 compares the delta watts reduction ratio (WRR) estimated in the 2008 DEER to the WRR estimated in the 2011 update. The WRR is used to estimate the change in wattage between the CFL installed and the incandescent bulbs replaced. This estimate is combined with average daily hours of usage to estimate the unit energy savings associated with the installation of CFLs. An increase in the WRR will lead to an increase in savings estimates for interior reflector and exterior CFL bulbs and the small decrease in WRR for all other interior bulbs will lead to a corresponding decrease in unit energy savings estimates for the majority of basic spiral bulbs in interior applications.

The updated 2011WRR for three separate types of bulbs were calculated based on a significant increase in available wattage data contained in the 2006-08 impact evaluation data sets for reflectors, interior and exterior CFL bulb. These data are expected to lead to more accurate estimates of savings relative to the single WRR ratio used for all applications in 2008.  Details of the methods used to update these estimates are provided in Section 3.

Table ES-2: Wattage Reduction Ratio Recommendations (WRR) for Short Term Update

| Location | Lamp Shape | 2011 DEER WRR | 2008 DEER WRR |
| --- | --- | --- | --- |
| INTERIOR | REFLECTOR | 4.09 | 3.53 |
| INTERIOR | ALL OTHER | 3.47 | 3.53 |
| EXTERIOR | All | 4.07 | 3.53 |

### ES.1.2  Non-Residential Lighting Impacts

As a result of changes in federal appliance standards in 2005 and 2009, the DEER team believes that older (or standard or pre-EPACT) magnetic ballasts cannot reasonably be used as a basis for determining baseline fixture wattage. For this reason, baseline wattages of fixtures in the DEER lighting fixture tables that include pre-EPACT magnetic ballasts have been revised to assume ES magnetic ballasts. The impact of this change is to reduce the assumed baseline wattage used in the DEER models to estimate energy savings for a range of linear fluorescent systems by 10 % to 12%. In addition the federal lighting standard, EPACT, will prohibit of the shipment of most 4 and 8 foot T12 lamps as of July 14, 2012. This means that, at the end of a T12 lamp’s useful life, it will have to be replaced with a T8 lamp.  The DEER team has therefore revised the remaining useful life (RUL) to be based on lamp life rather than ballast life for measures with baseline fixtures that include T12 lamps. This will lead to significant reductions in the RUL for some lamp systems ranging from 40% to 90% depending on the building type. Estimates on how these changes will affect electricity savings for a range of fixture types can be found in Section 4.

### ES.1.3  Residential Water Heating System Impacts

Table ES-3 and Table ES-4 summarize the recommended changes in unit electricity and natural gas saving impacts for faucet aerators and low flow showerheads. The final column shows the percentage change in UES values resulting from the 2011 update.  In most cases the result of the updated unit energy savings inputs are small, within plus or minus five percent of the existing DEER estimate.

Table ES-3: Recommended Statewide Average Electric Unit Energy Impacts for Faucet Aerators and Low-Flow Showerheads

| Measure Name | Bldg. Type | 2005 DEER UEC* | 2009 UEC | ESF* | 2005 DEER Elec Impact (kWh/Unit) | Proposed Elec Impact (kWh/Unit) | 2005 DEER Peak Impact (Watts/Unit) | Proposed Peak Impact (Watts/Unit) | % Change Energy Impact |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Faucet Aerators | SF | 2,384 | 3,112 | 3% | 91.2 | 93.4 | 20 | 21 | +2% |
| Faucet Aerators | MF | 1,914 | 1,610 | 3% | 47.6 | 48.3 | 10 | 11 | +1% |
| Low Flow Showerhead | SF | 2,384 | 3,112 | 4% | 121.6 | 124.5 | 27 | 27 | +2% |

*UEC – Unit Energy Consumption, ESF – Energy Savings Fraction

Table ES-4: Recommended Statewide Average Natural Gas Unit Energy Impacts for Faucet Aerators and Low-Flow Showerheads

| Measure Name | Bldg. Type | 2005 DEER UEC | 2009 UEC | ESF | 2005 DEER Gas Impact (Therms/Unit) | Proposed Gas Impact (Therms/Unit) | % Diff. |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Faucet Aerators | SF | 110 | 189 | 3% | 6.0 | 5.7 | -4% |
| Faucet Aerators | MF | 102 | 179 | 3% | 9.0 | 5.4 | -40% |
| Low Flow Showerhead | SF | 110 | 189 | 3% | 8.0 | 7.6 | -5% |

The DEER team is recommending the use of statewide savings values for both measures because the estimated direct energy savings estimates at the utility level were not significantly different.  Most of these changes in savings estimates are driven by changes in the estimated unit energy consumption of gas and electric water heating systems resulting from the 2009 Residential Appliance Saturation study. Details on the differences in unit energy consumption estimates are provided in Section 5.

## ES.2	Net to Gross Ratio Update

The DEER team proposes updates to net to gross ratios (NTGR) for a variety of energy efficiency measures and program delivery method combinations based on its review of the 2006-08 impact evaluation studies.  For each measure, the DEER team compared the strengths and weaknesses of the latest evaluation method used to derive NTGR results and contrasted this to the relative strength of the method used to estimate NTGR for the 2008 DEER update.  This includes an analysis of the relative merits of the methods and sampling plans used to derive NTGR estimates for the existing DEER data base and the evaluation methods used to produce new NTG results in 2006-08 evaluation studies.

The tables that follow summarize the recommended NTGR by energy efficiency measure (EEM), program delivery method and market segment. Following each table, the most significant changes in NTGR for specific technologies are identified.

Table ES-5 summarizes the recommended NTGR updates for the residential and non-residential lighting programs.

Table ES-5: Recommended Changes in Net to Gross Ratios (NTGR) for Residential and Non-Residential Lighting Technologies by Program Delivery Method (Statewide Values)

| EEM | Sector | Program Delivery Method | NTGR 2008 Version-2.05 | NTGR Derived from 2006-08 Studies | NTGR Recommended for 2011Update |
| --- | --- | --- | --- | --- | --- |
| CFLs | Non-Res | Prescriptive Downstream or Customized rebate | 0.81 | 0.53 | 0.53 kWh 0.57 kW |
| CFLs | Non-Res | Direct Install | 0.85 | 0.80 | 0.80 |
| Linear Fluorescents | Non-Res | Prescriptive Downstream or Custom rebate | 0.78 | 0.70 | 0.70 |
| Linear Fluorescents | Non-Res | Direct Install | 0.85 | 0.89 | 0.89 |
| Lighting Controls | Non-Res | Prescriptive Rebate Downstream | 0.84 | 0.60 | 0.60 kWh 0.59 kW |
| Lighting Controls | Non-Res | Direct Install | 0.85 | 0.89 | 0.89 kWh 0.74 kW |
| Basic CFL | Res | Prescriptive Rebate Upstream | 0.60 | 0.54 | 0.54 |

The most significant proposed NTGR changes include the revised NTGR for residential and non-residential CFLs. The documentation for these changes can be found in sections 6 and 7.

Table ES-6 provides the recommended NTGR changes for HVAC systems and related building envelope measures for the residential and non-residential sectors.

Table ES-6: Recommended Changes in NTGR for Residential and Non-Residential HVAC Systems by Program Delivery Method

| EEM | Sector | Program Delivery Method | NTGR 2008 Version-2.05 | NTGR Derived from 2006-08 Studies | NTGR Recommended for 2011Update |
| --- | --- | --- | --- | --- | --- |
| HVAC Maintenance: Refrigerant Charge Adjustment | Non-Res | Prescriptive Rebate | 0.70 | PGE2068 0.54 (e) PGE2080 0.55 (e) SCE 0.94 (e) SDGE 0.70 (e) | 0.53 kWh 0.57 kW |
| Retrocommissioning Packages | Non-Res | Customized Incentives, Downstream rebate | 0.90 (e), 1.0 (ng) | PGE 0.80 (e) 0.86 (ng) SCE 0.86 (e) 0.91 (ng) SCG 0.92 (ng) SDGE 0.75 (e) 0.68 (ng) | 0.80 |
| Chiller Replacement | Comm. only | Downstream Customized Incentives | 0.64 | SCE 0.59 (e) SDGE3010 0.70 (e) SDGE3025 0.56 (e) | 0.70 |
| Package and Split System AC and HP Replacement | Non-Res | Prescriptive Rebate Upstream | 0.85 | PGE 0.94 (e) SCE 0.96 (e) SDGE 0.94 (e) | 0.89 |
| Room Air Conditioner | Res | Prescriptive Downstream rebate | 0.70 | PGE2000 0.41 (e) SCE2501 0.36 (e) SDGE3024 0.31 (e) | 0.36 |
| HVAC Maintenance: Duct Sealing | Res | Prescriptive Rebate | 0.78 | PGE2000 0.54 (e) PGE2078 0.85 (e) SCE2501 0.79 (e) SCE2507 0.96 (e) SDGE3035 0.80 (e) | 0.78 |
| HVAC Maintenance: Refrigerant Charge Adjustment | Res | Prescriptive Rebate Midstream | 0.78 | PGE2000 0.63 (e) PGE2078 0.78 (e) SCE2501 0.78 (e) SCE2507 0.97 (e) SDGE3035 0.78 (e) | 0.78 |
| Roof and Wall Insulation | Res | Prescriptive Rebate Downstream | 0.70 | PGE 0.25 (e) 0.26 (ng) SCG 0.30 (e) 0.29 (ng) SDGE 0.25 (e) 0.25 (ng) | 0.28 |
| Air Cooled Packaged and Split System Air Conditioners and Heat Pumps | Res | Downstream rebates | 0.67, Central AC >14 SEER; 0.80, Central AC >15 SEER; 0.55, Heat Pump-Energy Star | SCE2507 0.56 (e) SDGE3029 0.53 (e) | 0.55 |

(e) = NTGR for electricity savings, (ng) = NTGR estimates for natural gas savings.

The most significant changes in recommended NTGR for the HVAC market segments are for residential room air conditioners, roof and wall insulation, and air cooled and packaged split system air conditioners and heat pumps. These suggested NTGR changes will reduce estimated net savings by 48% for room air conditioners, 60% for roof and wall insulation, and 18% for residential central air conditioners.

Table ES-7, summarizes the remaining recommended NTGR changes for Energy Efficiency Measures (EEM) delivered using custom rebates in the large commercial and industrial sector, and for the Commercial Refrigeration market segment. The most significant upward revisions to the recommended NTGR are for pipe insulation, steam traps for small commercial applications, and custom electric measures. The most significant downward adjustments to NTGR are for custom gas measures.

Table ES-7: Recommended Changes in Net to Gross Ratio (NTGR) for the Remaining Commercial and Industrial Measures

| EEM | Sector | Program Delivery Methods | NTGR 2008 Version-2.05 | NTGR Derived from 2006-08 Studies | NTGR Recommended for 2011Update |
| --- | --- | --- | --- | --- | --- |
| Commercial and Industrial Custom |  |  |  |  |  |
| Pump-Off Controllers | Industrial | Calculated and Customized Incentives Downstream | 0.54 | PGE Major 0.45 PGE/SCE Major 0.42 PGE/SCE Independent 0.74 | 0.45 |
| Pipe Insulation | Industrial | Calculated and Customized Incentives Downstream | 0.54 | SCG 0.72 PGE 0.49 | 0.71 |
| Steam Traps | Small Comm. | Prescriptive Rebates | 0.54 | PGE 0.62 SCG 0.70 SDGE 0.72 | 0.68 |
| Steam Traps, High Pressure | Industrial | Calculated and Customized Incentives | 0.54 | 0.52 | 0.52 |
| Steam Traps, Low Pressure | Industrial | Calculated and Customized Incentives | 0.54 | 0.59 | 0.59 |
| Custom Electric | Comm. / Industrial | Calculated and Customized Incentives Downstream | 0.54 | PGE 0.60 SCE Intgrtd. 0.63 SCE Std Prfrm 0.59 PGE Hi Tech 0.47 PGE Lg Com 0.60 | 0.60 |
| Custom Electric-RFP or Bid | Comm. / Industrial | Customized Incentives | 0.54 | SDGE3010 0.70 | 0.70 |
| Custom Gas | Comm. / Industrial | Calculated and Customized Incentives Downstream | 0.64 | PG&E 0.31 SCG 0.54 | 0.35 |
| Agricultural Greenhouse Envelope – Heat curtains | Agri | Prescriptive Rebate Downstream, Calculated and Customized Incentives | 0.50 | 0.63 | 0.63 |
| Pump Tests | Agri | Service Provided to Customer at no cost | 0.64 | 0.63 | 0.63 |
| Agricultural Greenhouse Envelope – Infrared Film | Agri | Prescriptive Rebate Downstream, Calculated and Customized Incentives | 0.50 | 0.46 | 0.46 |
| All Other Agricultural Measures – Electric | Agri | Calculated and Customized Incentives Downstream | 0.79 | 0.70 | 0.70 |
| All Other Agricultural Measures - Natural Gas | Agri | Calculated and Customized Incentives Downstream | 0.72 | 0.69 | 0.70 |
| Commercial Refrigeration |  |  |  |  |  |
| Door Gaskets | Non-Res | All delivery methods | 0.46 | 0.19 | 0.19 |
| Strip Curtains | NRES | Downstream Prescriptive Rebates | 0.76 | 0.40 | 0.40 |

Table ES-8 summarizes Residential Water heating systems and Residential appliances. The most significant downward revisions to the NTGR are for faucet aerators and residential gas storage water heaters. These changes will lead to estimated reductions in net unit energy savings of roughly 25% for faucet aerators and 60% for residential gas storage water heaters.

Table ES-8: Recommended Changes in Net to Gross Ratio (NTGR) for Hot Water Heating Systems and Residential Appliances

| EEM | Sector | Program Delivery Methods | NTGR 2008 Version-2.05 | NTGR Derived from 2006-08 Studies | NTGR Recommended for 2011Update |
| --- | --- | --- | --- | --- | --- |
| Residential and Non-Residential Hot Water Heating Systems |  |  |  |  |  |
| Faucet Aerators | Res | Direct Install | 0.85 | 0.59 Single Family 0.65 Multi family | 0.59 0.65 |
| Low Flow Showerheads | Res | Direct Install | 0.85 | SCG(MF) 0.72 SDGE(MF) 0.68 SDG&E(SF) 0.70 | 0.70 |
| Residential Gas Storage Water Heater EF>0.62 <0.65 Cap>30 gallons | Res | Prescriptive Downstream Rebate | 0.58 | SDGE 0.23 PGE 0.18 | 0.23 |
| Residential Appliances |  |  |  |  |  |
| Clothes Washers MEF 10% > than Energy Star | Res | Prescriptive Downstream Rebate | 0.81 | PGE2000 0.31 SDGE3023 0.31 SCG3517 0.29 | 0.31 |
| Refrigerator Recycling | Res | Prescriptive Rebate: Downstream or Midstream | 0.614 | PGE2000 0.51 SCE2500 0.56 SDGE3028 0.58 | 0.53 |
| Freezer Recycling | Res | Prescriptive Rebate: Downstream or Midstream | 0.702 | Not Evaluated | 0.70 |

Table ES-9 contain recommended revisions to default NTGR by target market sector.

Table ES-9: Recommended Changes in Default Net to Gross Ratio (NTGR)

| EEM | Sector | Program Delivery Methods | 2008 DEER v2.05 | 2006 – 2008 Evaluation Studies | Recommended 2011 DEER Updates |
| --- | --- | --- | --- | --- | --- |
| Default NTGR |  |  |  |  |  |
| No Evaluated NTGR, 2 years of less | All | Direct Install for Hard to Reach markets only | 0.85 | See Section 15 for derivation of NTGR values | 0.85 |
| No Evaluated NTGR, 2 years or less | Res, Comm., Industrial | All | 0.70 | See Section 15 for derivation of NTGR values | 0.70 |
| No Evaluated NTGR, greater than 2 years | Industrial, Comm, Agri | All | 0.54 | See Section 15 for derivation of NTGR values | 0.60 |
| No Evaluated NTGR, greater than 2 years | Res, | All | n/a | See Section 15 for derivation of NTGR values | 0.55 |

The final set of recommended changes, entitled Default NTGR, represent the DEER team recommendations for use in estimating net savings for those measures in utility portfolios that do not have an evaluated NTGR contained in the DEER database. These proposed values were informed by a review of the average NTGR found by sector in the 2006-08 energy efficiency program evaluations shown in Table ES-10 below.

Table ES-10: Weighted Average NTGR Across All Evaluated Programs in 2006-08

| NTGR Aggregation Level | Savings Weighted NTGR |
| --- | --- |
| Statewide across all programs | 0.58 |
| Residential Sector Programs | 0.56 |
| Commercial Sector Programs | 0.61 |
| Industrial Programs | 0.59 |
| Agricultural Programs | 0.61 |

Details of how the NTGR values were derived for four separate broad categories of energy efficiency measure as a function of number of years in the market and market sector are presented in Section 15.

Preliminary estimates of updated hours of use and delta watts ratios were developed for small commercial building types (See Appendix A-2.1) but were judged not to require more extensive analysis than was possible, given available time for this bridge update, in order to be used to update the current DEER values.

The one exception is the 40% decrease in savings estimates associated with low flow showerheads for multifamily dwellings.  The DEER team believes the baseline savings estimate for this application should have been 3.1 therms per day (102 therms (base UEC) *.03) not 9.6 therms/day as is listed in the current database. Thus the increase in baseline UEC for this application is more likely to lead to an increase in natural gas savings since the estimated energy savings fraction did not change.   Details are provided in Section 5.

These estimates do not include the potential indirect savings from the embedded energy used to deliver water to residential dwellings.

Separate NTGR estimates are recommended for energy (kwh) and peak (kW) savings estimates due to different weighting of customer building with different coincident demand factors

NTGR Values are reported here for kWh and therms by each utility by program number.

See footnote 4, Ibid.

Refer to Section 15 for the reasoning and criteria used to develop the default NTGR values.