## Slide 1: Net Load Peak ELCC
2016-02-18
Draft Results / Work in Progress

## Slide 2: Exceedance Methodology Gap Problem
Chart: 
Managed Load | 23968.4514 | 23109.8336 | 22407.141 | 22024.7472 | 22011.3584 | 22174.0019 | 22678.513 | 22598.111 | 25000 | 27000 | 29000 | 33000 | 35000 | 36000 | 35000 | 33000 | 31000 | 28542.7 | 29211.9081 | 28824.2602 | 28172.8257 | 27099.6768 | 25208.5761 | 23306.2995
Net Load | 23482.8739 | 22619.2732 | 21915.8725 | 21542.5504 | 21541.8877 | 21696.3968 | 22174.4534 | 21237.137 | 19249.2561 | 17495.3974 | 16771.6424 | 16640.3634 | 16695.4111 | 17037.9475 | 18437.2836 | 20897.4634 | 23934.7424 | 28042.7 | 28736.3297 | 28348.8478 | 27689.2567 | 26611.3506 | 24726.1306 | 22829.8878
Reserve Margin
Net Load Need
Gap
Peak Load Need
How Much Solar and Wind Reduce Net Peak
Wind and Solar QC
Non-Solar and Non-Wind RA Resources
Using a single month of load/wind/solar data we can determine what ELCC of solar and wind is needed to eliminate the gap problem (i.e. make the gap 0).
RA Requirement after Solar and Wind
Draft Results / Work in Progress

## Slide 3: Net Load Peak based ELCC could provide a useful data point to help validate LOLE ELCC results
Comparison of ELCC Methods
  Loss of load event based ELCC analysis, such as that performed using SERV-M, calculates a resource’s contribution towards reducing the frequency of loss of load events (LOLE-ELCC)
  A Net Load Peak based ELCC calculates a resource’s contributions towards reducing the net load peak (NLP-ELCC)
A NLP-ELCC may not exactly match the results of a LOLE-ELCC, but SCE believes it provides intuitive results that will be useful data points when validating ELCC values of resources.
SCE is interested in party feedback on the idea of using a NLP-ELCC to validate the efficacy of LOLE-ELCC results.

## Slide 4: July 2017 Solar Results Comparison
Energy Division ELCC Results: 57.8%
Gap Created: 2,000 MW
ELCC to Eliminate Gap: 31.2%
Draft Results / Work in Progress
Chart: July 2017 - Average Load vs Average PV Production
Net Load | 25381.9778 | 24114.3554 | 23365.0802 | 23074.6719 | 23254.3363 | 24054.7894 | 24671.7557 | 25109.1583 | 25057.8108 | 25327.3206 | 25969.3679 | 26726.3899 | 27547.4567 | 28804.7261 | 29931.088 | 31078.7861 | 32378.455 | 33429.9569 | 34370.0699 | 34540.2558 | 34381.1633 | 33087.2398 | 30402.1175 | 27605.9848
PV | 3.8606 | 3.9094 | 2.5883 | 0.77078 | 0.68938 | 0.69445 | 329.3596 | 1567.6433 | 2973.3522 | 4036.2458 | 4789.7235 | 5119.0157 | 5216.3663 | 5201.6117 | 5105.544 | 4739.3213 | 3935.429 | 2802.5258 | 1371.5716 | 235.7905 | 4.8218 | 4.724 | 4.7516 | 4.3865
Managed Load | 27837.0743 | 26421.0992 | 25520.4407 | 25039.2452 | 25105.7431 | 25781.2744 | 26558.0098 | 28112.1905 | 29595.7285 | 30878.9021 | 32207.0192 | 33344.8123 | 34409.0312 | 35782.2765 | 37031.29 | 38082.0499 | 38811.8598 | 38943.1645 | 38430.4839 | 37361.6088 | 37014.1827 | 35754.2553 | 33023.5788 | 30155.4894

## Slide 5: April 2017 Solar Results Comparison
Chart: April 2017 - Average Net Load vs Average PV Production
Net Load | 19699.1246 | 18961.7137 | 18619.2197 | 18491.0661 | 18882.605 | 19868.1764 | 21251.2429 | 21333.7882 | 19995.0782 | 18804.3578 | 18210.8202 | 18073.4284 | 18021.3687 | 18214.7745 | 18364.2797 | 18829.06 | 19824.9849 | 21470.1629 | 23769.6748 | 25857.1358 | 26695.9839 | 25429.4999 | 23337.1965 | 21149.2314
PV | -8.0756 | -13.4967 | -13.6395 | -13.7465 | -13.8006 | -14.1405 | 112.4708 | 1279.9071 | 3058.9018 | 4264.6337 | 5037.685 | 5252.6097 | 5278.3429 | 5205.0127 | 5075.2405 | 4675.4154 | 3791.2989 | 2393.3885 | 697.5916 | 17.381 | -8.6228 | -12.5284 | -12.56 | -8.2915
Managed Load | 21680.3457 | 20824.4205 | 20438.5406 | 20289.0389 | 20574.1114 | 21447.5631 | 22915.6329 | 24092.1459 | 24741.2687 | 25039.0444 | 25248.2298 | 25287.193 | 25255.8652 | 25444.1212 | 25582.3961 | 25791.124 | 26012.0119 | 26306.9686 | 26680.0929 | 27894.0633 | 28756.6132 | 27493.1069 | 25405.7572 | 23222.2099
Energy Division ELCC Results: 57.8%
Gap Created: 4,000 MW
ELCC to Eliminate Gap: 0%
Draft Results / Work in Progress

## Slide 6: July 2017 Wind Results Comparison
Chart: July 2017 - Average Net Load vs Average Wind Production
Net Load | 25381.9778 | 24114.3554 | 23365.0802 | 23074.6719 | 23254.3363 | 24054.7894 | 24671.7557 | 25109.1583 | 25057.8108 | 25327.3206 | 25969.3679 | 26726.3899 | 27547.4567 | 28804.7261 | 29931.088 | 31078.7861 | 32378.455 | 33429.9569 | 34370.0699 | 34540.2558 | 34381.1633 | 33087.2398 | 30402.1175 | 27605.9848
Wind | 2463.3538 | 2314.9424 | 2164.806 | 1976.8194 | 1866.7448 | 1744.8082 | 1578.659 | 1377.646 | 1145.1481 | 899.0817 | 753.8439 | 733.1587 | 811.5682 | 951.0813 | 1208.254 | 1519.1281 | 1792.4547 | 2047.2156 | 2267.2963 | 2498.0444 | 2639.3906 | 2675.0055 | 2629.0125 | 2557.2019
Managed Load | 27837.0743 | 26421.0992 | 25520.4407 | 25039.2452 | 25105.7431 | 25781.2744 | 26558.0098 | 28112.1905 | 29595.7285 | 30878.9021 | 32207.0192 | 33344.8123 | 34409.0312 | 35782.2765 | 37031.29 | 38082.0499 | 38811.8598 | 38943.1645 | 38430.4839 | 37361.6088 | 37014.1827 | 35754.2553 | 33023.5788 | 30155.4894
Energy Division ELCC Results: 12.6%
Gap Created: 0 MW
ELCC to Eliminate Gap: 25.0%
Draft Results / Work in Progress

## Slide 7: Solar ELCC Results Comparison
Month | 2017 Weighted ELCC / Technology Composite | 2018 Weighted ELCC / Technology Composite | Annual ELCC Result |  | 2017 Net Load Peak ELCC
1 | 19% | 38% | 58% |  | 0%
2 | 20% | 39% | 58% |  | 0%
3 | 23% | 40% | 58% |  | 0%
4 | 66% | 62% | 58% |  | 0%
5 | 68% | 63% | 58% |  | 34%
6 | 69% | 63% | 58% |  | 35%
7 | 65% | 61% | 58% |  | 31%
8 | 65% | 61% | 58% |  | 41%
9 | 66% | 61% | 58% |  | 14%
10 | 56% | 56% | 58% |  | 16%
11 | 19% | 38% | 58% |  | 0%
12 | 19% | 38% | 58% |  | 0%
Draft Results / Work in Progress

## Slide 8: Wind ELCC Results Comparison
Month | 2017 Weighted ELCC / Technology Composite | 2018 Weighted ELCC / Technology Composite | Annual ELCC Result |  | 2017 Net Load Peak ELCC
1 | 7% | 10% | 13% |  | 8%
2 | 12% | 12% | 13% |  | 20%
3 | 17% | 15% | 13% |  | 7%
4 | 16% | 14% | 13% |  | 1%
5 | 25% | 19% | 13% |  | 11%
6 | 22% | 17% | 13% |  | 20%
7 | 16% | 14% | 13% |  | 25%
8 | 15% | 14% | 13% |  | 17%
9 | 11% | 12% | 13% |  | 27%
10 | 9% | 11% | 13% |  | 2%
11 | 6% | 9% | 13% |  | 2%
12 | 8% | 10% | 13% |  | 3%
Draft Results / Work in Progress

## Slide 9: Next Steps
SCE is interested in party feedback on the idea of using a NLP-ELCC to validate the efficacy of LOLE-ELCC results.
SCE is planning on submitting this proposal during the March 11th “Optional Revisions to Proposals” filing
For questions and comments, please contact:
  Martin Blagaich
  Martin.Blagaich@sce.com