Statewide Custom Project Guidance Document

This document is maintained by: The California Investor-owned Utilities

1/1/2020 Version 1.1

Revision History

| Version | Date | Description |
| --- | --- | --- |
| 1.0 | 07/01/2019 | Original Document |
| 1.1 | 01/01/2020 | Update to Figure 1 |

Table of Contents

Chapter 1	Introduction	2

1.1	Overview	2

1.2	Audience	2

1.3	Terminology	2

1.4	Versioning	3

1.5	Implementer Communications	3

1.6	Guidance Document Maintenance Update Process	3

Chapter 2	Custom Project Requirements	4

2.1	Introduction	4

2.2	Key Definitions	5

2.3	Eligibility Criteria	10

2.4	Proving Program Influence	14

2.5	Cost Calculations	16

Chapter 3	Custom Project Submittal Package Requirements	18

3.1	Introduction	18

3.2	Custom Project Feasibility Study Report Minimum Requirements	19

3.3	Custom Project Technical Review Minimum Requirements	22

3.4	Custom Project Post-Installation Report Minimum Requirements	23

3.5	Calculation Methods & Energy Savings Analysis	27

3.6	Custom Project Measurement and Verification Plan Documentation Minimum Requirements	29

Appendix A – Glossary	31

Appendix B – Abbreviations	43

Appendix C – Bibliography	45

Appendix D – Statewide Custom Project Influence Job Aid	48

# Introduction

## Overview

The purpose of this Statewide Custom Project Guidance Document (Guidance Document) is to provide guidelines for stakeholders - including Program Administrators (PAs), Implementers, and customers - to prepare custom energy efficiency (EE) project documentation and quality assurance. This Guidance Document defines key metrics, outlines eligibility requirements for Custom Projects, and provides information on requirements for submitting an application package. This Guidance Document is pursuant to Public Utilities Code Section 381.2.

Custom measures and projects are energy efficiency efforts where the customer’s financial incentive and the expected energy savings are determined using a site-specific analysis of the customer’s existing and proposed equipment before installation and are finalized at project completion. An agreement is made with the customer wherein the financial incentive is paid upon the completion and verification of the project installation. In addition, custom projects are subject to the CPUC custom project review process as established by CPUC Decision 11-07-030.

This Guidance Document presents a compendium of the current CPUC directives for estimating expected energy savings claims for custom projects. This document is intended to communicate current custom projects rules and processes. This Guidance Document is not intended to restrict or impede program design, nor is it intended to supersede any Ruling or Decision from the CPUC. It also represents investor-owned utilities (IOUs) understanding of CPUC rules and requirements for claiming energy savings from installed energy efficiency measures. The elements covered by this document are relevant to all program administrators (PAs), program implementers, and customers. For additional details on PA-specific program requirements, implementers and customers may refer to the PA-specific guidance documents.

## Audience

This Guidance Document is intended to provide current and future implementers and customers of California energy efficiency programs a better understanding of the regulatory requirements to be followed when proposing, designing, implementing, and delivering successful programs and projects. We also anticipate that other stakeholders of energy efficiency programs will benefit from the increased transparency and centralized guidance.

## Terminology

This Guidance Document uses a variety of terms defined in the glossary in Appendix A. For reference, a key to abbreviations used herein is included in Appendix B.

## Versioning

This Guidance Document is intended to be a living document that will be updated for clarity and accuracy over time. Any new rules developed by the CPUC or the PAs will be incorporated into future versions. The current version will be indicated by the date on the cover page.

## Implementer Communications

For questions about this guidance document and questions about custom projects, an implementer should discuss with the PAs. If the questions or concerns are not adequately addressed to the implementer’s satisfaction, the PA will direct the inquiry to CPUC staff.

## Guidance Document Maintenance Update Process

The Guidance Document Maintenance Update Process will take place on a quarterly basis, following the schedule outlined below:

Intake Period

At any point in time, stakeholders may submit requests for updates to the Guidance Document using the Statewide Maintenance Intake Form, which will be maintained by Southern California Edison (SCE). At the end of each quarter, a list of submitted items (“Intake List”) will be generated and shared with the Coordination Team. If no updates or changes are requested, then no further action will be taken.

Coordination Meeting(s)

Once the intake period has concluded, Coordination Meetings between the PAs and CPUC Staff will be scheduled over the following two months. The objective of these meetings is to review the Intake List and decide which items necessitate an update to this Statewide Custom Project Guidance Document. The Coordination Team will then produce an approved list of items to update from the Intake List. Draft updates will be transferred to the Guidance Document text as tracked changes. All approvals will be documented in meeting minutes that will be available to all the PAs for review.

Review & Approval

Draft updates will be shared across the PAs and CPUC staff for review and to reach final approval over the final month in each quarter. Each PA will route the revisions within their organizations to secure approval according to their internal governance requirements. It is up to each PA to determine the appropriate chain of approval. Once final approval is reached, the Guidance Document with the final set of suggested changes, along with a cover memo/email summarizing the changes, will be routed to the PAs and CPUC Staff. Final decisions will be captured on the Statewide Maintenance Intake Form for tracking purposes.

Implementation Period

Once the PAs and CPUC staff have approved the revisions, CPUC staff will post the updated Guidance Document to the CPUC website. The update will be captured in the “Version History” section of the Guidance Document, and the previous Guidance Document version will be removed. An implementation date will be provided in the Version History section specifying when changes will be enforced, likely one quarter’s time after publishing.

Communications

The Guidance Document will be posted on the CPUC website, which will include the effective date of the current Guidance Document and the scheduled/expected date of the next update. The PAs will announce the availability of an update to the Guidance Document via their communication channels. It is the responsibility of the PAs to communicate changes and updates to their respective stakeholders.

Figure 1. SW Guidance Document Update Schedule

# Custom Project Requirements

## Introduction

This chapter contains definitions of key metrics and criteria for determining whether a custom project or measure is eligible for incentive payments. It is expected that a thorough review of the Guidance Document will help stakeholders understand project and measure eligibility requirements before a significant amount of time and/or resources are invested in a potential custom project.

## Key Definitions

This section is to introduce key concepts and definitions that one must understand in order to comply with the eligibility criteria outlined in Section 2.3.

### Measure Application Types

The EE measure must receive a measure application type (MAT) in order to determine baseline, cost, and energy savings calculations. Implementers must classify all proposed energy efficiency measures into one of the following MATs. The CPUC recognizes the following standard categories of MATs:

Table 1 – Measure Application Types

| Measure Application Type | Abbreviation |
| --- | --- |
| New Construction | NC |
| Normal Replacement (includes Replace on Burnout) | NR |
| Accelerated Replacement | AR |
| Add-On Equipment | AOE |
| Building Weatherization (building shell and related components) | BW |
| BRO–Behavioral | BRO-Bhv |
| BRO–Retro-commissioning | BRO-RCx |
| BRO–Operational | BRO-Op |

New Construction (NC)

The New Construction MAT is used where equipment is installed in either a new area or an area that has been subject to a major renovation, to expand capacity of existing systems, or to serve a new load. The NC MAT is used where there is no reference operation for existing conditions, such as with new construction, expansions, added load, a change in the function of the space (e.g. office to laboratory), or a substantial change (e.g. ~30% or more) in design occupancy. New construction, capacity expansion, and replacing “equipment that is actually broken, non-functional, or unable to provide the intended service” is eligible for normal replacement, but ineligible for AR.

Normal Replacement (NR)

The Normal Replacement MAT is used where existing equipment (including Add-On Equipment) has either failed, no longer meets current or anticipated needs, or is planned to be replaced for reasons unrelated to the program. The NR MAT may be applied to any measure or program, with certain exceptions, and without a burden of proof. This MAT includes measures that previously fit into the now-retired Replace on Burnout (ROB) MAT.

Accelerated Replacement (AR)

The Accelerated Replacement MAT is used for the replacement of existing equipment that could and would remain operational without program intervention. It is used in direct contrast to the NR MAT, which is used when existing equipment either could not or would not remain operational. Early retirement (non-capacity expansion) measures and replacement of “operating equipment that when broken, non-functional, or unable to provide the intended service is typically repaired” can be classified as AR. New construction and capacity expansion cannot be classified as AR. Any AR measure is expected to pass the CPUC’s preponderance of evidence criteria to be eligible (see Section 2.4.2 for more information on the preponderance of evidence criteria).

Add-On Equipment (AOE)

The Add-On Equipment MAT is used for installations of new equipment onto pre-existing equipment, improving the nominal efficiency of the host system. The existing host system must be operational without the AOE equipment, continue to operate as the primary service equipment for the existing load, and be able to fully meet the existing load without the add-on component. The add-on equipment must not be able to operate on its own. The actual energy reduction occurs at the host equipment, not at the add-on component, although any add-on component energy usage must be subtracted from the host energy savings.

Building Weatherization (BW)

The Building Weatherization MAT is used for non-mechanical building efficiency improvements such as windows, insulation, air sealing, and duct sealing.

Behavioral, Retrocommissioning, and Operational (BRO)

The Behavioral, Retrocommissioning, and Operational MAT is used for measures that either restore or improve energy efficiency and that can be reasonably expected to produce multi-year energy efficiency savings. By definition, BRO measures result in performance that does not exceed the nominal (rated or original) efficiency of the pre-existing condition.

EE savings from correcting deferred maintenance, performance restoration, and operational characteristics are considered within the BRO category. In the case of either normal or accelerated equipment replacement, separate claims should be made for energy savings related to the equipment replacement and energy savings related to operational factors and updating maintenance.

### Baseline Selection

All energy efficiency measures must have a baseline from which energy savings are assessed. The baseline establishes the energy consumption profile prior to enrolling in the energy efficiency program. Baseline is determined using the MAT and alteration type.

The following table describes the default baseline for each Measure Application Type.

Table 2 - Default Baseline – MAT by Alteration Type, Delivery Method, and Savings Determination

| Alteration Type | Delivery | Savings Determination | Measure Application Type |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | AOE, BW, BRO-RCx, BRO- Op, BRO-Bhv | AR | NR |
| New Construction, expansions, added load | Any | Any | Standard Practice Baseline |  |  |
| Existing Buildings | Upstream/ Midstream | Any | Standard Practice Baseline |  |  |
|  | Downstream | NMEC, RCx, exp. design | Existing Conditions Baseline |  |  |
|  |  | Calculated and deemed | Existing Conditions Baseline | Existing (1st baseline) and Standard Practice (2nd baseline) | Standard Practice Baseline |
| Non-Building projects including industrial & agricultural processes | Any | Calculated and deemed | Existing Conditions Baseline | Existing (1st baseline) and Standard Practice (2nd baseline) | Standard Practice Baseline |

Notes:

- CPUC Resolution E-4939 has adopted the term Standard Practice Baseline to supersede the term Code Baseline shown in this table. The Standard Practice Baseline is synonymous with a code baseline and is generally used as the single baseline for Normal Replacement (NR) measures as well as the second baseline for Accelerated Replacement (AR) measures. Guidance for selecting Standard Practice Baseline is in Section 2.6, per the CPUC Resolution E-4939, Attachment A.

- Definition of acronyms

  - All: All means all types of delivery, savings determination and customer class

  - BRO: Behavioral, retro-commissioning, and operational activities.

  - NMEC: Normalized Metered Energy Consumption.

  - RCx: Retro-commissioning

  - Exp Design: Experimental design

Standard Practice Baseline

The Standard Practice Baseline estimates the annual energy consumption of the activity or installation that would take place absent the energy efficiency program as required by code, regulation, or law, or as expected to occur as standard practice. The Standard Practice Baseline activity or installation must meet the anticipated functional, technical, and economic needs of the customer, building, or process and provide a comparable level of service as the energy efficiency measure.A Standard Practice baseline must comply with all codes, regulations, and standards when the project commences, including but not limited to: minimum building energy efficiency requirements; emissions requirements; federal, state, and local government regulations; other regulatory agencies. The standard practice need not comply with local reach codes.

The standard practice must represent a typical or commonly implemented practice, although it need not be the predominant (i.e. greater than 50%) practice. The selected standard practice must be reasonable to implement. Industry Standard Practice studies may provide suggestions or requirements for common practices.

Standard practices are generally accepted as superior to other alternatives (e.g., a customer’s standard way of complying with legal or ethical requirements, or a customer’s preference for the best product with superior efficiency in customized design). Justification for selection of a Standard Practice Baseline (e.g. current purchasing trends, customer considerations) should be provided.

If only one activity or installation meets the customer’s anticipated functional, technical, and economic needs, that option defines the standard practice by default. In cases where the existing conditions are more efficient than the standard practice, the existing conditions define the baseline.

Existing Conditions Baseline

An existing baseline refers to the actual load-serving operation of the existing equipment prior to its replacement, adjusted, where applicable, for the post-installed operation. The existing operations can be suboptimal, but it must reflect equipment performance that maintains essential services. In order to use an existing baseline, the existing equipment is expected to be able to meet customer current and anticipated future requirements (e.g., for the remaining life of the equipment). In the case of projects that occur concurrently with a change in ownership or a lessee, or a change in the function of the space (e.g., office to laboratory), or a substantial change (i.e., 30% or more) in the design occupancy there is no reference operation for existing conditions and the pre-existing conditions may not be applicable to the project.

Dual Baseline

The Dual Baseline incorporates elements of both the Existing Conditions Baseline and the Standard Practice Baseline. A Dual Baseline analysis is used exclusively for AR measures. The Dual Baseline reflects the difference between: 1) the energy savings that should be credited for the initial years of installation based upon the pre-existing or replaced equipment usage; and 2) the energy savings credit for later years based upon an eventual pre-existing equipment replacement (assumed to occur if the measure had not been installed as part of the program). At the later date, when the pre-existing equipment would have been replaced due to normal turnover (for reasons such as imminent failure or remodeling), an alternate equipment efficiency baseline is used. A Dual Baseline analysis requires two savings calculation periods:

- Period 1: The Existing Conditions Baseline is applied to the Remaining Useful Life (RUL) period, defined as the first baseline period (see Section 2.2.4 for discussion of RUL determination). For this period, savings are calculated based on the difference between the measure and the Existing Conditions Baseline. The measure cost for this period is the Full Measure Cost (refer to Section 2.5.2 for discussion on cost calculations).

- Period 2: The Standard Practice Baseline is applied to the period between the Remaining Useful Life (RUL) and Effective Useful Life (EUL), defined as the second baseline calculation period. For this period, the energy savings are calculated based on the difference between the measure and the Standard Practice Baseline. The measure cost for this period is the full cost of equipment, including installation, for the second baseline equipment measure. The second baseline should be based on known codes and standard practices that will be in effect at the end of the RUL. For measures that do not exceed Code or Standard Practice, the second period of the dual baseline has zero energy savings.

### Net-to-Gross Ratio

A net-to-gross (NTG) ratio must be determined for every energy savings claim. DEER (Database of Energy Efficient Resources) currently has a variety of default NTG ratios, varying by parameters such as length of availability of incentives or sector. Refer to DEER for the full list of default NTG ratios.

### Measure Useful Life Values

Effective Useful Life (EUL)

The Effective Useful Life (EUL) is an estimate of median number of years that the measures installed under the program are still in place and operable. EUL values are for the new equipment and are provided as years. Additionally, some industry practices like routine maintenance can extend equipment life beyond the estimated EUL values.  The CPUC’s Database for Energy Efficiency Resources (DEER) lists EULs for common equipment. The maximum useful life for the new equipment that is replacing the removed item is 20 years.

Remaining Useful Life (RUL)

The Remaining Useful Life (RUL) is an estimate of the median number of years that equipment being replaced under the program would have remained in place and operable had the program not intervened.

For purposes of early retirement determination, measure lives of up to 30 years will be allowed for custom applications that either use Proposition 39 funds or are located in a Preferred Resources Pilot (PRP) territory. As such, the claim may be made that existing equipment can last up to 30 years to prove early retirement for Proposition 39 and PRP projects. In the equations above, the Existing Equip EUL is capped at 30 years. Water-Energy Nexus measures also have an available EUL of 30 years for removed equipment.

In some cases, the MAT dictates the value of both the EUL and RUL, as summarized below:

Table 3 – EUL/RUL values Dictated By MAT

| MAT | Measure Life Basis | EUL | RUL |
| --- | --- | --- | --- |
| NC | EUL | Measure EUL | Not Defined |
| NR | EUL | Measure EUL | Not Defined |
| AR | 1st Baseline Period = RUL 2nd Baseline Period = EUL-RUL | Measure EUL | RUL of existing > 1 |
| AOE | EUL | The lesser of: RUL of host equipment or Measure EUL | Not Defined |
| BRO-RCx | EUL | 3 | 1 |
| BRO-Op | EUL | 3 | 1 |
| BRO-Bhv | EUL | 2 | 1 |
| BW | EUL | Measure EUL | Not Defined |

EUL of Add-On Equipment Measures

For AOE measures, the EUL is the lesser of the RUL of the host equipment/system or the EUL of the measure. For newly installed or replaced equipment that includes a new AOE component, the AOE energy savings may use the EUL rather than the RUL of the host equipment as a limit. In all cases the add AOE energy savings life is also limited by the AOE EUL value.

Default Remaining Useful Life of Existing Equipment

The default Remaining Useful Life for existing equipment is one-third of the existing equipment’s EUL. Deviations from this RUL value should be supported by evidence such as equipment installation date, maintenance records, or other external factors.

BRO EULs

Behavioral programs in non-residential settings are permitted to use an EUL of up to two years, while retrocommissioning and operational programs are permitted to use an EUL of up to three years for expected energy savings claims.

## Eligibility Criteria

### Project Eligibility

Eligible custom projects meet the following criteria:

- For every project, there must be demonstrated program influence. Program influence means a project developers’ input prior to or during a customer’s selection of technology or process options has been shown to have caused the implementation of a more energy efficient option. See Section 2.4.1 for more details on program influence and relevant documentation.

- All custom projects, except New Construction, are subject to a pre-installation site inspection prior to the implementation of the measures to verify existing equipment and loads on the equipment and to confirm that the proposed measures are not already implemented. The inspection details must be documented in the project report or technical review.

- Energy efficiency savings must be calculated based on the customer’s reduction in energy usage during periods the customer is purchasing energy from the utility. Customers with on-site generation will only be eligible for incentive payments based on energy savings that reduce energy supplied from the grid.

- Equipment or buildings must receive natural gas and/or electricity from PG&E, SCE, SCG, or SDG&E and customers must pay Public Purpose Program (PPP) charges on the gas or electric meter on which the energy efficient measure is proposed.

- New equipment, systems, or measures cannot be ordered, purchased, implemented or installed before written authorization has been issued by the PA (exemption for long lead time items). Measure implementation cannot begin until the PA has approved the project. The format of an official project approval varies between PAs. In some cases, a signed agreement or contract is required; in some cases, a written authorization to proceed is sufficient. Please contact the PA for details. Exceptions: New equipment, systems, or measures can be ordered or purchased for New Construction.

### Measure Eligibility

All measures to be included in a custom energy efficiency project must meet the following criteria:

- Exceed Baseline Energy Performance. Incentives are paid on the energy savings and demand reduction above and beyond baseline energy performance (refer to Section 2.2.2 for an overview of baseline selection).

- Measure Persistence. To ensure that energy savings persist, the following requirements apply:

- NR, NC, AR, AOE, and BW measures, should typically be permanently installed. If proposed measures are not permanently installed, the Implementer must demonstrate how the energy savings will persist over the measure life.

- NR, NC, AR, and AOE measures must include installation of new equipment or controls, Repair or re-deployment of existing equipment is not eligible for NR, NC, AR, and AOE but may be eligible as a BRO and BW measure.

- For NR and AR measures, existing equipment must be decommissioned and removed from site. Decommissioned equipment must not be reused, sold, or retained for backup purposes without PA pre-approval.

- Cannot Overlap with Other Incentive Programs. Customer may not apply to more than one California energy efficiency incentive or rebate program for the same measure or receive incentives from more than one such program for any measure. Gas and Electric components of a measure should be considered separately.

Other California end-user energy efficiency programs include but are not limited to: any program offered by or through PG&E, SCE, SCG, SDG&E; Regional Energy Networks, the California Energy Commission (CEC); and CPUC, including PPP funded local programs, third-party programs, or local government partnerships. This includes both upstream and midstream programs, which provide incentives to manufacturers and distributors. Customized incentives are only available when the measure is not offered through a Deemed (including downstream, upstream, and midstream) or Express rebate program. Contact the PA for additional details.

- Pay Back Over Their Measure Life. A custom project’s EUL must be greater than the Simple Payback Period.

- Regressive Baselines are Not Permitted. The baseline must be the more efficient option between the pre-existing equipment and current standard practices.

- Demonstrate an Equivalent Level of Service. EE measure and baseline equipment choices must operate at a comparable level of service. If the EE measure provides either enhanced or reduced levels of service compared to the baseline, energy savings must be normalized to comparable levels of service.

- Incremental Measure Cost Greater than Zero. For projects to be eligible, Incremental Measure Cost claims must be greater than zero. That is to say, the proposed measure cost must exceed that of the selected baseline.

- Installations Adhere to Laws and Codes. All measures(s) must be installed in accordance with all applicable federal, state, and local laws, building codes, manufacturers’ specifications, and permitting requirements. If a customer or contractor is the recipient of a rebate or incentive offered for an energy efficiency improvement or installation of energy efficient components, equipment, or appliances, a rebate or incentive can only be provided if the customer or contractor certifies that the improvement or installation has complied with any applicable permitting requirements, including any applicable specifications or requirements set forth in the California Building Standards Code (Title 24 of the California Code of Regulations). In addition, if a contractor performed the installation or improvement, the contractor must hold the appropriate license for the work performed. Also, if a customer or contractor is the recipient of a rebate or incentive offered by an energy efficiency program specifically for the purchase or installation of central air-conditioning or heat pump units and their related fans, the rebate or incentive will be paid only if the customer or contractor provides proof of permit closure. The implementer and PA will only verify the reasonableness, not the authenticity, of the submitted proof of permit closure per SB-1414.

Fuel Substitution.

Measures that use an energy source that is different from the baseline are considered fuel substitution measures. Fuel substitution measures must reduce the need for energy supply without degrading environmental quality. To be considered for energy efficiency ratepayer funding, a measure must meet the following requirements of the Fuel Substitution Test, as defined in D.19-08-009:

- The measure must not increase total source energy consumption when compared with the baseline.

- The measure must not adversely impact the environment compared to the baseline measure utilizing the original fuel. This means that the use or operation of the measure must not increase forecasted carbon-dioxide-equivalent emissions.

The baseline measure utilizing the original fuel, against which the fuel substitution measure is compared, must be the same for both items a and b above. This test does not apply to new construction applications but does apply to renovations of existing buildings. Program administrators proposing fuel substitution measures must provide all assumptions and calculations for review, utilizing the most recent versions of the Avoided Cost Calculator and the Cost-Effectiveness Tool available at the time the measure is proposed.

The costs and benefits of fuel substitution measures and programs shall be reflected in the cost-effectiveness analysis of the total portfolio of the program administrator sponsoring the measures. When a fuel substitution measure passes the Fuel Substitution Test, it shall be included in the cost-effectiveness analysis of the portfolio with a net-to-gross (NTG) ratio assumption of 1.0, until such time as evaluated NTG information is available, when the assumption shall be updated on a prospective basis.

## Proving Program Influence

### Program Influence

Per the CPUC’s annual Efficiency Savings and Performance Incentive (ESPI) memos to IOUs,

“PAs and third-party implementers need to demonstrate that the energy efficiency program caused a net benefit for the ratepayers by enticing the customer to implement a more costly, more efficient project than they were otherwise planning to implement absent the program intervention. Program influence may be in the form of either information, financial support, or both. The information may include suggestions for alternative designs or products not already under consideration, or analysis of alternatives to demonstrate how the customer requirements can be met or exceeded by selecting an alternative. Qualified financial influence happens when the availability of financial assistance to the customer becomes the deciding factor in the selection of a more efficient alternative solution versus the solution the customer would otherwise have selected without financial assistance. In another example, full documentation of early interventions for a pilot project may appear to be the most critical (and perhaps only) point of possible program influence over a project that no one else has done.”

Program influence means a project developers’ input prior to or during a specific customer’s selection of technology or process options has been shown to have caused the implementation of a more energy efficient option. The technology or process option(s) must all meet the functional, technical, and economic needs of the customer. Effective influence is demonstrated through legitimate difference made by the project developer (or implementer) in encouraging the customer to do more than what the customer would have done as the current practice. Actions such as technical assistance or financial assistance must happen before or during the customer’s decision-making process of selecting an energy efficient technology or process option. Implementers must provide documentation that demonstrates what the customer was planning to do prior to intervention in the specific custom project. The documentation needs to demonstrate how the program implementer’s interventions encouraged the customer to adopt an alternative action that improves final efficiency and provides incremental energy savings benefits to ratepayers over what the customer was otherwise planning to implement.

To comply with this criterion, it is not enough to provide a list of meetings and contact dates. Submissions must include evidence both for and against program influence. CPUC staff expects to see a discussion of the evidence, along with a thorough analysis, detailing why the PA believes there is sufficient proof that the program is responsible for the project.

In order to protect ratepayers and ensure ratepayer funds are directly improving energy efficiency in the state, custom project developers must avoid enrolling customers into programs who had already planned to implement EE measures. Program implementers should avoid claiming influence if their engagement for the specific project does not occur before or during a customer’s decision-making process, or results in no additional efficiency improvement over what the customer is already planning to do to meet current needs.

In summary, for every custom project, it is necessary to provide documentation that demonstrates what the customer was planning to do prior to the EE program intervention. The documentation needs to establish how the program enabled the customer to adopt an alternative action that improves overall efficiency and provides incremental energy savings benefits to ratepayers over what the customer was otherwise planning to implement.

### Preponderance of Evidence for AR

“Preponderance of Evidence” is a term that defines the convincing evidence required to justify an accelerated replacement claim. The requirements to successfully demonstrate the preponderance of evidence go above and beyond the normal rigor required to justify a NC, AOE, BRO-Bhv, BRO-Op, BRO-RCx, BW or NR measure application type. This evidence consists of two basic components: program influence and continued viability of the existing equipment.

The preponderance of evidence analysis requires a collection of evidence, both in favor and against, and considers that evidence for its reliability and conviction. The preponderance of evidence determination is not based on the amount of evidence but rather on the more convincing evidence based on its probable truth and/or accuracy. The CPUC-adopted Track 1 Working Group preponderance of evidence guidance provides a framework for weighing the evidence for and against program influence and equipment viability.

To support a preponderance of evidence analysis for an accelerated replacement (AR) claim, provide the following:

- Include dialogue from previous customer/program administrator meetings showing how the program administrator accelerated the early retirement of the existing measure.

- Include meeting dates and participant names. Provide details on the high efficiency measure/s that were proposed by the program administrator. Include evidence to show how the program administrator made customer/s aware of program features.

- Simple Payback Period calculations with and without the program administrator incentive, and a comparison to the customer payback threshold.

- Documentation of any additional drivers for the project not related to energy efficiency.

- Information on customer’s normal replacement, remodeling and equipment replacement practices

- Documentation of any preliminary measurements performed by the program administrator or the customer to demonstrate equipment functionality

- Document the known standard efficiency equipment alternatives available in the market or those considered by the customer

- Include existing equipment installation dates (and old existing equipment invoices if available).

- Include a discussion of the critical components of the system or equipment and associated maintenance practices, and the current and future availability of replacement parts in the market.

- A proposed remaining useful life (RUL) of the existing measure supported by evidence suggested in this guidance document.

- A discussion of the normal lead time required by the customer to undertake the project including planning, approval, equipment ordering, and project scheduling. Note that the amount of time the RUL of the pre-existing equipment exceeds this time is the acceleration period. An acceleration period of less than one year is not acceptable.

- Customer statements regarding the viability of and continued intent to use the existing equipment through the proposed RUL period.

## Cost Calculations

A Measure Cost Basis must be submitted for each individual measure within a project. Eligible costs within that cost basis are only those costs directly related to the installation/implementation of the energy efficiency measure. Costs unrelated to the energy efficiency measure should not be included within reported costs.

### Measure Cost Basis Determination

A measure cost must be submitted for each individual measure. The cost basis is determined by the measure application type, as indicated in the following table.

Table 4 - Applicable Measure Cost Basis for Measure Application Types

| MAT | Applicable Measure Cost Basis |
| --- | --- |
| NC | Incremental Measure Cost (IMC) |
| NR | Incremental Measure Cost (IMC) |
| AR | Accelerated Replacement Cost (ARC) |
| AOE | Full Measure Cost (FMC) |
| BRO-RCx | Full Measure Cost (FMC) |
| BRO-Op | Full Measure Cost (FMC) |
| BRO-Bhv | Full Measure Cost (FMC) |
| BW | Full Measure Cost (FMC) |

### Project and Measure Cost Determination

Reported measure costs must include all customer out-of-pocket expenses incurred as a result of implementing the energy efficiency measure(s). Out-of-pocket expenses include:

- the cost of any equipment or materials purchased, including sales tax and installation,

- any ongoing operation and maintenance costs,

- any removal costs (less salvage value),

- the value of the customer's time in arranging for the installation of the measure (project management), if significant.

At a minimum, for program installed measures, cost information should clearly itemize labor and material costs. Only costs related to the project or measure should be included; the costs of product or feature choices not related to energy efficiency (e.g. standby equipment) should be removed.

Table 5 - Applicable Measure Costs

| Cost | Includes |
| --- | --- |
| EE Equipment | Energy Efficiency equipment, materials, shipping, and tax |
| ISP Equipment | Code or Industry Standard Practice equipment, materials, shipping, and tax |
| Engineering | Audits, design, and engineering |
| Construction | Construction and associated labor and overhead |
| Disposal | Demolition, removal, and recycling |
| Permitting | Permit preparation and fees |

Five methods of calculating measure costs are listed below in decreasing order of preference (i.e., Method 1 is preferred to Method 2, which is preferred to Method 3, etc.)

Method 1: Actual (site specific) Costs (for Post-Installation Report (IR) phase only)

When possible, individual itemized measure costs from an invoice should be used. If the project is a stand-alone energy efficiency improvement, determining the project cost is relatively straightforward. If the project includes multiple technologies and the invoice(s) are itemized, then determining the measure costs would be straightforward as well. Splitting the costs without a disaggregated invoice could entail one of the following approaches:

- Use the energy savings to determine the relative weighting; or

- Use DEER to obtain the relative weighting.

Method 2: Contractor Quote

Obtain measures cost values through a written bid, quote or proposal from a vendor, contractor, or manufacturer. The documentation should include a breakdown by technology that includes labor, material and other related costs (e.g., disposal costs less salvage value).

Method 3: DEER Look-up

Look up the specific technologies in the DEER measure cost tables. Individual cost values should be documented by referencing the DEER version and the respective DEER cost case ID value. All costs will be tracked and documented, electronically, in a spreadsheet for easy reference.

Method 4: Cost Estimating Reference

Develop the measure costs for the proposed equipment using a cost estimating reference guide, such as RS Means Building Construction Cost Data and CPUC cost study if applicable. Use the most current cost estimating reference applicable to the project application program year. Consistent with the other methodologies above, costs and assumptions should be tracked in a spreadsheet. If necessary, the methodology may be documented in a separate document.

Method 5: DEER Approximation

If DEER does not include the specific technologies that are included in the project, the DEER values may be used to approximate the measure costs when Methods 1 through 4 are not available. When using this method, a detailed workpaper is required to document the methodology and assumptions. Consistent with the DEER Look-up method, costs and assumptions should be tracked in a spreadsheet. If necessary, the methodology may be documented in a separate document.

### Measure Cost Basis Equations

Full Measure Cost (FMC)

Full Measure Cost (FMC) is the total amount paid by the customer to implement the energy efficiency measure.

FMC = EE Equipment + Engineering + Construction + Permitting + Disposal + Labor

Standard Measure Cost (SMC)

Standard Measure Cost (SMC) is the total amount paid by the customer to implement the baseline measure.

SMC = ISP Equipment + Engineering + Construction + Permitting + Disposal + Labor

Incremental Measure Cost (IMC)

Incremental Measure Cost (IMC) is the marginal cost of implementing the energy efficiency measure. This is how much more expensive the energy efficiency measure is than a similar, industry standard measure, as defined by the PA.

IMC = FMC - SMC

Accelerated Replacement Cost (ARC)

The Accelerated Replacement Cost (ARC) is the cost of the efficiency measure installed in an Accelerated Replacement situation. The ARC is the FMC of the efficiency measure, reduced by the net present value of the FMC that would have been incurred to install the Standard Practice second baseline equipment at the end of the RUL. The ARC is calculated using the following formula:

ARC=FMC- (FMC-IMC)(1+D)RUL

		FMC = full measure cost

IMC = incremental measure cost

D = CPUC-adopted PA discount rate

(7.66% for PG&E service territory, 7.65% for SCE service territory, 7.38% for SCG service territory, and 7.36% for SDG&E service territory)

RUL = Remaining useful life (in years) of the early retired equipment

# Custom Project Submittal Package Requirements

## Introduction

This chapter contains requirements for what information must be included in custom energy efficiency project packages. The following chapter provides guidance for stakeholders through the Custom Project Feasibility Study, the Custom Project Technical Review, and the Custom Project Post-Installation Report, followed by a discussion on Calculation Methods and Measurement and Verification. Figure 2 shows responsibilities for the three required reviews.

Figure 2. Review Stages

*Concurrent to the PA Technical Review, projects will be randomly selected for the CPUC’s Custom Project Review Process, which is intended to assess the quality of the PA Technical Review. This CPUC review is defined in Commission Decision11-07-030 and is completed within 30 business days following receipt of completed required documentation per Public Utilities Code 381.2.

## Custom Project Feasibility Study Report Minimum Requirements

A Custom Project Feasibility Study is the project application that an implementer must submit to a PA for review and approval. An implementer shall not make any commitment or promise of incentive payment to a customer prior to the program administrator’s review and approval.  The following outlines pertinent information to be included in each section of the Custom Project Feasibility Study Template.

- Customer Information

Customer name, location, project information, and the key members of the project team.

- Executive Summary

The implementer will use this section to concisely describe the important parameters of the project at a high level including the project drivers/challenges, business conducted at the customer’s facility, recommended energy efficiency measures, measure types, estimated energy savings, measure costs, peak demand reduction, critical project details, estimated incentives, and additional benefits relevant to the customer and project scope including the estimated project completion date if applicable.

  - Project Eligibility

Provide a program eligibility assessment for each measure that encompasses applicable program rules, code requirements, and standard practices.  Determine the overall eligibility for each fuel source savings by the status of the customer's ongoing payment of PPP charges.  Please refer to Energy Efficiency Savings Eligibility at Sites with non-IOU Supplied Energy Sources – Guidance Document which clarifies the CPUC’s policies on the eligibility of EE projects/measures to receive rebates/incentives when installation of the EE projects occurs at sites that meet part or all of its energy requirements from non-IOU energy resources.

  - Project Drivers

Summarize evidence supporting and not supporting Program Influence.  Provide an assessment of that evidence. Please refer to Statewide Custom Project Influence Job Aid.

- Project Details

  - Facility Description

Provide a detailed project description including the function of the facility, the hours of operation, and any seasonality of the operations.  For industrial facilities discuss products produced and quantities of products produced that are relevant to the proposed measures.

  - Energy Use Summary

Provide the facility annual energy use totals for kWh, kW, and Therms/yr.

  - Facility Equipment Inventory

Provide a list of all relevant major equipment that is enclosed in the project boundary.

- Proposed Energy Efficiency Measures

The following items are required for each proposed energy efficiency measure.

  - Measure Application Type (MAT)

Identify the proposed MAT.  Discuss how the MAT was determined.  For measures classified as Accelerated Replacement (AR), describe the evidence supporting and not supporting how the Program influenced the customer to accelerate the project.  Provide an assessment of that evidence.

  - Effective Useful Life (EUL)/Remaining Useful Life (RUL)

Provide the measure EUL, and RUL, when applicable, values and cite the data sources for all measure types.  If the DEER is the data source, cite the DEER version and DEER EUL ID.

  - Standard Practice Discussion

Both the eligibility and the measure type classification combine to determine the technical baseline for each measure. Certain measures may require additional consideration of health and safety regulations, ordinances, industry specific regulations, etc. Provide a program eligibility that encompasses state and/or federal code requirements, industry standard practice, CPUC policies and guidance as well.  Please refer to Resolution E-4939 and the CPUC Energy Efficiency Industry Standard Practice (ISP) Guidance Document.

  - Baseline Equipment/System Operation

Provide a detailed description of the baseline operating parameters and conditions, including a complete description of the system boundaries, on-site generation, plant and equipment age and maintenance conditions. If the measure type is AR, describe both the first and second baselines. Provide a single line diagram of the existing system where system modifications are proposed. Provide a control sequence description for baseline and proposed conditions for applicable control related measures

  - Proposed Equipment/System Operation

Provide a detailed description of the proposed equipment or system operation, including location, operation hours, control method, equipment efficiency, details of the project, the proposed conditions, how the project reduces energy consumption, etc.  Provide a single line diagram of the proposed system where system modifications are proposed.

  - Calculation Methodology

Delineate the energy savings calculations along with the key assumptions and parameters for each proposed measure.  If the measure type is AR, both first and second period impacts are required.

Provide precise step-by-step calculation methodology and equations proposed to be used to estimate the expected energy savings impacts for each custom project with detailed descriptions associating the proposed methodology with specific equipment and systems affected by the project.  Provide system diagrams to facilitate the review of the project.  The energy savings principle for each measure should be discussed.  The calculation methodology description should be comprehensive and complete leaving only the final verified variables and data to be determined after project completion.  All that should be required after the project is completed is to input final project post verified data and assumptions into the proposed formulae to determine the expected energy savings impacts.  Generic methodology lacking such detailed specific associations is not acceptable.

Provide the unlocked energy savings calculation workbooks, simulation models, raw trend data, etc. that the expected energy savings are based upon.  If the energy savings rely upon a calculation tool that has not undergone prior CPUC Staff review, describe how the tool has been vetted and how the implementer has verified the tool's accuracy and limitations.

If on-site cogeneration is present, provide an hourly net electric grid impact analysis following current CPUC staff guidance. If other onsite generation is present, such as solar, conduct the appropriate analysis per current CPUC guidance.

  - Estimated Savings

Provide estimated energy savings for kWh, kW, and Therms/yr.

- Project Cost & Financial Analysis

Provide the full and/or incremental measure costs as applicable, ensuring that only allowable costs are included with sources. Summarize the proposed expected energy savings for each measure along with their estimated individual financial incentives.  Demonstrate how the financial incentive was calculated. If the overall incentive amount is capped, indicate so and explain how the cap was determined and applied.

- Measurement and Verification Plan

Describe the pre- and post- M&V plans if applicable.  If a separate M&V plan document was submitted, cite it within feasibility and indicate how the pre-M&V data was used to establish each measure baseline and how the post-M&V data will be used to true-up the final expected energy savings estimates. Provide concise equations with explanations demonstrating how the final energy savings estimates will be determined using the measured data.

## Custom Project Technical Review Minimum Requirements

CPUC staff expects that a PA technical review would address many of the questions and requirements outlined in the “Ready for Review” checklist. Please refer to CPUC’s Ready for Review Checklist.

The following items should be provided as the PA’s Technical Review for the project:

- Primary Technical Reviewer Name and Firm, QC Reviewer Name and Firm.

- Provide a concise, overall summary description of the project.

- Summarize the approved expected energy savings for each measure along with their estimated individual financial incentives.  Demonstrate how the financial incentive was calculated. If the overall incentive amount is capped, indicate so and explain how the cap was determined and applied.

- Provide an assessment the evidence presented in the project documentation supporting and not supporting Program Influence.

- Complete an eligibility assessment for each measure that encompasses state and/or federal code requirements, industry standard practice, CPUC policies and guidance as well.

- For each measure, identify the proposed Measure Type.  Discuss how the measure type was determined.  For measures classified as Accelerated Replacement (AR), describe the evidence presented in the project documentation supporting and not supporting how the Program influenced to customer to accelerate the project.  Provide an assessment of that evidence and cite it in the Technical Review.

- Both the eligibility and the measure type classification combine to determine the technical baseline for each measure. Certain measures may require additional consideration of health and safety regulations, ordinances, industry specific regulations, etc.

- For each measure, a detailed description of the baseline operating parameters and conditions, including a complete description of the system boundaries, on-site generation, plant and equipment age and maintenance conditions. If the measure type is AR, describe both the first and second baselines.

- Provide the measure EUL and RUL values and cite the data sources for all measure types.  If the DEER is the data source, cite the DEER version and DEER EUL ID.

- Provide an assessment of the full and/or incremental measure costs as applicable, ensuring that only allowable costs are included. Note that if the measure type is AR, TRC costs are used for the first baseline and IMC for the second baseline. Address whether measures will pay back within the measure EUL.

- Delineate the approved expected energy savings calculations along with the key assumptions and parameters for each proposed measure.  If the measure type is AR, both first and second period impacts are required.

Provide precise step-by-step calculation methodology and equations proposed to be used to estimate the expected energy savings impacts for each custom measure with detailed descriptions associating the proposed methodology with specific equipment and systems affected by the project.  Provide system diagrams to facilitate the review of the project.  The energy savings principle for each measure should be discussed.  The calculation methodology description should be comprehensive and complete leaving only the final verified variables and data to be determined after project completion.  All that should be required after the project is completed is to input final project post verified data and assumptions into the proposed formulae to determine the expected energy savings impacts.  Generic methodology lacking such detailed specific associations is not acceptable.

Provide the unlocked energy savings calculation workbooks, simulation models, raw trend data, etc. that the expected energy savings are based upon.  Describe your detailed examination and adjustments to the energy savings calculations that lead to the approved expected energy savings impacts that are being claimed.  If the energy savings rely upon a calculation tool that has not undergone prior CPUC Staff review, describe how the PA vetted and verified the tool's accuracy and limitations.  Provide the financial incentive calculations as well.  If on-site generation is present, provide an hourly net electric grid impact analysis following current CPUC staff guidance.

- Provide as assessment of the pre- and post- M&V plans if applicable.  If a separate M&V plan document was submitted, cite it within the Technical Review and indicate how the pre-M&V data was used to establish each measure baseline and how the post-M&V data will be used to true-up the final expected energy savings estimates. Provide concise equations with explanations demonstrating how the final energy savings estimates will be determined using the measured data.

## Custom Project Post-Installation Report Minimum Requirements

The post-installation report is a document whose, “scope will be limited to determine if the project was carried out consistent with the application and notes provided during pre-installation review and to obtain information pertaining to whether the eligibility criteria or metrics should be revised.” This Post-Installation Report/notification should confirm the estimated energy savings, or identify any changes to the project that were made during installation. If changes were made to the project, the anticipated energy savings and demand reduction should be recalculated as necessary. The implementer also attaches any required data and analysis from M&V that may have been performed before or after installation. The Installation Review approval is the basis for initiating the incentive payment. A Post-Installation Report must be submitted for a post-installation inspection to be scheduled

The following areas are not required to be updated at post-installation review unless a substantial change in scope occurred:

- Project Drivers

- Eligibility

- Measure Type

- EUL/RUL

- Baseline

- Calculation Tool/Method

- M&V Plan

If the scope of the project changes substantially from what was identified in the project application review, the project may require resubmittal. Substantial changes include significant modifications to the proposed equipment type, size, quantity, configuration, or the expansion of project to include additional retrofits. The revised project scope and supporting calculations are subject to an additional review and may require a new agreement prior to the removal of existing equipment/systems or the installation of the replacement equipment/systems. If the scope of work changes after the Project Agreement is executed, but before the work is completed, notify the PA immediately.

Please refer the current Statewide Custom Project Post-Installation Report template used by PAs.

- Customer Information

Customer name, location, project information, and the key members of the project team.

- Executive Summary

The implementer will use this section to provide readers a high-level summary of the project challenges, business conducted at the customer’s facility, implemented energy efficiency measures, verified energy savings, verified costs, summarized changes from pre-installation, final incentives, and peak demand reduction.

  - Project Drivers

Provide a detailed update to project drivers if it has changed from the approved Project Feasibility Study Report.

- Project Details

  - Facility Description

Provide a detailed project description including the function of the facility, the hours of operation, and any seasonality of the operations. For industrial facilities discuss products produced and quantities of products produced that are relevant to the proposed measures.

  - Energy Use Summary

Provide the facility annual energy use totals for kWh, kW, and Therms/yr.

  - Facility Equipment Inventory

Provide a list of all relevant major equipment that is enclosed in the project boundary.

- Implemented Energy Efficiency Measures

The following items are required for each implemented energy efficiency measure.

  - Measure Application Type (MAT)

Confirm the proposed MAT from the approved PFS report is valid for the implemented measure.

  - Effective Useful Life (EUL)/Remaining Useful Life (RUL)

Confirm the measure EUL and RUL values and cited data sources from the approved PFS report is valid for the implemented measure.

  - Standard Practice Discussion

Identify any changes to the standard practice discussion if applicable.

  - Existing Equipment/System Operation

Provide a detailed description of the baseline operating parameters and conditions, including a complete description of the system boundaries, on-site generation, plant and equipment age and maintenance conditions. If the measure type is AR, describe both the first and second baselines. Provide single line diagrams of the existing system where system modifications were implemented.  If any changes to the project that were made during the installation, identify and provide a detailed description of changes.

  - Implemented Equipment/System Operation

Provide a detailed description of the installed equipment or system operation, including location, operation hours, control method, equipment efficiency, details of the implemented project, the proposed conditions, how the project reduced energy consumption, etc. Provide single line diagrams of the implemented system where system modifications were implemented. For replacement or new equipment provide technical data sheets documenting the equipment performance and any operating limitations.  For control system modifications, provide documentation to show the described changes.  Include photographs of control screens and changes to control code as demonstration of changes made.  If any changes to the project that were made during the installation, identify and provide a detailed description of changes.

  - Calculation Methodology

Provide the calculation methodology description including the final verified variables and data determined after project completion.  Provide the final project post verified data and assumptions inputs for the verified formulae used to determine the final expected energy savings impacts.

Verify actual loads and true-up energy savings calculations with post-install M&V data. Observed post-installation site conditions should be used for final approved energy savings.

Provide the unlocked energy savings calculation workbooks, simulation models, raw trend data, etc. that the expected energy savings are based upon.  If the energy savings rely upon a calculation tool that has not undergone prior CPUC Staff review, describe how the tool has been vetted and how the implementer has verified the tool's accuracy and limitations.

If on-site generation is present, provide an hourly net electric grid impact analysis following current CPUC staff guidance.

  - Final Estimated Savings

Provide confirmed estimated energy savings for kWh, kW, and Therms/yr. Provide percentage of energy savings to their annual utility bill consumptions.

- Project Cost & Financial Analysis

Provide the full and/or incremental measure costs as applicable, ensuring that only allowable costs are included with sources. Summarize the implemented expected energy savings for each measure along with their estimated individual financial incentives.  Demonstrate how the financial incentive was calculated. If the overall incentive amount is capped, indicate so and explain how the cap was determined and applied.

After the completion of a project installation, an overall project invoice containing the entire project cost must be submitted. Preferably, this invoice should include only the energy efficiency portion of the project. For projects containing multiple solution/measure codes, each invoice should be itemized by solution/measure code. In cases where this is not possible or difficult to obtain, the following will be accepted, in addition to the overall project invoice:

- A purchase order for each implemented measure.  The combination of these purchase orders shall total up to the energy efficiency cost value provided in the overall project invoice.

- Provide an invoice or multiple invoices containing the cost breakdown per end use (lighting, motors, pumping, etc.) and phased-out payments.  Then allocate the cost breakdown for each implemented measure (analyze the percent of energy savings that each contributed to the total end use energy savings and use this to approximate the cost).  All claimed project costs must be justified (either by a memo for internal labor costs or an invoice for everything else).  Internal labor costs that cannot be supported by an invoice must be justified by a signed memo on company letterhead from the customer (not the 3rd party implementer).  The memo must state the dollar amount of internal labor costs that were spent related to the energy efficiency portion of the project and provide labor rates/hour and the number of hours charged to perform the work.

- Post Measurement and Verification Analysis

Provide a detailed description of how the post-M&V data was used to true-up the final expected energy savings estimates including a summary of assessment of the measured data. For measures with weather, schedule, occupancy, or other changes between pre- and post-M&V periods, energy consumptions need to be adjusted to the same condition (outside air temperatures, schedule, or occupancies) before energy savings are calculated.

- Comparison of Findings

Discuss a comparison of findings from pre-installation to post-installation for each measure. This involves the following:

  - State all or no changes in project scope.  State what happened and if it deviated from what was expected and documented.

  - State if production or operating hours affected a change in energy savings.

  - State all or no changes in measured values for verification and provide the pre-installation values.

  - State what specifically affected changes in energy savings.

  - State all or no changes in project cost.

  - State how much of a change occurred in all the above areas (e.g. %, $, therms/yr, kwh, °F, lbs, etc.)

## Calculation Methods & Energy Savings Analysis

All custom projects must include documentation that clearly and concisely describes the calculation methodology proposed to be used to estimate the expected energy savings.

Where custom spreadsheet analysis is used to estimate the energy savings impacts, the calculation methodology must be separately presented and summarized in a single place such as a clearly labeled, dedicated tab in a spreadsheet workbook or a dedicated section of a feasibility report.

Precise step-by-step calculation methodology and equations proposed to be used to estimate the expected energy savings impacts for each custom measure with detailed descriptions associating the proposed methodology with specific equipment and systems affected by the project must be provided. The methodology must be logically organized.

It is often the case that initial estimates of a custom measure’s energy savings impacts are performed using placeholder calculations which are estimates based on accepted engineering principals and assumptions, the basis of which must be clearly documented and reasonable. For many custom projects, the final expected energy savings estimates are based on pre-installation and post installation measurements with an energy savings calculation methodology that is different than the placeholder calculations.

The calculation methodology description should be comprehensive and complete leaving only the final verified variables and data to be determined after project completion. All that should be required after the project is completed is to input final project post verified data and assumptions into the proposed formula to determine the expected energy savings impacts. Generic methodology lacking such detailed specific associations is not acceptable.

When pre or post installation measurement and verification is proposed or required, the calculation methodology must describe in detail how the pre and post project measurements will be used to estimate the expected energy savings impacts for this measure. The unlocked energy savings calculation workbooks, simulation models, raw trend data, etc. that the expected energy savings are based upon must be provided with the project files.

### DEER Peak Demand Period

The DEER Peak Demand Period is the average demand impact, for installed or implemented measures, as would be applied to the electric grid (not applicable to Natural Gas projects). Peak demand reduction will be evaluated using the Database for Energy Efficiency Resources (DEER) peak approach. The DEER peak method is defined as “an estimated average grid level impact for a measure between 2 p.m. and 5 p.m. during a ‘heat wave’ defined by three consecutive weekdays for weather conditions that are expected to produce a regional grid peak event.”

The DEER Peak periods are further defined by individual climate zones. Because the definition is based on average grid-level impacts it has been determined that all measures must use the predefined “heat wave” periods in Table below.

Table 6 DEER Peak Periods by Climate Zone

| Climate Zone | Start Date | End Date |
| --- | --- | --- |
| 1 | 16-Sep | 18-Sep |
| 2 | 8-Jul | 10-Jul |
| 3 | 8-Jul | 10-Jul |
| 4 | 1-Sep | 3-Sep |
| 5 | 8-Sep | 10-Sep |
| 6 | 1-Sep | 3-Sep |
| 7 | 1-Sep | 3-Sep |
| 8 | 1-Sep | 3-Sep |
| 9 | 1-Sep | 3-Sep |
| 10 | 1-Sep | 3-Sep |
| 11 | 8-Jul | 10-Jul |
| 12 | 8-Jul | 10-Jul |
| 13 | 8-Jul | 10-Jul |
| 14 | 26-Aug | 28-Aug |
| 15 | 25-Aug | 27-Aug |
| 16 | 8-Jul | 10-Jul |

The periods are based on a typical year using a 2014 calendar. If the peak period falls on a weekend, the following three-day period will be utilized.

CPUC Resolution E-4952 approved the Database for Energy-Efficient Resources (DEER) for 2020. Additionally, this resolution revised the DEER Peak Period definition from 2:00 p.m. to 5:00 p.m. to 4:00 p.m. to 9:00 p.m. effective January 1, 2020. In accordance with CPUC memo issued on 03/21/19, operationalizing the 2020 DEER Peak Period change, effective January 1, 2020, per CPUC Res E-4952 for custom projects shall be as follow:

|  | PA application received by December 31, 2019 (including any other PA approved projects prior to December 31, 2019) | All PA application received on or after January 1, 2020 |
| --- | --- | --- |
| Project Documentation Requirements for PA application (All project must be installed and commissioned, and the required IR must be completed and submitted to PA within the program specific project installation timeframe after project approval.) | Example: kWh savings calculated under the 2016 Title 24 | Example: kWh savings calculated under the 2019 Title 24 |
|  | kW savings calculated under the current 2:00 p.m. to 5:00 p.m. peak period | kW savings calculated under the new 4:00 p.m. to 9:00 p.m. peak period |
| Report/Claim Demand Savings (Post-Installation Report application completion/submission date may occur after January 1, 2020) | kW savings calculated under the current 2:00 p.m. to 5:00 p.m. peak period | kW savings calculated under the new 4:00 p.m. to 9:00 p.m. peak period |

## Custom Project Measurement and Verification Plan Documentation Minimum Requirements

A measurement and verification (M&V) plan supports the proposed calculation method by providing a detailed plan for the collection of data that will be measured and used to estimate the expected energy savings impacts of a custom measure.  The M&V plan describes the requirements for data collection used to establish the measure baseline and the requirements for data collection used to verify the energy savings impacts after the measure has been installed. The purpose of M&V is to reduce the uncertainty of the energy savings impact analysis and to increase the reliability of the energy savings estimates. M&V plan documentation should identify the critical uncertain factors associated with estimating the energy savings impacts of a measure and present plan to reduce or eliminate the uncertainty associated with those factors. M&V plans must be carefully designed to provide reliable energy savings estimates in accordance with good engineering practice, CPUC policies and PA program rules.

Projects must not be approved to proceed to implementation until a well-conceived M&V plan has been designed, documented, reviewed and approved. The PA reviewers must be diligent in reviewing the implementer’s projects and ensure that all reasonable efforts are made to increase the reliability of the energy savings estimates. If an M&V plan is not documented in enough detail, it is possible that some critical measurement point may not be installed. The customer must be aware of the measurement requirements and ensure that all required data points are installed as part of the project. The PA should be certain that the customer is aware that they are required to provide this information as a condition of program participation.

The M&V plan must provide concise descriptions including measurement points, measurement duration, measurement interval, measurement equipment, system diagrams, a discussion of the accuracy measurement equipment and uncertainty associated with the results. System diagrams showing measurement points with point names included should be provided to facilitate the review of the proposed M&V plan. The raw data logger files and .CSV extracts of the raw data must be included in the project files for all projects.

When deviations from proposed calculation methodology and/or M&V plans are necessary, the PA should provide a well-documented explanation regarding the reasons for the variation from the original plan and a detailed description of the proposed changes to the previously approved approach to estimating energy savings impacts. Substantial changes to an M&V plan approved for a project should invalidate any previously issued approval for the project.

- Appendix A – Glossary

| Term | Definition |
| --- | --- |
| Accelerated Replacement (AR) | See Measure Application Type. |
| Accelerated Replacement Cost (ARC) | The full measure cost incurred to install the new high-efficiency measure, reduced by the net present value of the full measure cost that would have been incurred to install the standard efficiency equipment at the end of the remaining useful life period. |
| Add-On Equipment (AOE) | See Measure Application Type. |
| Aggregation | Method of quantifying meter-based savings claims by comparing pre/post normalized meter data from a population of participants with pre/post normalized meter data from a population of non-participants. Claims are made at the program or population level. |
| Behavioral, Retrocommissioning, and Operational (BRO) | See Measure Application Type. |
| California Public Utilities Commission (CPUC) | Regulates investor-owned electric and natural gas utilities operating in California. Regulates privately owned electric, natural gas, telecommunications, water, railroad, rail transit, and passenger transportation companies, in addition to authorizing video franchises. |
| Code | In California energy efficiency context, generally refers to Title 20 (appliance energy efficiency) and Title 24 (building energy efficiency) of the California Code of Regulations but can be any codes and regulations enacted by federal and local governments and regulatory agencies that mandate a particular technology to be utilized. |
| Community Choice Aggregators (CCA) | Organizations created by local governments pursuant to Assembly Bill 117 for the purpose of procuring power and administering energy efficiency programs on behalf of local citizens. |
| Comparison Group | A population of non-participating customers similar and representative of a population of customers participating in an energy efficiency program. In an aggregation meter-based savings approach, the difference in normalized usage between the comparison group and the participating population yields the program’s savings. |
| Coverage Factor | The range in observed values of independent variables during the baseline period in a site-specific meter-based analysis. |
| Customer | An account holder who receives delivered energy from one of the Investor Owned Utilities (IOUs). The parent company of the account holder and any of its subsidiaries are considered one IOU customer. |
| Database of Energy Efficiency Resources (DEER) | Database located at: http://www.deeresources.com that contains information on energy efficiency technologies and measures, including estimates of energy savings potential and measure costs for these technologies in residential and non-residential applications. |
| Deemed Measure | A prescriptive energy efficiency measure. Energy efficiency measures with predefined savings calculations, cost, eligibility, and other measure attributes. |
| DEER Peak Demand Savings (through 12/31/2019) | The average demand impact, for an installed measure, as would be “seen” at the electric grid level, averaged over the nine hours, between 2 p.m. and 5 p.m., during the three-consecutive weekday period which contains the highest average temperature during the 12 p.m. to 6 p.m. period for those three days., |
| DEER Peak Demand Savings (after 1/1/2020) | The average demand impact as would be “seen” at the electric grid level, averaged across 15 hours from 4 p.m. to 9 p.m. during the three-consecutive weekday period containing the highest algebraic sum of: - The average temperature over the three-day period, - The average temperature from noon to 6 p.m. over the three-day period, and - The peak temperature within the three-day period. The Peak Period shall fall within the dates of June 1 through September 30, inclusive. The three Peak Period days shall not include a holiday. Holidays within this window of dates include July 4th, or the nearest weekday to July 4th, and Labor Day. |
| Delivery Channel | The target of an EE program activity is known as the delivery channel, usually described as upstream (directed at manufacturers of EE measures), midstream (directed at distributors of EE measures), downstream (directed at retailers of EE measures or at retail locations where EE measures are sold), or direct install (directed at and provided directly to the customer). Otherwise known as “channel”. |
| Direct Energy Savings | The primary energy and demand impacts that result directly from a measure such as the savings that result from the equipment involved in a retrofit activity (e.g., savings resulting directly from the lower input wattage of newly installed efficient lighting fixtures). Associated with Resource Programs as opposed to Non-Resource Programs. |
| Direct Install | Energy efficiency solutions provided directly to the customer at little or no cost through installation contractors provided and managed by an Implementer. |
| Disadvantaged Communities | Pursuant to Section 39711 of the Health and Safety Code, the California Environmental Protection Agency (CalEPA) developed a means for identifying disadvantaged communities, which may include, but are not limited to: - Areas disproportionately affected by environmental pollution and other hazards that can lead to negative public health effects, exposure, or environmental degradation. A.17-01-013 et al. - Areas with concentrations of people that are of low income, high unemployment, low levels of homeownership, high rent burden, sensitive populations, or low levels of educational attainment. |
| Downstream | Classification of program delivery in which program is delivered by agents or representatives (including installation contractors) that have direct interaction with end-use customers or through a program website. |
| Dual Baseline | Means that an existing baseline is used for the calculation of energy savings for the remaining useful life of the removed equipment. At the end of the remaining useful life (RUL), the customer would have needed to replace the failed equipment with equipment that reflected current energy efficiency standards and/or standard practices. This second baseline is used to calculate the [reduced] savings for the remainder of the effective useful life of the measure. |
| Early Retirement (ER) | See Measure Application Types. |
| Effective Useful Life (EUL) | An estimate of the median number of years that the measures installed under the program are still in place and operable. |
| Embedded Energy | The amount of energy (in kWh) needed to supply, move, and treat water (in million gallons or acre/ft), delivered to a user, and to treat the water post-use (if necessary). |
| Emerging Technologies (ET) | New energy efficiency technologies, systems, or practices that have significant energy savings potential but have not yet achieved sufficient market share (for a variety of reasons) to be considered self-sustaining or commercially viable. Emerging technologies include late stage prototypes or under-utilized but commercially available hardware, software, design tools or energy services that if implemented appropriately should result in energy savings. |
| End Use | Thirteen distinct end uses are Space Heating – Electric and Gas, Space Cooling – Electric and Gas, Ventilation, Water Heating – Electric and Gas, Cooking – Electric and Gas, Refrigeration, Inside Lighting, Office Equipment, Outdoor Lighting, Misc. Equipment – Electric and Gas, Process – Electric and Gas, Motors, Air Compressors |
| Energy Efficiency (EE) | Activities or programs that influence customers to reduce energy use by making investments in more efficient equipment or controls, which reduce energy use while maintaining a comparable level of service. |
| Energy Efficiency Measure or Measure | Energy using equipment, control system, or practice whose installation and/or implementation results in a reduction of energy purchased from the distribution utility (while maintaining a comparable or higher level of a specific service or to accomplish a specific amount of work). For purposes of these Rules, solar-powered, non-generating technologies are eligible energy efficiency measures. To be included in a program, the CPUC must approve the measure assumptions to be used to report savings. Also referred to simply as “measure”. |
| Energy Efficiency Savings | Energy efficiency measures may result in both energy savings (measured in kilowatt hours or therms) and demand (measured in kilowatts). The term “energy savings” may be used to refer to both energy and demand reductions. |
| Energy Efficiency Project | Implementation of an EE measure or group of measures at essentially one time, through a single incentive application. |
| Evaluability | An assessment of the probability that sufficient evaluation information will be available when evaluations are actually undertaken. |
| Evaluation, Measurement and Verification (EM&V) | Activities that evaluate, monitor, measure, and verify performance or other aspects of energy efficiency programs or their market environment. The CPUC’s Energy Division has management and contracting responsibility estimating savings impacts for purposes of calculating savings claims. The IOUs are authorized to contract and manage studies to evaluate program design and to assess the market. See Measurement & Verification. |
| Ex Ante Review (EAR) or Custom Project Review | Process that estimates the potential energy savings and the customer financial incentive for an energy efficiency measure before it is installed and/or implemented based on predictions of typical operating conditions and baseline usage. The review process that occurs before savings for a measure or project savings claim is “frozen” and undertaken to verify that the expected savings values used to calculate the reported savings are reasonable and based on best available information. |
| Ex Ante Values or Expected Savings | Estimated savings, cost, incentive, effective useful life, net-to-gross ratio, and other values that are the basis of the savings claim. The expected savings values are the values prior to the evaluation of the portfolio cycle. These values reflect the IOU-reported savings, which may be revised with an impact evaluation. |
| Experimental Design | An approach to program design which quantifies savings by identifying two similar customer groups, installing and/or implementing a set of energy efficiency measures in one group, and observing the difference in normalized usage between the two groups. |
| Ex Post Values | Estimated savings, cost, effective useful life, net-to-gross ratio, and other values that are determined by the CPUC through the Evaluation, Measurement and Verification process for energy efficiency measures, programs, and portfolios. Ex post evaluations serve the fundamental purpose of developing estimates of reliable load impacts delivered through ratepayer-funded efficiency efforts. |
| Free Rider | Program participants who would have installed and/or implemented the measure or equipment in the absence of the program. To prevent free ridership, implementers should avoid claiming influence if their interventions, if any, in a specific project don’t happen during customer’s decision-making process or result in no additional efficiency improvement over what the customer is planning to do anyway to meet today’s needs. |
| Fuel Substitution | Programs which are intended to substitute energy using equipment of one energy source with a competing energy source (e.g. switch from electric resistance heating to gas furnaces). |
| Fuel Switching | See Fuel Substitution. |
| Full Measure Cost (FMC) | The total cost of the EE measure which may include audits, design, engineering, construction, equipment, materials, removal, recycling, overhead, sales tax, shipping, and labor directly related to the energy efficiency attributes of the measure. Product or feature choices not directly related to EE should be removed. Labor cost can be contractor or in-house if proof of direct project hours and costs are provided. Invoices should include the make, model, unit price, and quantity of equipment, the vendor name and address, the customer’s name and address, the invoice number, the date of sale, and the total cost. Participant costs include: - Initial capital costs, including sales tax - Ongoing operation and maintenance costs include fuel cost - Removal costs, less salvage value - Value of the customer's time in arranging for installation, if significant. |
| Gross Realization Rate | Also known as Realization Rate. The ratio of achieved energy savings to predicted energy savings that considers the likelihood that not all Commission-approved projects undertaken by IOUs will come to fruition. |
| Gross Savings | Gross savings count the energy savings from energy efficiency measures installed by program participants irrespective of whether or not those savings are from free riders. Gross savings are adjusted by a net-to-gross ratio to produce net savings (that is, to remove the savings associated with free riders). It should be noted that Gross Savings do include adjustments for Realization and Installation Rates. (See also GSIA.) |
| Gross Savings and Installation Adjustment (GSIA) | The GSIA is a DEER adjustment factor that combines the Realization Rate and Installation Rate. It is dependent on both the measure technology and how the measure is delivered. |
| Hard-to-Reach (HTR) - Residential | Those customers who do not have easy access to program information and/or generally do not participate in energy efficiency programs due to a language, income, housing type, geographic, and/or home ownership (split incentives) barrier. These barriers are defined as: - Language – Primary language spoken is other than English, and/or - Income – Those customers who qualify for the California Alternative Rates for Energy or the Family Electric Rate Assistance Program, and/or - Housing Type – Multifamily and Mobile Home Tenants (rent or lease), and/or - Geographic – Located in areas other than the San Francisco Bay Area, San Diego area, Greater Los Angeles Area (Los Angeles, Orange, San Bernardino, Riverside and Ventura counties) or Sacramento, or in a Disadvantaged Community (as designated by CalEPA) and/or - Home Ownership – Renters. When classifying a customer as hard-to-reach, it is considered sufficient if only two of the criteria listed above are met if one of the criteria is the geographic criteria. If the geographic criteria are not met, three of the other criteria must be met. |
| Hard-to-Reach – Non-Residential | Business customers who do not have easy access to program information or generally do not participate in energy efficiency programs due to language, business size, geographic location/Disadvantaged Community status, or lease (split incentive) barrier. |
| Implementer | Commercial entity involved in designing and/or implementing an energy efficiency program. An Implementer may be a separate commercial entity or a department within the IOU or program administrator. A separate entity, contracted by a program administrator, to design and deliver an energy efficiency program is also referred to as a third-party implementer., |
| Incentive | Payments for pre-approved projects that retrofit or install new equipment to save energy and are typically much larger in scope than those that qualify for a rebate; typically, the term “incentives” (as opposed to “rebates”) applies to custom projects. |
| Incremental Measure Cost | The additional cost of installing a more efficient measure calculated from the price differential between energy efficient equipment and services and standard or baseline equipment or services. Note that any cost premium resulting from features or components that do not improve the efficiency of the equipment is excluded from the incremental measure cost calculation. |
| Indirect Energy Savings or Interactive Effects | The secondary energy and demand impacts that result from a measure to a secondary system or equipment not directly involved in the retrofit activity (e.g., cooling or heating energy impacts resulting from the installation of efficient lighting fixtures). Associated with Resource Programs as opposed to Non-Resource Programs. |
| Industry Standard Practice (ISP) | A measure or practice that represents the typical current equipment purchased, or a commonly used, currently trending practice in the applicable markets absent the program. ISP represents today’s market trend, i.e., whether a technology would be commonly purchased by customers today (not in situ or saturation), with consideration of key factors or barriers driving the technology adoption. The practice is considered “ISP-by-code” when the selection and adoption of that specific measure or practice is required to meet government standards, codes or regulations (including non-energy regulations). The practice is considered “ISP-by-default” when the selected measure is the only viable option considered by customer. See Standard Practice. In addition, an ISP can be a method or technique that has been generally accepted as superior to any alternatives because it produces results that are superior to those achieved by other means or because it has become a customer’s standard way of doing things (e.g., a standard way of complying with legal or ethical requirements, or a customer’s preference for the best product with superior efficiency in customized design). This is generally applicable to custom measures and projects. |
| Influence | See Program Influence. |
| Installation Rate | The ratio of the number of verified installations of a measure divided by the number of claimed installations rebated by the utility during a claim period. Typically, Installation Rates used on an expected savings basis will be based upon previous ex post evaluations. |
| International Performance Measurement and Verification Protocol (IPMVP) | The IPMVP provides an overview of current best practice techniques available for verifying results of energy efficiency, water efficiency, and renewable energy projects in commercial and industrial facilities. It may also be used by facility operators to assess and improve facility performance. The IPMVP is the leading international standard in M&V protocols. It has been translated into 10 languages and is used in more than 40 countries. |
| Investor-Owned Utility (IOU) | A business organization providing a product or service regarded as a utility (such as water, natural gas or electricity) to a service area, and managed as a private enterprise rather than as a function of government or a utility cooperative. (e.g., Pacific Gas and Electric Company) |
| Measurement and Verification (M&V) | As distinguished from Evaluation, Measurement & Verification, M&V refers specifically to the process of quantifying measure- or project-level energy and cost savings resulting from improvements in energy-consuming systems. The effort required and rigor achieved from M&V should be commensurate with the project capital investment and savings risk. |
| Measure Application Type (MAT) | See Section 2.4. |
| Midstream | Type of program delivery in which incentive goes to the distributor or retailer to encourage promotion of energy efficiency products in the market. Incentive may or may not be passed to the end-use customer. Incentive may or may not be passed to the customer. Does not include programs partnering with contractors or installers. |
| Net Savings | The savings attributable to a program realized when free ridership is accounted for. The savings is calculated by multiplying the gross savings by the net to gross ratio. |
| Net-to-Gross (NTG) Ratio | A ratio or percentage of net program impacts divided by gross or total impacts. Net-to-gross ratios are used to estimate and describe the free-ridership that may be occurring among energy efficiency program participants. |
| New Construction/New Capacity (NC) | See Measure Application Type. |
| Non-Resource Program | Energy efficiency programs that do not directly procure energy resources that can be counted, such as marketing, outreach and education, workforce education and training, and emerging technologies. |
| Normal Replacement (NR) | See Measure Application Type. |
| Payback Period | The period of time required to recoup the funds expended in an investment, whereby future income is not adjusted to account for the time value of money. |
| Persistence | Measure life is a function of equipment life and measure persistence. Equipment life is the number of years that a measure is installed and will operate until failure. Measure persistence takes into account business turnover, early retirement of installed equipment, and other reasons measures might be removed or discontinued. |
| Point-of-Sale (POS) Rebate | Rebate for purchase of energy efficient product at the time of sale as a line item on the invoice/receipt. |
| Portfolio | A composition of energy efficiency programs, such as all IOU and non-IOU energy efficiency programs funded by ratepayers that are implemented during a program year or cycle. May also refer to a group of programs sponsored, managed, and contracted for by a particular IOU. |
| Preliminary Ex-Ante Review Database (PEARdb) | The Preliminary Ex Ante Review database (PRdb) is a supplement to the Official Ex Ante database (EAdb). While the EAdb contains the official ex ante data that is available for claims processing, the PRdb provides access to data that the ex-ante team has recently developed, is currently reviewing or has newly approved. |
| Preponderance of Evidence (POE) | Preponderance of evidence is a term borrowed from civil law. The preponderance of evidence standard requires that evidence for two opposing conditions be considered – in this case Accelerated Replacement and Normal Replacement baselines – and the condition more likely to be true (greater than 50% probability) be chosen. |
| Program | A collection of defined activities and measures that: - are carried out by the administrator and/or their subcontractors and implementers, - target a specific market segment, customer class, a defined end use, or a defined set of market actors (e.g. designers, architects, homeowners), - are designed to achieve specific efficiency related changes in behavior, investment practices or maintenance practice in the energy market, and are guided by a specific budget and implementation plan. |
| Program Administrator (PA) | A person, company, partnership, corporation, association or other entity selected by the CPUC and any subcontractor that is retained by an aforesaid entity to contract for and administer energy efficiency programs funded in whole or in part from electric or gas Public Goods Charge funds. For purposes of implementing PU Code Section 381.1, an “administrator” is any party that receives funding for and implements energy efficiency programs pursuant to PU Code Section 381. PAs currently include investor-owned utilities, community choice aggregators, and regional energy networks. |
| Program Administrator Cost Test (PAC) | Measures the net resource benefits from the perspective of the program administrator. Like the TRC, the benefits are the avoided costs of the supply-side resources avoided or deferred. The costs are defined to include the net present value of all costs incurred by the program administrator while, unlike the TRC, the PAC excludes the costs incurred by the participating customers. As in the TRC test, the net present values for the PAC are calculated using a discount rate that reflects each utility’s after-tax weighted cost of capital, based on the most recent cost of capital decision. |
| Program Influence | The program services, such as technical or financial assistance, provided during a customer’s decision–making process that motivate a customer to implement the more efficient, more costly energy efficiency measure than they otherwise would have. |
| Public Purpose Program (PPP) | State-mandated gas and electric assistance programs for low income customers, energy efficiency programs, and public-interest research and development that are funded by surcharges on utility bills. |
| Qualified Products List (QPL) | List of equipment that meets specifications and qualification requirements set forth in the applicable measure specification. |
| Randomized Control Trial (RCT) | A type of experimental design in which members of an eligible population are randomly assigned to either a treatment group or a control group. A program intervention (for example, implementation of a set of energy efficiency measures, or information about an energy efficiency program) is then provided to only the treatment group. Net savings is estimated as the difference in usage between the two groups. |
| Ratepayer | Those customers who pay for gas or electric service under regulated rates and conditions of service. |
| Rebate | A financial incentive paid to the customer in exchange for a specific action, typically the installation of energy efficiency equipment. |
| Regressive Baseline | Use of a Code or standard practice baseline when existing equipment efficiency exceeds code or standard practice efficiency. |
| Remaining Useful Life (RUL) | An estimate of the median number of years that a measure being replaced under the program would remain in place and operable had the program intervention not caused the replacement. |
| Remote Ex Ante Database Interface (READI) | READI is a program that allows users to examine the CPUC's databases of ex-ante measure information. With the READI program you can: - Browse and examine the ex-ante data tables. - Find existing DEER and non-DEER measure definitions. - Find and examine the Technologies that are used in the measure definitions. - Examine the deemed energy impacts associated with measures in tables and graphs. - Download data tables to your computer as workbook or CSV files. - Create and Save new measures based on existing Scaled measure definitions. |
| Repair Eligible (RE) | See Measure Application Type. |
| Repair Indefinitely (RI) | See Measure Application Type. |
| Resource Program | Energy efficiency programs that generate energy savings that are quantified and tracked by program administrators. |
| Sector | Customer groups sharing common characteristics and barriers that are building blocks to PG&E’s portfolio, including Residential, Commercial, Public, Industrial, Agricultural, and Cross-Cutting. |
| Simple Payback Period | The amount of time it takes for the financial savings from an EE measure to recoup the funds invested in that measure. |
| Site Specific | Method of quantifying meter-based savings claims by analyzing pre/post normalized meter data for a particular site. Claims are made at the site or project level. |
| Small Business | Resolution E-4939 adopted the small business definition currently approved by the CPUC for use in IOU tariffs: “A small business customer is defined as a non-residential customer with an annual electric usage of 40,000 kilowatt hours (kWh) or less, or an energy demand of 20 kilowatt (kW) or less, or annual consumption of 10,000 therms of gas or less. Alternatively, a small business customer is a customer who meets the definition of “micro-business” in California Government Code Section 14837 (Section 14837). Section 14837 defines a micro-business as a business, together with affiliates, that has average annual gross receipts of $3,500,000 or less over the previous three years, or is a manufacturer, as defined in Section 14837 subdivision (c), with 25 or fewer employees. The California Department of General Services is authorized to amend the gross receipt amount. In January 2010 DGS increased the gross receipt amount from $2,750,000 to the current amount of $3,500,000. (see, California Office of Administrative Law, Regulatory Action Number 2000-1110-01S.) This definition does not include fixed usage or unmetered rate schedule customers.” |
| Source BTU Consumption | Conversion of retail energy forms (kWh, therms) into the BTU required to generate and deliver the energy to the site. This conversion is used to compare the relative impacts of switching between fuel sources at the source or BTU level for the three-prong test required for fuel-substitution programs. |
| Standard Practice Baseline | A measure or practice used as the baseline for a specific measure that represents what the customer would implement in the absence of program influence or intervention. A standard practice can be established from an ISP study, from similar and recent typical activity, or from an analysis of the current viable options applicable to the customer and the customer’s typical decision-making process. Where a standard practice is identified that exceeds the minimum efficiency established by a code or regulation, the standard practice is the appropriate baseline. |
| Standard Measure Cost (SMC) | The total cost of the baseline measure which may include audits, design, engineering, construction, equipment, materials, removal, recycling, overhead, sales tax, shipping, and labor directly related to the baseline attributes of the measure. Product or feature choices not directly related to baseline measure should be removed. Labor cost can be contractor or in-house if proof of direct project hours and costs are provided. Invoices should include the make, model, unit price, and quantity of equipment, the vendor name and address, the customer’s name and address, the invoice number, the date of sale, and the total cost. Participant costs include: - Initial capital costs, including sales tax - Ongoing operation and maintenance costs include fuel cost - Removal costs, less salvage value |
| Third-Party Implementer | See Implementer. |
| Title 24 | Title 24 of the California Code of Regulations is known as the California Building Standards Code. Part 6 is the California Energy Code. |
| To Code | Refers to the installation of measures (or the resulting savings) with an efficiency level that complies with (but does not exceed) the current California Title 24 Building Efficiency Standards, Title 20 Appliance Efficiency Regulations, or industry standard practice. |
| Total Resource Cost Test (TRC) | The TRC is used by the CPUC as the primary indicator of energy efficiency program cost effectiveness and is the ratio between costs and benefits. The costs are those incurred by both participants (e.g., measures/equipment installed) and the program administrator. The benefits are the avoided costs of the supply-side resources avoided or deferred. |
| Trade Professionals | Any third party such as contractors, installers, retailers, distributors, manufacturers, engineers, and energy service companies, etc. |
| Upstream | Type of program delivery in which an incentive goes to the manufacturer to encourage production and promotion of energy efficiency products in the market. Incentive may or may not be passed to the end-use customer. |
| Water-Energy Savings | The savings of Embedded Energy that results from water-savings projects. Considered part of the Water-Energy Nexus. |
| Water-Energy Nexus (WEN) | Term applied to the energy used to treat, heat, and convey water in California and programmatic opportunities to reduce energy use and conserve water. |
| Weatherization (WEA) | See Measure Application Types. |
| Workpaper | Documentation prepared by the program administrators or program implementers that documents the data, methodologies, and rationale used to develop ex-ante estimates that are not in already fully contained in the Database for Energy Efficiency Resources (DEER) (D.10-04-029, footnote page 20). |

- Appendix B – Abbreviations

The following abbreviations are used throughout the document:

| Abbreviation | Term |
| --- | --- |
| AOE | Add-On Equipment |
| AR | Accelerated Replacement |
| ARC | Accelerated Replacement Cost |
| ASHRAE | American Society of Heating, Refrigerating and Air-Conditioning Engineers |
| BRO | Behavioral, Retrocommissioning, and Operational |
| BRO-Bhv | BRO-Behavioral |
| BRO-RCx | BRO-Retrocommissioning |
| BRO-Op | BRO-Operational |
| BTU | British Thermal Unit |
| CAL TF | California Technical Forum |
| CCA | Community Choice Aggregators |
| CEC | California Energy Commission |
| CFL | Compact Fluorescent Lightbulb |
| CIP | Central Inspection Team |
| CIT | Custom Implementation Team |
| CMPA | Custom Measure and Project Archive |
| COM | Commercial Building Type |
| CPUC | California Public Utilities Commission |
| CV(RMSE) | Coefficient of Variation of the Root Mean Squared Error |
| DA | Direct Access |
| DEER | Database for Energy Efficient Resources |
| EAR | Ex Ante Review |
| EE | Energy Efficiency |
| EI | Energy Insight |
| EISA | Energy Independence and Security Act |
| EM&V | Evaluation, Measurement, & Verification |
| ER | Early Retirement |
| ESP | Electric Service Provider |
| ET | Emerging Technologies |
| EUL | Effective Useful Life |
| EM&V | Evaluation, Measurement and Verification |
| FMC | Full Measure Cost |
| GSIA | Gross Savings and Installation Adjustment |
| HTR | Hard-to-Reach |
| HVAC | Heating, Ventilation, and Air Conditioning |
| ICP | Investor Confidence Project |
| IMC | Incremental Measure Cost |
| IOU | Investor-Owned Utility |
| IPMVP | International Performance Measurement and Verification Protocol |
| ISP | Industry Standard Practice |
| LED | Light Emitting Diode |
| MAT | Measure Application Type |
| M&V | Measurement and Verification |
| MWD | Metropolitan Water District |
| NEW | New Construction |
| NMBE | Normalized Mean Bias Error |
| NMEC | Normalized Metered Energy Consumption |
| NR | Normal Replacement |
| NTG or NTGR | Net-to-Gross Ratio |
| OBF | On-Bill Financing |
| OTR | “Other” Building Type |
| O&M | Operations and Maintenance |
| PA | Program Administrator |
| PAC | Program Administrator Cost Test |
| PC | Project Cost |
| POE | Preponderance of Evidence |
| POS | Point-of-Sale |
| PPP | Public Purpose Program |
| QA/QC | Quality Assurance/Quality Control |
| QPL | Qualified Product List |
| RCA | Refrigerant Charge Adjustment |
| RCT | Randomized Control Trial |
| RCx | Retrocommissioning |
| READI | Remote Ex Ante Database Interface |
| REA | Retrofit Add-on |
| ROB | Replace on Burnout |
| RUL | Remaining Useful Life |
| SBD | Savings by Design |
| SMC | Standard Measure Cost |
| TRC | Total Resource Cost |
| UES | Unit Energy Savings |
| VRF | Variable Refrigerant Flow |
| WEA | Weatherization |
| WEN | Water-Energy Nexus |
| WPA | Workpaper Project Archive |
| WRR | Wattage Reduction Ratio |

- Appendix C – Bibliography

AB802, Energy Efficiency, October 8, 2015.

https://legiscan.com/CA/text/AB802/id/1145844

AB 1890, The Electric Utility Industry Restructuring Act. September 24, 1996. http://www.cpuc.ca.gov/General.aspx?id=7881.

ASHRAE. ASHRAE Guideline 14-2014 – Measurement of Energy, Demand, and Water Savings. https://www.ashrae.org/home.

California Code, Public Utilities Code, PUC Section 339.8 (electric) and Sections 890-900 (gas).

California Code, Public Utilities Code, PUC Section 381.1 and Section 381.2.

California Code of Regulations, Title 24 (Building Standards Code). http://www.energy.ca.gov/2015publications/CEC-400-2015-037/CEC-400-2015-037-CMF.pdf (2016 version)

California Code of Regulations, Title 20, Division 2, Chapter 4, Article 4 (Appliance Energy Efficiency Regulations).

California Direct Access Program, http://www.cpuc.ca.gov/General.aspx?id=7881.

California Energy Commission. Glossary of Energy Terms.

http://www.energy.ca.gov/glossary/glossary-i.html.

California Public Utilities Commission. March 23, 2018. Administrative Law Judges’ Ruling Seeking Comment on Certain Measurement and Verification Issues, Including for Third Party Programs (A.17-01-013, et al.).

California Public Utilities Commission. January 11, 2018. D. 18-01-004: Decision Addressing Third Party Solicitation Process for Energy Efficiency Programs (A.17-01-013, et al.).

California Public Utilities Commission. November 9, 2017, D.17-11-006: Decision Regarding To-Code Pilots.

California Public Utilities Commission, Energy Division. August 24, 2017. Resolution E-4867: Approval of the Database for Energy-Efficient Resources (DEER) updates for 2019 and, revised versions 2017 and 2018 in Compliance with D.15-10-028, D.16-08-019, and Resolution E-4818.

California Public Utilities Commission, Energy Division. March 2, 2017. Resolution E-4818. Measure level baseline assignment and preponderance of evidence guidance to establish eligibility for an accelerated replacement baseline treatment.

California Public Utilities Commission. December 30, 2016. Assigned Commissioner and Administrative Law Judge’s Ruling Regarding High Opportunity Energy Efficiency Programs or Projects.

California Public Utilities Commission. August 18, 2016, D.16-08-019: Decision Providing Guidance for Initial Energy Efficiency Rolling Portfolio Business Plan Filings

California Public Utilities Commission. August 18, 2016. Resolution E-4795: Approval of the Database for Energy-Efficient Resources (DEER) updates for 2017 and 2018, in Compliance with D.15-10-028.

California Public Utilities Commission. December 3, 2015. Resolution G-3510: PG&E, SCE, SoCalGas, and SDG&E addressing approval of Energy Efficiency (EE) Incentive awards for program year (PY) 2013 and 2014.

California Public Utilities Commission, October 22, 2015, D.15-10-028: Decision Re Energy Efficiency Goals for 2016 and Beyond and Energy Efficiency Rolling Portfolio Mechanics.

California Public Utilities Commission. September 17, 2015. D.15-09-023: Decision Regarding Tools for Calculating the Embedded Energy in Water and an Avoided Capacity Cost Associated with Water Savings.

California Public Utilities Commission. April 21, 2015. D. 05-04-051: Interim Opinion – Updated Policy Rules for Post-2005 Energy Efficiency and Threshold Issues Related to Evaluation, Measurement and Verification of Energy Efficiency Programs.

California Public Utilities Commission. November 3, 2014. CPUC Staff Memo: Required Corrections to Measure Level Input Parameters Identified by CPUC Staff per D.14-10-046 Order Paragraph 16.

California Public Utilities Commission. October 28, 2013. Introduction to the California Net Energy Metering Ratepayer Impacts Evaluation.

www.cpuc.ca.gov/WorkArea/DownloadAsset.aspx?id=4292.

California Public Utilities Commission. September 19, 2013. D.13-09-044: Decision Implementing 2013-2014 Energy Efficiency Financing Pilot Programs.

California Public Utilities Commission. July 2013. Energy Efficiency Policy Manual v5 (R.09-11-014). http://www.cpuc.ca.gov/uploadedFiles/CPUC_Public_Website/Content/Utilities_and_Industries/Energy_-_Electricity_and_Natural_Gas/EEPolicyManualV5forPDF.pdf.

California Public Utilities Commission. May 10, 2012. D. 12-05-015: Decision Providing Guidance on 2013-2014 Energy Efficiency Portfolios and 2012 Marketing, Education, and Outreach.

California Public Utilities Commission. July 14, 2011. D. 11-07-030: Third Decision Addressing Petition for Modification of Decision 09-09-047 (A. 08-07-021, et al).

California Public Utilities Commission. April 2006. California Energy Efficiency Evaluation Protocols: Technical, Methodological, and Reporting Requirements for Evaluation Professionals.

California Public Utilities Commission. January 27, 2005. D. 05-01-055: Interim Opinion on the Administrative Structure for Energy Efficiency: Threshold Issues.

California Public Utilities Commission. July 2002. California Standard Practice Manual: Economic Analysis of Demand-Side Programs and Projects.

California Public Utilities Commission. READI Help Measure Catalog. http://www.deeresources.com/index.php/22-readi-help/24-measure-catalog

California Statewide Qualified LED Product List, http://caioulightingqpl.com/.

Draft Guidance for Program Level M&V Plans: Normalized Meter-based Savings Estimation.

Efficiency Valuation Organization. International Performance Measurement and Verification Protocol (IPMVP). https://evo-world.org/en/products-services-mainmenu-en/protocols/ipmvp

https://www.pge.com/includes/docs/pdfs/mybusiness/energysavingsrebates/rebatesincentives/taxcredit/onbillfinancing/handbook_obf.pdf

Investor Confidence Project. February 2018. Targeted Commercial Protocol, version 2.0. http://www.eeperformance.org/targeted-commercial.html.

State and Local Energy Efficiency Action Network (SEE Action). December 2012. Energy Efficiency Program Impact Evaluation Guide. https://www4.eere.energy.gov/seeaction/system/files/documents/emv_ee_program_impact_guide_0.pdf.

U.S. Department of Energy, Federal Energy Management Program. November 2015. M&V Guidelines: Measurement and Veriﬁcation for Performance - Based Contracts, Version 4.0.

Working Group Created by D. 16-08-019 to Develop Consensus Recommendations on Measure-Level Baseline Assignments. T1 Working Group Report. http://www.cpuc.ca.gov/WorkArea/DownloadAsset.aspx?id=6442451953

- Appendix D – Statewide Custom Project Influence Job Aid

This document provides policy and technical support for energy efficiency project developers based upon CPUC Staff and investor-owned utilities’ documents that discuss documentation of influence and/or preponderance of evidence.  Given the high variability between projects of the type and quality of influence documentation provided, this document attempts to provide a comprehensive view of the issues based upon the experience gained through the collaboration between the CPUC Staff, SCE, PG&E, SDG&E, and SoCalGas reviewing policy concerns of custom energy efficiency projects. This document seeks to improve project developers’ understanding of the process of analyzing evidence of influence involving a review of all relevant documents and how to weigh that evidence for its completeness, reliability and conviction. The determination of sufficient influence is neither based not only on the presence of a single document nor only the total amount of evidence, but rather, reviewers should determine if the project documentation is sufficiently convincing to support the claim that the Energy Efficiency Program Administrator is the predominant source of influence based on the completeness, veracity and accuracy of the documentation provided.

This job aid is intended to improve the likelihood of project acceptance or approval by:

- Assisting in developing a project-background narrative that includes evidence of customer decision-making process,

- Providing guidance on what is acceptable evidence of influence to support a custom project,

- Evaluating influence-related criteria that do not utilize Yes/No questions or presence/absence of specific communications.

Custom Project Development Documentation for each individual project requires both a narrative and the supporting documentary evidence. A project cannot have just one or the other and the two types of influence are not interchangeable -- both must be supplied.

- The Narrative tells the story of when and how the original communication with customer regarding the project (or specific measure) was initiated by the PA leading them to eventually pursue the project.

- The Evidence supports specific claims of influence in the story (Narrative).

The Narrative should describe, and the Evidence should support the following 8 criteria for every project submitted:

- When and how was the original communication with the customer initiated by the IOU/implementer/developer?

  - Describe when and how the Customer was made aware of the program’s features and measures for this project.

  - Include cases of potentially negative influence including when the customer first initiated contact and why.

  - Has customer thought about potential upgrades, do they know the approximate cost to do so? Are they aware of potential utility incentives? Are they aware of the benefits (EE and non-energy)?

- What are the pre-existing conditions of the energy consuming systems or equipment on the customer’s facility?

  - What is the age of this equipment?

  - If the age is difficult to establish, what makes you believe you can estimate the equipment age?

  - What upgrades or component replacements have been done?

- Does the facility suffer from any pain points, things they don’t like, or anything they are unhappy about with their current systems or equipment?

  - Is the equipment very old or does it no longer meet load/production?  How were these issues identified?

  - Any anecdotal evidence of increased failures, low reliability, increased maintenance?

  - Does the facility need re-programming the EMS/BMS, need re-recommissioning of any systems, not bright enough, buzzing noises or flicker, need to upgrade the “image” of the space?

- What was the Customer planning to do prior to implementer/developer/PA intervention?

  - Business as usual (do nothing) is not assumed, in fact, the case that they were going to do something needs to be disproven, if possible.

  - Are there any facility activities triggering code enforcement requirements that could affect the project?

  - Plans to install a less efficient or less technically advanced version?

  - Has the facility upgraded similar equipment in the recent past at this site or similar facilities and what are the conditions surrounding the initiation of that project, e.g., did they pursue incentives or on-bill financing, and did they follow a deemed or custom approach?

  - For projects that were previously identified but not implemented prior to program intervention. Need to obtain the reasons why customer did not implement previously, who identified (developer/customer/vendor, name and firm name) and when.

- What specific recommendations were made for this project? How were they made?

  - Did the customer once partake of any “lost leader” activities offered by the PA such as measure identification, or an energy audit?

- Describe past energy savings estimates, reports, analyses, problems identified, etc. that were provided to the customer.

- What did the customer do after interacting with the program administrator/implementer/developer?

  - Ex. They were going to do nothing and are now going to move forward with the project.

  - Ex. They were going to do the minimum efficiency (non-incentivized measure) and were moved to install the higher efficiency (eligible) measure.

  - Describe specific discussions and dialogue on key decision points that influenced customer’s decision and enabled the customer to adopt an alternative action that improves final efficiency.

- Who are the Customer decision makers (company role and title) and what were the business requirements that had to be fulfilled in order for the Customer to move forward with the measure/project?

  - Financial criteria including access to financing, Simple Payback Period or ROI, bill savings, demand reduction, etc.

  - If we can identify an EE project that meets their general criteria, when would they be able to move forward? Would they find budget to do so this year? If not, would OBF allow them to implement it sooner?

- Customers with energy or carbon reduction, green or sustainability goals/plans, show how they were influenced to switch to electricity instead of gas, gas instead of electricity, or to use more water to save electricity or gas, and the net Btu reduction (3-prong test).

- Accelerated Replacement (AR) projects must demonstrate with a preponderance of evidence both that program staff convinced the customer that the project was feasible, and that energy efficiency was the critical factor for pursuing the project.  In other words, if not for the program the customer would not be moving forward with the project.

  - If a measure’s Simple Payback Period exceeds its Effective Useful Life (EUL), the Customer should explain the reason(s) behind the business decision to implement the measure(s) even though on paper it appears that the project is not profitable.

  - If a measure’s Simple Payback Period is ≤ 2 years without incentives, financial savings should not be used as the primary influence driver.

Best Practices:

- Every action and verbal or in-person communication should be followed up by an email with an overview of what was discussed, provided, meeting minutes, etc.

- Ask the customer to confirm via a reply with comments and questions to make sure the information was noted accurately, and nothing was missed.

- Get the Customer’s payback and business requirements for the project in writing, then ask for documentation of the leverage we applied in an attempt to influence how those requirements were met with the project.

Influence should include copies of communications and supporting documents to and from end-use customers that document when and how the customers made their decisions and may include:

- Screen shots of emails (we need to link IOU/implementer/developer influence on the Customer)

- Detailed and dated meeting minutes with list of attendees

- Audit reports with Financial analysis and optional comparative measures (be able to support when, how and to whom they were presented)

- Receipts/invoices for existing inventory, pictures of existing inventory

- Maintenance records, etc. (see the 14 influence drivers below)

- Eligible evidence/influence does not include:

  - Projects submitted without documentation (evidence) that supports the Narrative

  - Customer statement with no additional evidence

  - Statements such as, we’ve been working with the customer for 10 years…

  - One individual email that recaps all previous meetings and discussions

  - Evidence that does not precede the incentive application

There are 14 influence drivers that help to define and support the eight influence criteria listed above.

Influence Driver - Identification: The program assists the customer in identifying energy efficiency opportunities.

- Include dialogue from previous customer and project developer meetings showing how the project developer interacted with the customer.

- Include meeting dates and participant names.

- Provide details on the high efficiency measure(s) that were proposed by the project developer.

- Include evidence to show how the project developer made the customer aware of program features and specific measures eligible for incentives (or not).

- When and how the customer decided or was convinced to move forward with the project.

  - Provide specifics for the timeframe and what the project developer did to convince the customer (e.g. which meeting and how).

- Please provide actual e-mail and/or conversation or follow up communication that took place between the project developer and the customer, especially when specific EE project/measure decisions are made.

- If the incentive is a small percentage in comparison to the total project cost, provide additional evidence as to why the incentive is important to the project.

- Provide customer-generated documentation (evidence) of what the customer was originally planning to do in the absence of influence from the project developer and how the project developer was able to get the customer to do what was proposed by the project developer vs. customer's original plan.

- Proposal

- Business plan

- Facility audit with recommendations

- Follow up email with customer reply, decisions and comments

- Etc.

Influence Driver - Technical Assistance: The program provides technical resources to facilitate the project (e.g. equipment inventory, equipment testing, data logging, etc.)

- Demonstrate that the project is not part of a scheduled maintenance or equipment upgrade. Provide evidence that the customer was not going to do this energy efficiency project anyway.

- Demonstrate how poorly functioning equipment is not planned to be repaired or replaced. Provide evidence that the customer was not going to do this energy efficiency project anyway.

- Provide documentation of any preliminary measurements performed by the project developer or the customer to demonstrate equipment functionality.

Influence Driver – Financial Assistance: When the availability of incentives and/or On-Bill Financing directly becomes the deciding factor in the selection of a more efficient alternative solution to the one or ones that would otherwise be selected.

- Provide Simple Payback Period calculations with and without the project developer incentive and/or On-Bill Financing, and a comparison to the customer payback threshold. Payback should be done at a project level (e.g., prove that the incentive is to upgrade the same measure or technology to a higher level of operation). The payback threshold discussion should happen before project development.

- Projects with payback of less than two years without incentives (exception BRO/RCx projects) may not be viewed as a strong financial driver.

- Provide documentation that demonstrates energy efficiency was a significant driver for the project (energy savings from the project or program assistance should be a driver, not a sustainability plan or green goals).

Influence Driver - Equipment Operation: How the equipment currently operates.

- Include existing equipment installation dates, and old existing equipment invoices.

- Demonstrate that the customer can still operate the existing equipment under current operating conditions.

- Provide the proposed Remaining Useful Life (RUL) of the existing measure supported by evidence as suggested in the early retirement guidance document (applicable only to Accelerated Replacement projects (AR, formerly RET).

- Provide customer statements regarding the viability of, and their continued intent to use the existing equipment through the proposed RUL period.

- Customer statements are the least influential form of evidence and should not be used as the primary driver/form of influence.

- Customer letters and affidavits should not be used for Accelerated Replacement (AR) measures.

Influence Driver - Market and Code: How Industry Standard Practice (ISP) and Codes apply to the project.

- Provide information on the customer’s normal replacement, remodeling, and equipment replacement practices.

- Is the equipment obsolete for the customer’s needs and/or requirements?

- Does it need to be replaced for other reasons including code, regulations, design/product changes, etc.?

- What is the customer’s normal practice?

- Document the known standard efficiency equipment alternatives available in the market or those considered by the customer.

- Demonstrate how the EE project is going above Code and/or ISP.

The California Program Administrators are the four investor-owned utilities: Pacific Gas & Electric (PG&E), Southern California Edison (SCE), Southern California Gas Company (SCG), and San Diego Gas & Electric (SDG&E). Program Administrators also include RENs and CCAs.

CPUC’s Custom Process Guidance Documents webpage URL is: https://www.cpuc.ca.gov/General.aspx?id=4133.

Resolution E-4952, p.A-46

Resolution E-4818, p. 66.

Energy Efficiency Policy Manual, p. 29.

Resolution E-4818, p. 67.

Resolution E-4795, p. 26-27.

Resolution E-4795, p. 21.

Energy Efficiency Policy Manual, p. 31-32.

Resolution E-4818, p. 4.

This table is a modified version of the table officially adopted in D.16-08-019 and updated in Resolution E-4818, at p. 4.

Resolution E-4939, p.8.

Resolution E-4795, p. 39.

California Public Utilities Commission, Energy Division, Final Custom Project Review Disposition, Project ID x240. CPUC Industry Standard Practice Guide Version 1.2A, Section 2.7 ISP by Code or Regulation.

D.09-05-037, p. 4.

Energy Efficiency Policy Manual, p. 31-32.

To see active Industry Standard Practice documents, visit https://www.cpuc.ca.gov/General.aspx?id=4133

Resolution E-4818 p. 11

California Public Utilities Commission, Energy Division, May 12, 2010, Disposition for Workpaper 100512 (Non-DEER High Impact Measure (HIM) Review: Linear Fluorescent Measures).

Resolution E-4818, p. 68.

Database for Energy Efficient Resources URL is: www.deeresources.com.

For more information about the California Clean Energy Jobs Act (Proposition 39), please see: http://www.energy.ca.gov/efficiency/proposition39/

California Public Utilities Commission, September 17, 2015, D.15-09-023: Decision Regarding Tools for Calculating the Embedded Energy in Water and an Avoided Capacity Cost Associated with Water Savings.

Derived from E-4952, Table 8

Resolution E-4818, p. 27.

Resolution E-4952, p. 56.

D.12-05-015, p. 347.

D.16-08-019, p. 46.

Energy Efficiency Policy Manual

California Public Utilities Commission, Energy Division, November 6, 2015, Guidance Document: Energy Efficiency Savings at Sites with Non-IOU Fuel Sources.

California Code, Public Utilities Code, PUC Section 339.8 (electric) and Sections 890-900 (gas); Energy Efficiency Policy Manual, p. 9.

In order to comply with D.11-07-030, which requires CPUC approval prior to incentive agreement for projects selected for custom project review.

California Public Utilities Commission, Energy Division, Final Custom Project Review Disposition, Project ID PGE-16-C-A-0112, project rejected in Custom Project Review because energy savings are not expected to persist.

New equipment requirement derived from requirement to incentivize higher efficiency, higher cost option as described in CPUC Energy Division, Final Custom Project Review Disposition, Project ID PGE-15-C-I-0005.

Derived from EE Policy Manual definition of Energy Efficiency Measure, p. 52.

California Public Utilities Commission, Energy Division, Final Custom Project Review Disposition, Project ID PGE-16-C-C-0110 required evidence that removed equipment not be sold into secondary market.

California Public Utilities Commission, May 16, 2002, D 02-05-046: Interim Opinion Selecting 2002-03

Local Energy Efficiency Programs.

D.12-05-015 at p. 352.

California Code, Public Utilities Code Section 399.4(b)(1).

California Code, Public Utilities Code Section 399.4, Section 25402.12

CPUC memos August 2017: 2016 Efficiency Savings and Performance Incentive (ESPI) Ex Ante Review.

Resolution E-4818

Early Retirement Using Preponderance of Evidence v1

California Standard Practice Manual, p. 8.

Measure Costs in EE Cost Effectiveness Tests. www.cpuc.ca.gov/WorkArea/DownloadAsset.aspx?id=3873.

D.12-05-015p. 349.

These are the CPUC-adopted PA discount rates as of the publish date of this Guidance Document but are subject to change.  Implementers should verify the currently adopted discount rate with their PA.

Section 381.1 (g) (4) (B) of the Public Utilities Code.

Energy Efficiency Policy Manual, v5. These hours are the currently agreed upon hours between the IOU’s and CPUC.

http://www.cpuc.ca.gov/aboutus/.

California Code of Regulations, Title 24 (Building Standards Code) and Title 20, Division 2, Chapter 4, Article 4 (Appliance Energy Efficiency Regulations).

California Public Utilities Commission, July 2013, Energy Efficiency Policy Manual v5 (R.09-11-014), p. 48.

CPUC email from Peter Lai, Energy Division, April 19, 2017.

Energy Efficiency Policy Manual, p. 49.

California Public Utilities Commission, May 10, 2012, D.12-05-015: Decision Providing Guidance on 2013-2014 Energy Efficiency Portfolios and 2012 Marketing, Education, and Outreach.

D.12-05-015, Attachment A: Summary of Changes to Database for Energy Efficiency Resources 2011, p. 14.

Generalization of Energy Efficiency Policy Manual definition of HVAC interactive effects.

D.05-18-041, p. 39

California Public Utilities Commission, August 18, 2016, D.16-08-019: Decision Providing Guidance for Initial Energy Efficiency Rolling Portfolio Business Plan Filings, p. 104.

Energy Efficiency Policy Manual, p. 49.

Energy Efficiency Policy Manual, p. 50.

Energy Efficiency Policy Manual, p. 52.

Energy Efficiency Policy Manual, p. 52.

State and Local Energy Efficiency Action Network (SEE Action), December 2012, Energy Efficiency Program Impact Evaluation Guide, p. 8-3.

Energy Efficiency Policy Manual, p. 52; California Public Utilities Commission, January 27, 2005, D.05-01-055. Interim Opinion on the Administrative Structure for Energy Efficiency: Threshold Issues, p. 115.

Energy Efficiency Policy Manual, p. 53.

Energy Efficiency Policy Manual, p. 53.

California Public Utilities Commission, December 31, 2016,2013-2017 Energy Division & Program Administrator Energy Efficiency Evaluation, Measurement and Verification Plan Version 7 (Final)

D.05-01-055, p. 53.

Energy Efficiency Policy Manual, p. 53. This document uses the terms “fuel switching” and “fuel substitution” interchangeably. Others use fuel switching to refer to changes to a non-regulated fuel (e.g. not electricity or gas), whereas fuel substitution refers to regulated fuels (electricity or gas). See the CEC Staff Paper: Framework for Establishing the Senate Bill 350 Energy Efficiency Savings Doubling Targets (January 2017) at pp. 18-19.

California Public Utilities Commission, July 2002, California Standard Practice Manual: Economic Analysis of Demand-Side Programs and Projects, p. 11.

Energy Efficiency Policy Manual, p. 54.

Energy Efficiency Policy Manual, pp. 53-54.

http://www.deeresources.com/index.php/22-readi-help/24-measure-catalog.

California Public Utilities Commission, December 3, 2015, Resolution G-3510: PG&E, SCE, SoCalGas, and SDG&E addressing approval of Energy Efficiency (EE) Incentive awards for program year (PY) 2013 and 2014, p. 58. Disadvantaged Communities criteria added per D. 18-05-041, p. 48 and CoL 27.

Resolution G-3510, pp. 58-59. D. 18-05-041, p. 48 and CoL 27.

D.16-08-019, p. 105.

D.12-05-015, p. 223.

Energy Efficiency Policy Manual, p. 54.

Generalization of EE Policy Manual definition of HVAC interactive effects.

Energy Efficiency Policy Manual, p. 55.

California Public Utilities Commission, April 2006, California Energy Efficiency Evaluation Protocols: Technical, Methodological, and Reporting Requirements for Evaluation Professionals, p. 229.

http://www.energy.ca.gov/glossary/glossary-i.html.

U.S. Department of Energy, Federal Energy Management Program, November 2015, M&V Guidelines: Measurement and Veriﬁcation for Performance - Based Contracts, Version 4.0, p. 2-1.

D.16-08-019, p. 104.

Energy Efficiency Policy Manual, p. 57.

Energy Efficiency Policy Manual, p. 57.

Energy Efficiency Policy Manual, p. 57.

Evaluation, Measurement, and Verification Working Group, December 2012: Energy Efficiency Program Impact Evaluation Guide, p. 3-3.

Resolution E-4818, p. 37.

Energy Efficiency Policy Manual, p. 59.

California Energy Efficiency Evaluation Protocols, p. 217.

Energy Efficiency Policy Manual, p. 18.

Energy Efficiency Policy Manual, p. 60.

Energy Efficiency Policy Manual, p. 61.

D.12-05-015.

Energy Efficiency Policy Manual, p. 61.

http://deeresources.com/index.php/deer-versions/readi.

Energy Efficiency Policy Manual, p. 61.

Energy Efficiency Policy Manual, p. 62.

California Public Utilities Commission, July 2002, California Standard Practice Manual: Economic Analysis of Demand-Side Programs and Projects, p. 11.

California Public Utilities Commission, November 9, 2017, D.17-11-006: Decision Regarding To-Code Pilots, p. 3.

Energy Efficiency Policy Manual, p. 62.

D.16-08-019, p. 104.

California Public Utilities Commission, “Water/Energy Nexus,” http://www.cpuc.ca.gov/nexus_calculator/

Energy Efficiency Policy Manual, p. 63.